## MIB Manual(s)
Node Name | [5 empty] | Description | OID | syntax | syntax(device) | MAX-ACCESS | Status | Node Type | Index | chinese description 中文描述 | Realization is consistent with MIB definition? 实现是否和定义一致? | ACCESS realized 实际支持的访问权限 | syntax range realized 实际支持的取值范围 | lexicographic OID for Get-Next? 是否支持GET-NEXT OID字典序? | Remark(In Chinese) 备注(中文) | Remark(In English) 备注(英文) (资料填写 For TDC) | Default value 缺省值 | Is statistic node? 是否是统计节点? | Is VRP node? 是否是平台节点 | other manufacturer realization (only for public mib) 竞争对手实现(仅对公有MIB) | Vendor adapting node list 做了OSS对接的局点列表 | Ascription归属 | Is security? 是否涉及安全 | Module 归属资源包 | If-Feature 特性规格 | Products 支持的产品列表 | Products
PNF-FW
结点树由mib file自动生成，不能在此表中人工增加、修改或删除结点。 | [5 empty] | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 如果该列为空代表无效节点。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | 必须填写，节点的中文描述，对应【Description】的中文翻译。 1、对于节点：包括单节点，告警节点，表节点，对应【Description】的中文信息。填写样例： 该节点标识环的保护实例ID。 2、对于table：该列是描述该表的含义、作用；及表的各类约束。table填写格式与样例： 该表描述ERPS环配置信息。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 各类约束支持多产品定制，填写格式： 创建约束 value product1: value1 product2,product3: value2 | 必须填写，只可以选择下拉列表中的值（Consistent/ Inconsistent/Nonsupport）。 1、Consistent：标识设备上支持这个节点，设备上的实现完全和MIB定义完全一致。 2、Inconsistent：标识设备上支持这个节点，设备上的实现和MIB定义不一致。 ?a、如果是【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那就需要在【ACCESS realized 实际支持的访问权限】列填写设备实际支持的情况。 ?b、如果是【syntax】列取值范围，设备上的实现和MIB定义不一致，那就需要在【syntax range realized 实际支持的取值范围】列填写设备实际支持的情况。 ?c、如果是缺省值，设备上的实现和MIB定义不一致，那就需要在【Default value 缺省值】列 填写设备实际支持的情况。 ?d、其他情况，只要设备上的实现和MIB定义不一致，那就需要在【Remark(In Chinese) 备注(中文)】/【Remark(In English) 】列填写设备实际支持的情况。 3、Nonsupport：标识设备上不支持这个节点。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。该列值只可以填写下面列表中的值 not-accessible accessible-for-notify read-only read-write read-create 例如：MIB文件定义是read-write，而实际设备上是read-only，那么此处就要写明是read-only。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） 对于table，xxxxEntry对应该列填写N时，或【Index】 标识为Y的节点对应该列填写N时，标识该table不支持字典排序。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，除【MAX-ACCESS】和【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 | 【Remark(In Chinese) 备注(中文)】列对应英文翻译。 重要：对于table，该列承载table的含义、作用；及表各类约束。 table填写格式与样例： Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table can be read without restriction. 各类约束支持多产品定制，填写格式： Creation Restriction value product1: value1 product2,product3： value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，节点的缺省值在设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） | 必须填写，只可以选择下拉列表中的值（Y/N） |  |  | 节点归属必须在文件支持的归属范围内 | 只可以选择下拉列表中的值（Y/N） | MIB节点归属资源包，一个节点只能归于一个资源包 | If-Feature名称，父节点指定的feature对所有子节点生效。如果父节点已经指定了同名feature，子孙节点不用再重复指定。 | 只可以选择下拉列表中的值（Y/N），子节点只要有一个为Y，父节点必须为Y，如果子节点全部为N，父节点必须为N | 节点支持的产品合集，不支持导入修改
HUAWEI-ENTITY-TRAP-MIB
| hwEntityTrapMIB |  |  |  |  | This is the base trap definition for DataCom. | 1.3.6.1.4.1.2011.5.25.219 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  | hwEntityTrapObject |  |  |  |  | 1.3.6.1.4.1.2011.5.25.219.1 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityPhysicalIndex |  |  | The index of physical. | 1.3.6.1.4.1.2011.5.25.219.1.1 | Integer32 | Integer32 | read-write | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityTrapEntType |  |  | The entity type. | 1.3.6.1.4.1.2011.5.25.219.1.2 | INTEGER{mpu(1),lpu(2),sfu(3),pic(4),cfcard(5),ofc(6)} | INTEGER{mpu(1),lpu(2),sfu(3),pic(4),cfcard(5),ofc(6)} | read-write | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityTrapFaultID |  |  | To describe the fault id of trap. | 1.3.6.1.4.1.2011.5.25.219.1.3 | HWTrapProbableCause | INTEGER{resetedFrameRegister(131072),theAirFilterInsideTheChassisWasNotCleaned(131328),theChassisLinksFew(131329),mPUBoardInsufficiency(131330),aGTLLicenseForA10GENPUI20IsActivatedButThe10GEInterfaceIsNotActivatedUsingTheActive10geInterfaceCommandInTheSlotView(131331),theTypeOfPowerOrFanIsInconsistent(131333),sFUBoardAndTheLPUBoardDidNotMatch(131334),the40GBoardsAndThePowerAndFanModulesDidNotMatch(131335),chassisPowerSupplyInsufficiency(131336),allSFUBoardsRemoved(131337),allLPUBoardsRemoved(131338),allCMUBoardsRemoved(131339),thePowerSupplyModuleMismatchesInTheFrame(131340),failToGetTheSlotInformationOfThePowerSupplyModule(131341),averageCurrentBusNotInstalled(131342),powerSupplyAbnormalDueToTooManyFansInTheFrame(131343),theNumberOfRegisteredSFUsIsSmallerThanTheMinimumNumberOfSFUsThatMustBeConfigured(131585),sFUBoardDismatchTheFrame(131586),theSlaveBoardTypeMismatchesTheMaster(131587),rightLicenseUnavailableBoardsOrCardsWillBeResetAfter72hrs(131588),rightLicenseWillExpireThenboardsOrCardsWillBeResetEvery24hrs(131589),rightLicenseUnavailableBoardsOrCardsWillBeResetEvery24hrs(131590),theBoardWasRemoved(131840),bTBInsertTwoMPUBoard(131842),powerSupplyForABoardWasAbnormal(132096),theMonitorBusOfTheBoardPartiallyFailed(132097),theSCChipOnTheBoardPartiallyFailed(132098),theTMChipOnTheBoardPartiallyFailed(132099),theBoardWasNotInstalledIntoAProperSlot(132100),the48VPowerSupplyForTheBoardWasAbnormal(132101),theBoardCannotBeProperlyPoweredOnOrPoweredOff(132102),theBatteryOfTheMPUFailed(132103),theBoardObtainedAbnormalSignalsFromTheMasterAndSlaveMPUs(132104),theSensorOnTheBoardFailed(132105),theFlashMemoryOnTheBoardFailed(132106),thePHYChipOnTheBoardPartiallyFailed(132107),clockSignalsOnTheBoardWereFaulty(132108),theVoltageOfTheBoardExceededTheUpperFatalThreshold(132109),theVoltageOfTheBoardExceededTheUpperWarningThreshold(132110),theVoltageOfTheBoardWasLowerThanTheLowerFatalThreshold(132111),theVoltageOfTheBoardWasLowerThanTheLowerWarningThreshold(132112),theCurrentOfTheBoardExceededTheUpperFatalThreshold(132113),theCurrentOfTheBoardWasHigherThanTheHigherWarningThreshold(132114),theCurrentOfTheBoardWasLowerThanTheLowerFatalThreshold(132115),theCurrentForTheBoardWasLowerThanTheLowerWarningThreshold(132116),boardClockSourceFailure(132117),theInPositionSignalOfTheBoardFailed(132118),theMonitorBusOfTheBoardFailed(132119),theIICBusOfTheBoardFailed(132120),theUSBControllerOnTheBoardFailed(132121),theCFCardOfTheBoardFailed(132122),theNVRAMOfTheBoardFailed(132123),theI2CBusMalfunctions(132124),theGEDataBusMalfunctions(132125),theFEDataBusMalfunctions(132126),theBoardClockMalfunctions(132127),theBoardPLLMalfunctions(132128),theFEPHYChipMalfunctions(132129),theGEPHYChipMalfunctions(132130),theDSPMalfunctions(132131),lANSWITCHAbnormal(132134),theLLPMalfunctions(132135),theASICMalfunctions(132136),theChipMalfunctions(132137),theVoltageOfTheSubcardExceededTheUpperFatalThreshold(132139),theVoltageOfTheSubcardExceededTheUpperWarningThreshold(132140),theVoltageOfTheSubcardWasLowerThanTheLowerFatalThreshold(132141),theVoltageOfTheSubcardWasLowerThanTheLowerWarningThreshold(132142),theSoftwarePackageInCFCARDMayBeLostOrAbnormal(132144),posCardFault(132145),pOEFault(132146),lIGHTFault(132147),boardFault(132148),theECUBoardChipIsAbnormal(132149),theCFcardStorageMediaOfMPUExceededThePrealarmThreshold(132150),wLANFault(132151),boardCPUFault(132152),theElectronicSwitchForChannelSelectionMalfunctions(132153),voiceBoardFault(132154),theInternalDataChannelOfTheBoardMalfunctions(132155),boardRDRAMMemoryFault(132156),multicastCapabilityOfTheTrafficManagementChipWasInsufficient(132157),servicePinchCardFault(132158),boardWorkModeDismatchPowerTooHigh(132159),boardWorkModeDismatchPowerTooLow(132160),boardTemperatureSensorFault(132161),fanOrPowerDismatchDevice(132162),boardCPUSingleCoreFault(132163),tooManySensorPointsAreFailed(132164),boardHIGBusError(132165),failedToGetTheBoardESN(132166),theMemorySizeIsDifferentFromTheRated(132167),theNonCoreChipOfTheBoardFault(132168),boardCommunicationChannelError(132169),boardRTCError(132170),lineRateUnreachableOnTheBoard(132171),lossOfHeartBeatExceedsTheThreshold(132172),securityAccelerationEngineIsAbnormal(132173),pCBCorrosive(132174),interfaceMACCRCError(132177),e-labelCRCError(132178),boardVoltageSensorsFault(132182),voltageADFault(132183),sPIBusFault(132184),theHiGigLinkOnTheBoardFailed(132205),theexternalTCAMchipcouldnotbeaccessed(132213),theBoardSelfcheckFailed(132608),heartbeatsOfTheBoardWereLostAndThusTheBoardWasReset(132609),theBoardDidNotMatchTheDevice(132610),theMACAddressOfTheBoardWasAbnormal(132611),clockSynchronizationSignalsFailedOnTheBoard(132612),theFPGALogicOfTheBoardWasFaulty(132613),theEPLDLogicOfTheBoardWasFaulty(132614),signalsProvidedByTheClockBoardFailed(132615),clockSignalsFailedOnTheBoard(132616),theTMChipOnTheBoardTotallyFailed(132617),theNPOfTheBoardFailed(132618),theACTSignalOnTheBoardWasAbnormal(132619),powerSupplyForABoardWasInsufficient(132620),theSCChipOnTheBoardTotallyFailed(132621),theSMChipOnTheBoardFailed(132622),theTCAMChipOfTheBoardFailed(132623),memoryOfTheBoardFailed(132624),theLaswitchChipOnTheBoardFailed(132625),theBoardWasPoweredOff(132626),boardRegistrationFailed(132627),theBoardWasResetAbnormally(132628),thePHYChipOnTheBoardTotallyFailed(132629),theBoardObtainedAbnormalSignalsFromMasterAndSlaveMPUs(132630),theBoardObtainedAbnormalSignalsFromSFUsFunctioningAsMasterAndSlaveClockSources(132631),thePCIBusOfTheBoardFailed(132632),theBoardDidNotMatchTheSlot(132633),theLoopbackHeartbeatsOfTheBoardWereFaulty(132634),theNumberOfIntelligentHeartbeatErrorsReachedTheBoardResetThreshold(132635),theNumberOfLostIntelligentHeartbeatsReachedTheBoardResetThreshold(132636),theNumberOfIntelligentHeartbeatErrorsReachedTheAlarmThreshold(132637),theNumberOfLostIntelligentHeartbeatsReachedTheAlarmThreshold(132638),theBoardCPUFail(132639),theLinkBetweenTheTMChipAndTheNPChipWasDetectedFaulty(132640),theTMChipFailedTheSelfCheck(132641),theNumberOfLinksBetweenTheTMChipAndTheSFUWasTooSmall(132642),theServiceLogicMalfunctions(132644),theUpperTactSwitchIsTurnedOn(132645),theLowerTactSwitchIsTurnedOn(132646),theControlLogicMalfunctions(132647),theSFUBoardIsAbnormalAndCanNotBeUsed(132648),theECUBoardIsAbnormalAndCanNotBeUsed(132649),theLogicClockFailed(132650),theLogicBusFailed(132651),theLogicChipFailed(132652),theMainControlLogicMalfunctions(132653),theBoardIsIncompatibleWithSystemSoftware(132654),theLogicSlotidOfTheBoardIsFaultyDuringRunningTimePleaseDoNotTryToResetThisBoardOrRebootThisDevice(132655),theLogicSlotidOfTheBoardIsFaultyDuringBootingTimePleaseCheckTheBoardBasedOnTheClearAdvice(132656),fEDismatchCardsCombination(132657),clockBoardMasterAndSlaveStatusInvalid(132658),boardOutputPowerAbnormal(132659),boardResetDueToOverheatProtection(132660),userOperation(132661),boardServiceModeError(132662),theCoreChipOfTheBoardFault(132663),cPLDLogicError(132664),trafficCongestionDueToTheTrafficBackpressure(132665),boardTypeMismatchesThePreconfiguration(132666),thsLswPortConnectedToTheMpuFails(132675),theFPGALocalbusSelf-testFailed(132677),theMasterSlaveBoardSwitchoverWasPerformed(133120),pMUBoardLeaveMaster(133121),pMUBoardBecomeMaster(133122),theSubcardWasRemoved(133376),aStorageMediumWasRemoved(133377),pMURTCClockFault(133632),pMUHardwareFault(133633),pMUBUSFault(133634),theMonitoringChannelOfTheSubcardWasFaulty(135168),theInPositionSignalOfTheSubcardWasFaulty(135169),theSensorOnTheSubcardWasFaulty(135170),theResetSignalOfTheSubcardWasFaulty(135171),thePLLOnTheSubBoardMalfunctions(135172),theClockOnTheSubBoardMalfunctions(135173),theDSPOnTheSubBoardMalfunctions(135174),theFEPHYChipOnTheSubBoardMalfunctions(135175),theGEPHYChipOnTheSubBoardMalfunctions(135176),faultsWithTheLLPChipOfTheSubBoardMalfunctions(135177),theLIUOnTheSubBoardMalfunctions(135178),theASICOnTheSubBoardMalfunctions(135179),theChipOnTheSubBoardMalfunctions(135180),aSICOnTheSubBoardMalfunctions(135182),theInterfaceNumbered1OnTheSubcardIsReservedButDoesNotForwardTraffic(135184),opticalCardCDRFault(135185),batteryPowerOfThePhysicalInterfaceCardIsLowerThan20Percent(135190),batteryTemperatureOfThePhysicalInterfaceCardIsLowerThanTheLowThreshold(135191),batteryOfThePhysicalInterfaceCardIsOverheatedAtDischarging(135192),batteryOfThePhysicalInterfaceCardIsOverheatedAtRecharging(135193),iICBusError(135194),interfaceMACCRCErrorOnASubcard(135195),e-labelCRCErrorOnASubcard(135196),theEPLDLogicOfTheSubcardWasFaulty(135424),theFPGALogicOfTheSubcardWasFaulty(135425),theKeyChipOnTheSubcardWasFaulty(135426),theClockUnitOnTheSubcardWasFaulty(135427),theSubcardDoesNotMatchTheSlot(135428),theNPOfTheSubcardWasFaulty(135429),theHeartbeatsOnTheSubcardWasFaulty(135430),theTMChipOnTheSubcardWasFaulty(135431),subcardRegistrationFailed(135432),theStorageChipOnTheSubcardWasFaulty(135433),theDataChannelOfTheSubcardWasFaulty(135434),theSubcardDidNotMatchTheSlot(135435),backClockOnTheSubBoardMalfunctions(135436),theControlLogicOnTheSubBoardMalfunctions(135437),theServiceLogicOnTheSubBoardMalfunctions(135438),theCardWasPoweredOff(135439),opticalCardIsAbnormalAndCanNotBeUsed(135440),subcardRegistrationFailedDueToUserConfiguration(135441),theCardIsIncompatibleWithSystemSoftware(135442),cardExceedsLimitOfCurrent(135443),thePhysicalInterfaceCardSecondaryControlBusError(135444),thePhysicalInterfaceCardPowerOffDueToOverheating(135445),fSUPhysicalInterfaceCardPowerOff(135446),theSlaveDataChannelOfTheSubcardWasFaulty(135447),theSlaveKeychipOfTheSubcardWasFaulty(135448),theOpticalModuleWasRemoved(135680),theOpticalModuleDidNotMatchTheSubcard(135936),opticalModuleTransmissionPowerIsTooHigh(135937),opticalModuleTransmissionPowerIsTooLow(135938),opticalModuleReceivingPowerIsTooHigh(135939),opticalModuleReceivingPowerIsTooLow(135940),opticalModuleVoltageIsTooHigh(135941),opticalModuleVoltageIsTooLow(135942),opticalModuleCurrentIsTooHigh(135943),opticalModuleCurrentIsTooLow(135944),opticalModuleTemperatureIsTooHigh(135945),opticalModuleTemperatureIsTooLow(135946),theOpticalModuleWorkedAbnormally(136192),theOutputOpticalPowerWasTooHigh(136193),theOutputOpticalPowerOfTheOpticalModuleWasTooLow(136194),theInputOpticalPowerWasTooHigh(136195),theInputOpticalPowerWasTooLow(136196),theVoltageOfTheOpticalModuleWasTooHigh(136197),theVoltageOfTheOpticalModuleWasTooLow(136198),theBiasCurrentOfTheOpticalModuleWasTooHigh(136199),theBiasCurrentOfTheOpticalModuleWasTooLow(136200),theTemperatureOfTheOpticalModuleWasTooHigh(136201),theTemperatureOfTheOpticalModuleWasTooLow(136202),opticalModelDismatch(136203),theServiceLifeOfTheOpticalModuleLaserIsAboutToExpire(136204),pLDOrFlashInitializationFailed(136205),opticalModulePowerSupplyError(136206),cFPChecksumError(136207),thePowerSupplyModuleWasRemoved(136448),communicationBetweenPowerSupplyModuleAndDeviceFailed(136704),fansForCoolingThePowerSupplyModuleFailed(136705),theLightningProtectionComponentOfThePowerSupplyModuleFailed(136706),thePowerSupplyModuleExperiencedAPartialFailure(136707),theElectricallyErasableProgrammableReadOnlyMemoryEEPROMOfThePowerSupplyModuleFailed(136708),theLightningProtectionComponentOfThePowerSupplyModuleFailed11(136709),theLightningProtectionComponentOfThePowerSupplyModuleFailed22(136710),thePowerDistributionBoxIsFail(136711),powerAverageCurrentFault(136712),thePortExpanderChipOnThePowerModuleFailed(136713),pMAverageCurrentFault(136714),pMBusFault(136715),pMCurrentLimitingFault(136716),pMFault(136717),powerBackBoardAbsent(136718),pMModuleSingleChannelPowerOff(136719),powerSwitchError(136720),bBULosesTheInputPower(136721),bBUPowerSupplyOutOfService(136722),bBUBatteryOutOfService(136723),aCPowerAbnormal(136724),powerSupplyModuleChipsetFailure(136725),unknownHardwareTypeOfAPowerBoard(136726),thefaninsideapowermodulefails(136733),thePowerSupplyModuleWasNotInPosition(136960),thePowerSupplyModuleFailed(136961),theInputVoltageOfThePowerSupplyModuleWasHigherThanTheMaximumVoltage(136962),theInputVoltageOfThePowerSupplyModuleWasLowerThanTheMinimumVoltage(136963),theTemperatureOfThePowerSupplyModuleWasHigh(136964),theInputFuseOfTheACPowerSupplyModuleWasDisconnected(136965),thePowerSupplyModuleWasInstalledButWasNotPoweredOn(136966),theOutputOfThePowerSupplyModuleFailed(136967),theOutputVoltageOfThePowerSupplyModuleWasHigherThanTheMaximumVoltage(136968),theOutputVoltageOfThePowerSupplyModuleWasLowerThanTheMinimumVoltage(136969),thePowerSupplyModuleWasInstalledButWasNotPoweredOn11(136970),thePowerSupplyModuleWasInstalledButWasNotPoweredOn22(136971),pOEPowerTypeDismatch(136972),powerFault(136973),powerOfTheDeviceIsInsufficient(136974),theDeviceAndThePowerModuleDidNotMatch(136975),theAlternatingPowerSupplyModuleWasInstalledButWasNotPoweredOn(136976),theInputVoltageOfThePowerSupplyModuleWasHigherThanTheMaximumVoltage11(136977),theInputVoltageOfThePowerSupplyModuleWasLowerThanTheMinimumVoltage11(136978),theInputVoltageOfThePowerSupplyModuleWasHigherThanTheMaximumVoltage22(136979),theInputVoltageOfThePowerSupplyModuleWasLowerThanTheMinimumVoltage22(136980),outputPowerExceedsTheRatedPower(136981),aDCPowerIsInsertedIntoAACChassisOrAACPowerIsInsertedIntoADCChassis(136982),powerSupplyModuleOverheatProtection(136983),noOutputPowerOfRPSPowerSupply(136984),powerSupplyModuleIsInstalledInTheWrongSlot(136985),theFanModuleWasNotInstalledInTheSlot(137216),theFanModuleWasInTheAbnormalState(137472),theFilterBoardDismatchTheFrame(137473),fanWindFault(137474),fanFailureInFanModule(137475),cMURemoved(137728),pMURemoved(137888),opticalModuleMismatchThePreconfiguration(137984),ingressTrafficIsTooHighOnThePhysicalInterfaceCard(138240),egressTrafficIsTooHighOnThePhysicalInterfaceCard(138241),portRemoved(138400),vNICResourceExceedsTheThreshold(138416),theHardwareOfTheFanModuleWasFaulty(139264),theCableOfTheFanModuleWasDisconnected(139265),theChassisAndTheFanModuleDidNotMatch(139266),the48VPowerSupplyForTheFanModuleWasAbnormal(139267),theFanRegisterFailed(139268),failureOfCommunicationBetweenFanAndCMU(139269),fanAbsent(139270),onlyOneFanWorkFault(139271),theLCDWasNotInPosition(139520),theLCDScreenWasDetective(139776),aPieceOfHardwareOfTheLCDFailed(139777),theLCDCableWasUnconnected(139778),theLCDCableWasUnconnectedButServicesWouldNotBeAffected(139779),theExternalEnvironmentBecameAbnormal(140032),failureOfCommunicationBetweenMPUAndCMU(140033),cMUsCommunicationFailure(140034),cMUHardwareFault(140035),cMUUnregisteredFault(140036),theChannelMonitoringModuleFailed(140288),aDataChannelFailed(140289),clockInFrameFailed(140290),dataBusBetweenFrameFailed(140291),controlBusBetweenFrameFailed(140292),theI2CControlBusOnTheBackplaneMalfunctions(140304),theI2C1588ClockBusOnTheBackplaneMalfunctions(140305),theGEDataBusOnTheBackplaneMalfunctions(140306),theSystemClockSentThroughTheBackplaneIsFaulty(140307),theTOPClockSentThroughTheBackplaneIsFaulty(140308),the2KFrameHeaderSentThroughTheBackplaneIsFaulty(140309),eCMChunnelFault(140310),theSerialMangementBusOfTheBoardMalfunctions(140311),cANBUSFault(140312),loopbackControlChannelError(140313),iICBusToThePhysicalInterfaceCardFailure(140314),theAmbientTemperatureWasTooHigh(140544),theAmbientTemperatureWasTooLow(140545),theAmbientHumidityWasTooHigh(140800),theAmbientHumidityWasTooLow(140801),theOutVoltageIsTooHigh(141056),theOutVoltageIsTooLow(141057),accessControlAlarm(141312),smokeDetectionAlarm(141568),theBoardWasImproperlyInstalled(143360),aSubcardWasNotInstalledSecurely(143361),theSubcardTemperatureWasTooHigh(143616),theBoardTemperatureWasTooHigh(143617),theFanTemperatureWasTooHigh(143618),tempretureIsLowerThanThrehold(143619),theSubcardTemperatureFellBelowTheLowerLimit(143620),theFanTemperatureFellBelowTheLowerLimit(143621),thePowerModuleTemperatureFellBelowTheLowerLimit(143622),thePowerModuleTemperatureWasTooHigh(143623),theBoardTemperatureExceededTheFatalLimit(143872),theCardTemperatureExceededTheFatalLimit(143873),theFanTemperatureExceededTheFatalLimit(143874),boardRebootBecauseOfTemperatureTooHigh(143875),thePowerModuleTemperatureWasExtremelyHigh(143876),theSystemHasNoPAFOrLicenseFileOrThePAFAndLicenseFilesAreInvalid(144128),boardDismatchSubSlot(144129),theSoftwarePackageForStartupOnTheSlaveMPUWasInconsistentWithTheMasterMPU(144130),theSlotForTheSlaveMPUWasInstalledWithAnUnmatchedBoard(144131),theSoftwarePackageForStartupInReallyMismatchedThatBeenSetFromCommandBeforeDeviceReboot(144132),theMasterAndSlaveMPUsMemoryDismatch(144133),deviceTypeDismatchTheLicenseFile(144134),thePhysicalInterfaceWasDown(144384),cPUUtilizationExceededThePrealarmThreshold(144896),memoryUtilizationExceededThePrealarmThreshold(145152),currentStartupFileIsNotExist(145408),currentStartupFileCRCError(145409),systemStartupWithCurrentStartupFileFailedTimesThanThrehold(145410),storageRemove(145664),theOpticalModuleUnauthorized(145920),thereIsAFANThatIsAbnormalInTheFanModule(146688),theCPUfailedtosendpackets(147208)} | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityCommunicateType |  |  | The communicate type. | 1.3.6.1.4.1.2011.5.25.219.1.4 | INTEGER{controlChannel(1),monitorChannel(2),clockChannel(3),dataChannel(4)} | INTEGER{controlChannel(1),monitorChannel(2),clockChannel(3),dataChannel(4)} | read-write | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityThresholdTable |  |  | A table to config the threshold of each sensor. | 1.3.6.1.4.1.2011.5.25.219.1.5 | HwEntityThresholdEntry |  | not-accessible | current |  | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwEntityThresholdEntry |  | The entry of threshold table. | 1.3.6.1.4.1.2011.5.25.219.1.5.1 | HwEntityThresholdEntry |  | not-accessible | current |  | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwEntityThresholdType | The abnormal type for temperature, voltage, humidity...... | 1.3.6.1.4.1.2011.5.25.219.1.5.1.1 | INTEGER{riseOver(1),fallBelow(2)} | INTEGER{riseOver(1),fallBelow(2)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwEntityThresholdValue | The threshold value of temperature, humidity ,fog ...... | 1.3.6.1.4.1.2011.5.25.219.1.5.1.2 | Integer32 | Integer32 | read-write | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwEntityThresholdCurrent | The current value that been measured. | 1.3.6.1.4.1.2011.5.25.219.1.5.1.3 | Integer32 | Integer32 | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwEntityThresholdCritical | The critical alarm threshold for critical alarm. It could be used for a more dangerous instance than hwEntityThresholdCritical. | 1.3.6.1.4.1.2011.5.25.219.1.5.1.4 | Integer32 | Integer32 | read-write | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwEntityThresholdWarning | The warning alarm threshold for warning alarm. It could be used for a more dangerous instance than hwEntityThresholdWarning. | 1.3.6.1.4.1.2011.5.25.219.1.5.1.5 | Integer32 | Integer32 | read-write | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwUserDefAlarmName |  |  | Description. | 1.3.6.1.4.1.2011.5.25.219.1.6 | OCTET STRING | OCTET STRING | read-only | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwUserDefChannel |  |  | Description. | 1.3.6.1.4.1.2011.5.25.219.1.7 | Integer32 | Integer32 | read-write | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwSoftwareVersion |  |  | Description. | 1.3.6.1.4.1.2011.5.25.219.1.8 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwStartupSoftwareFileName |  |  | Description. | 1.3.6.1.4.1.2011.5.25.219.1.9 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwStorageDevName |  |  | Description. | 1.3.6.1.4.1.2011.5.25.219.1.10 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwPortDownReason |  |  | AUAIS: The RX detects administrative(A) unit(U) alarm(A) indication(I) signal(S). B1TCA: The RX detects b1(B1) threshold(T) crossing(C) alarm(A). B2TCA: The RX detects b2(B2) threshold(T) crossing(C) alarm(A). B3TCA: The RX detects b3(B3) threshold(T) crossing(C) alarm(A). LAIS: The RX detects line(L) alarm(A) indication(I) signal(S). LCD: The RX detects loss(L) of code-group(C) delineation(D). LOF: The RX detects loss(L) of(O) frame(F). LOM: The RX detects loss(L) of(O) multiframe(M). LOP: The RX detects loss(L) of(O) pointer(M). LOS: The RX detects loss(L) of(O) signal(S). LRDI: The RX detects line(L) remote(R) defect(D) indication(I). LREI: The RX detects line(L) remote(R) error(D) indication(I). OOF: The RX detects out(O) of(O) frame(F). PAIS: The RX detects path(P) alarm(A) indication(I) signal(S). PPLM: The RX detects path(P) payload(P) label(L) mismatch(M). PRDI: The RX detects path(P) remote(R) defect(D) indication(I). PREI: The RX detects path(P) remote(R) error(E) indication(I). PUNEQ: The RX detects path(P) unequipped(UNEQ). RDOOL: The RX detects receive(R) data(D) out(O) of(O) lock(L). RROOL: The RX detects receive(R) reference(R) out(O) of(O) lock(L). SD: The RX detects signal(S) degrade(D). SF: The RX detects signal(S) fail(F). TROOL: The TX detects transmit(T) reference(R) out(O) of(O) lock(L). WLINK: The RX detects pcs link has failed (wis mode). TRANSCEIVER_OFFLINE: The transceiver is not in position. TRANSCEIVER_FAIL: A hardware failure occurs when accessing the transceiver. TRANSCEIVER_MISMATCH: The transceiver does not match the port-mode. TRANSCEIVER_UNKNOWN: The transceiver is unknown type. PMA_LOS: The PMA(physical medium attachment) detects loss of signal. PMA_UNLOCK: The PMA(physical medium attachment) detects receive data out of lock. PCS_HIGHBER: The PCS(physical coding sublayer) enter High-BER status. PCS_UNLOCK: The PCS(physical coding sublayer) detects receive data out of lock. LOCAL_FAULT: The RX detects Local Fault signal. REMOTE_FAULT: The RX detects Remote Fault signal. NEGOTIATION_FAIL: Auto-negotiation is not successful. SOFT_FORCE_DOWN: The interface was DOWN triggered by a protocol module or was administratively shut down. GPON_ACTIVATE_FAIL: The GPON optical module failed to be detected or activated. GPON_AUTHEN_LOID_FAIL: The authentication failed because the GPON optical module does not have an LOID. GPON_AUTHEN_PASSWORD_FAIL: The authentication failed because the password is incorrect. GPON_AUTHEN_LOIDCOLLI_FAIL: The authentication failed due to LODI collision of GPON optical modules. GPON_FIBER_LINKFAULT_FAIL: The optical link failed due to link disconnection or low optical receive power. GPON_TRANSCEIVERSHUT_FAIL: The transmitter of the GPON optical module was turned off on the OLT. GPON_ABNORMALSHINE_FAIL: The GPON optical module detected light emitting abnormalities, and the transmitter was turned off. GPON_TRANSCEIVERABNORMAL: Laser is in fault state. GPON_OTHER_ALARM: The GPON optical module has other fault. | 1.3.6.1.4.1.2011.5.25.219.1.11 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityTrapRelativeResource |  |  | MAC address. | 1.3.6.1.4.1.2011.5.25.219.1.12 | MacAddress | OCTET STRING{(6,6)} | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityTrapReasonDescr |  |  | Description of trap reason. | 1.3.6.1.4.1.2011.5.25.219.1.13 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwUsbOperType |  |  | The staus of usb card. | 1.3.6.1.4.1.2011.5.25.219.1.14 | Integer32 | Integer32 | read-write | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwOpticalVendorName |  |  | The vendor name of optical module. | 1.3.6.1.4.1.2011.5.25.219.1.15 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwOpticalVendorSN |  |  | The vendor serial number of optical module. | 1.3.6.1.4.1.2011.5.25.219.1.16 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwMasterOpUser |  |  | The master user name of virtual-access configuration. | 1.3.6.1.4.1.2011.5.25.219.1.17 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwAPAdminIP |  |  | The AP admin ip address of virtual-access configuration. | 1.3.6.1.4.1.2011.5.25.219.1.18 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwAPID |  |  | The ap-id of virtual-access configuration. | 1.3.6.1.4.1.2011.5.25.219.1.19 | Integer32 | Integer32 | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwOperation |  |  | The operation of virtual-access configuration. | 1.3.6.1.4.1.2011.5.25.219.1.20 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwReason |  |  | The failure reason of virtual-access configuration. | 1.3.6.1.4.1.2011.5.25.219.1.21 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | vmName |  |  | The name of VM. | 1.3.6.1.4.1.2011.5.25.219.1.23 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityBandwidthMode |  |  | The bandwidth mode of card. | 1.3.6.1.4.1.2011.5.25.219.1.24 | INTEGER{eth28x10gf(1),eth26x10gf18xgf(2),eth20x10gf24xgf(3)} | INTEGER{eth28x10gf(1),eth26x10gf18xgf(2),eth20x10gf24xgf(3)} | read-only | current | SCALAR | N | [9 empty] | N | [6 empty] | N
|  |  | hwPartitionTable |  |  | This table describes disk partition information. Currently, it is only used for disk partition-related alarms. Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table cannot be accessed. | 1.3.6.1.4.1.2011.5.25.219.1.25 | HwPartitionEntry |  | not-accessible | current |  | N | 含义：该表用来查看磁盘分区的相关信息，当前只用于磁盘分区的相关告警。 创建约束：不支持创建。 修改约束：不支持修改。 删除约束：不支持删除。 读取约束：不支持读取。 | Consistent |  |  | Y |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table cannot be read. |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
|  |  |  | hwPartitionEntry |  | A device disk partition entry. Each entry consists of information of a device disk partition. hwPartitionEntPhysicalName and hwPartitionName exclusively decide a device disk partition. | 1.3.6.1.4.1.2011.5.25.219.1.25.1 | HwPartitionEntry |  | not-accessible | current |  | N |  | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
[5 empty] | hwPartitionEntPhysicalName | This object indicates an entity name. | 1.3.6.1.4.1.2011.5.25.219.1.25.1.1 | OCTET STRING | OCTET STRING | accessible-for-notify | current | COLUMNAR | Y | 实体名称。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
[5 empty] | hwPartitionName | This object indicates a disk partition name. | 1.3.6.1.4.1.2011.5.25.219.1.25.1.2 | OCTET STRING | OCTET STRING | accessible-for-notify | current | COLUMNAR | Y | 磁盘分区名称。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
[5 empty] | hwPartitionSpaceFree | This object indicates the remaining disk partition space for the user, in MB. | 1.3.6.1.4.1.2011.5.25.219.1.25.1.3 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N | 磁盘分区用户可使用剩余空间大小（单位：M）。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
[5 empty] | hwPartitionSpaceFreeThreshold | This object indicates the threshold for the remaining disk partition space for the user, in MB. | 1.3.6.1.4.1.2011.5.25.219.1.25.1.4 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N | 磁盘分区用户可使用剩余空间大小的超限阈值（单位：M）。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
[5 empty] | hwPartitionUseage | This object indicates the current disk partition usage, in percentage. | 1.3.6.1.4.1.2011.5.25.219.1.25.1.5 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N | 磁盘分区当前使用率（单位：%）。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
[5 empty] | hwPartitionUseageThreshold | This object indicates the threshold for the disk partition usage, in percentage. | 1.3.6.1.4.1.2011.5.25.219.1.25.1.6 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N | 磁盘分区使用率的超限阈值（单位：%）。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
|  |  | hwEntPhysicalName |  |  | This object indicates an entity name. | 1.3.6.1.4.1.2011.5.25.219.1.26 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | 实体名称。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | N
|  |  | hwBoardID |  |  | Board ID. | 1.3.6.1.4.1.2011.5.25.219.1.27 | Integer32 | Integer32 | accessible-for-notify | current | SCALAR | N | 单板ID。仅用于告警参数，不支持访问。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | DEVM |  |  |  | N
|  | hwEntityTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  | hwChassisTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.1 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwChassisRemove |  | Chassis has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.1.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwChassisInsert |  | Chassis has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.1.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwChassisFail |  | Chassis become failure for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.1.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwChassisFailResume |  | Chassis resume from failure. | 1.3.6.1.4.1.2011.5.25.219.2.1.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwChassisInvalid |  | Chassis is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.1.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwChassisInvalidResume |  | Chassis resume from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.1.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwBoardTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.2 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardRemove |  | Board has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.2.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardInsert |  | Board has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.2.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardFail |  | Board become failure for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.2.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardFailResume |  | Board resume from failure. | 1.3.6.1.4.1.2011.5.25.219.2.2.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardInvalid |  | Board is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.2.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardInvalidResume |  | Board resume from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.2.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardLeaveMaster |  | MPU leave master role. | 1.3.6.1.4.1.2011.5.25.219.2.2.7 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardBecomeMaster |  | MPU become master role. | 1.3.6.1.4.1.2011.5.25.219.2.2.8 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUpMicroSwitchOpen |  | Up micro switch open. | 1.3.6.1.4.1.2011.5.25.219.2.2.9 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUpMicroSwitchClose |  | Up micro switch close. | 1.3.6.1.4.1.2011.5.25.219.2.2.10 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDownMicroSwitchOpen |  | Down micro switch open. | 1.3.6.1.4.1.2011.5.25.219.2.2.11 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDownMicroSwitchClose |  | Down micro switch close. | 1.3.6.1.4.1.2011.5.25.219.2.2.12 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardPowerOff |  | The LPU is powered off, because this LPU only supports the trunks with index 127 or smaller than 127. | 1.3.6.1.4.1.2011.5.25.219.2.2.13 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBandwidthOfAllCardsExceedsThreshold |  | The total bandwidth of all cards exceeds the forwarding capacity of system control board. | 1.3.6.1.4.1.2011.5.25.219.2.2.14 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardResetByCmd |  | This object indicates that the board experiences a command-triggred reset. | 1.3.6.1.4.1.2011.5.25.219.2.2.15 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardResetByCmdResume |  | This object indicates that the board recovers from a command-triggred reset. | 1.3.6.1.4.1.2011.5.25.219.2.2.16 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardHeartbeatTimeout |  | The heartbeat connection between the board and main control board timed out. | 1.3.6.1.4.1.2011.5.25.219.2.2.17 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardHeartbeatResume |  | The heartbeat connection between the board and main control board was restored. | 1.3.6.1.4.1.2011.5.25.219.2.2.18 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBandwidthOfAllCardsExceedsThresholdAlarm |  | The total bandwidth of all cards exceeds the forwarding capacity of system control board. | 1.3.6.1.4.1.2011.5.25.219.2.2.19 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBandwidthOfAllCardsExceedsThresholdResume |  | The total bandwidth of all cards recovered from exceeding the forwarding capacity of system control board. | 1.3.6.1.4.1.2011.5.25.219.2.2.20 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBandwidthOfAllCardsExceedsThresholdFatalAlarm |  | The total bandwidth of all cards exceeds the fatal forwarding capacity of system control board. | 1.3.6.1.4.1.2011.5.25.219.2.2.21 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBandwidthOfAllCardsExceedsThresholdFatalResume |  | The total bandwidth of all cards recovered from exceeding the fatal forwarding capacity of system control board. | 1.3.6.1.4.1.2011.5.25.219.2.2.22 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPinchCardReset |  | The pinch card reset. | 1.3.6.1.4.1.2011.5.25.219.2.2.23 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPinchCardResetResume |  | The pinch card recovered from reset. | 1.3.6.1.4.1.2011.5.25.219.2.2.24 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwVBoardInvalid |  | Board is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.2.27 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwVBoardInvalidResume |  | Board resume from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.2.28 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwNeedModifyCfgTrap |  | Before a version upgrade, the system checks the configuration files. If there is any problem, the system informs the user of the problem. After the upgrade, the system informs the user that the device needs to be restarted and configured again. | 1.3.6.1.4.1.2011.5.25.219.2.2.29 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardWarning |  | The board experienced a minor fault. | 1.3.6.1.4.1.2011.5.25.219.2.2.30 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardWarningResume |  | The board resumed from the minor fault. | 1.3.6.1.4.1.2011.5.25.219.2.2.31 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardPortsConflict |  | Some ports on the board and subcard conflict with each other. | 1.3.6.1.4.1.2011.5.25.219.2.2.32 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardEntityPowerOff |  | The mpu board is powered off. | 1.3.6.1.4.1.2011.5.25.219.2.2.33 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardlowmemoryoverload |  | The low-end memory usage exceeds 95 percent. | 1.3.6.1.4.1.2011.5.25.219.2.2.34 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardlowmemoryoverloadResume |  | The low-end memory usage resumes from the overload limit. | 1.3.6.1.4.1.2011.5.25.219.2.2.35 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBoardAdd |  | The board was added. | 1.3.6.1.4.1.2011.5.25.219.2.2.36 |  |  |  | current | TRAP | N | 单板添加。 约束说明：这是一个事件通知。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | DEVM |  |  |  | N
|  |  |  | hwBoardDelete |  | The board was deleted. | 1.3.6.1.4.1.2011.5.25.219.2.2.37 |  |  |  | current | TRAP | N | 单板删除。 约束说明：这是一个事件通知。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | DEVM |  |  |  | N
|  |  | hwCardTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.3 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardRemove |  | Card has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.3.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardInsert |  | Card has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.3.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardFail |  | Card become failure for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.3.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardFailResume |  | Card resume from failure. | 1.3.6.1.4.1.2011.5.25.219.2.3.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardInvalid |  | Card is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.3.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardInvalidResume |  | Card resume from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.3.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardResetByCmd |  | This object indicates that the card experiences a command-triggred reset. | 1.3.6.1.4.1.2011.5.25.219.2.3.7 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardResetByCmdResume |  | This object indicates that the card recovers from a command-triggred reset. | 1.3.6.1.4.1.2011.5.25.219.2.3.8 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardResExceed |  | This object indicates that the resource of card exceeds the maximum limit. | 1.3.6.1.4.1.2011.5.25.219.2.3.9 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardResExceedResume |  | This object indicates that the card recovers from resource exceeding the maximum limit. | 1.3.6.1.4.1.2011.5.25.219.2.3.10 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardBandwidthModeChange |  | The bandwidth mode of physical entity is changed. | 1.3.6.1.4.1.2011.5.25.219.2.3.11 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardSplitChange |  | Port split configuration has changed on the card. | 1.3.6.1.4.1.2011.5.25.219.2.3.12 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCardInconsistent |  | The card types are different. | 1.3.6.1.4.1.2011.5.25.219.2.3.13 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwOpticalTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.4 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalRemove |  | Optical Module has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.4.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalInsert |  | Optical Module has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.4.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalFail |  | Optical Module become failure for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.4.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalFailResume |  | Optical Module resume from failure. | 1.3.6.1.4.1.2011.5.25.219.2.4.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalInvalid |  | Optical Module is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.4.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalInvalidResume |  | Optical Module resume from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.4.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalPowerAlarm |  | Temperature rise over or fall below the warning alarm threshold. Only indicate the temperature of board,card or optical module. | 1.3.6.1.4.1.2011.5.25.219.2.4.7 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalPowerAlarmResume |  | Temperature rise over or fall below the warning alarm threshold. Only indicate the temperature of board,card or optical module. | 1.3.6.1.4.1.2011.5.25.219.2.4.8 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalUnAuthorized |  | The optical module authentication alarm occured. | 1.3.6.1.4.1.2011.5.25.219.2.4.9 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalUnAuthorizedResume |  | The optical module authentication alarm resumed. | 1.3.6.1.4.1.2011.5.25.219.2.4.10 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwLaserNoFited |  | The laser not installed alarm occured. | 1.3.6.1.4.1.2011.5.25.219.2.4.11 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwLaserNoFitedResume |  | The laser not installed alarm resumed. | 1.3.6.1.4.1.2011.5.25.219.2.4.12 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalTunableNotMatch |  | Configuration collision occurred between wavelength setting and untunable optical module. | 1.3.6.1.4.1.2011.5.25.219.2.4.13 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOpticalTunableNotMatchResume |  | Configuration collision removed between wavelength setting and untunable optical module. | 1.3.6.1.4.1.2011.5.25.219.2.4.14 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwGpsModuleRemove |  | The gps module was removed. | 1.3.6.1.4.1.2011.5.25.219.2.4.15 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwGpsModuleInsert |  | The gps module was inserted. | 1.3.6.1.4.1.2011.5.25.219.2.4.16 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOptCfgNotMatch |  | The partial function of optical module failed. | 1.3.6.1.4.1.2011.5.25.219.2.4.17 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwOptCfgNotMatchResume |  | The partial function of optical module resumed from partial failure. | 1.3.6.1.4.1.2011.5.25.219.2.4.18 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwPowerTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.5 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerRemove |  | Power has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.5.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerInsert |  | Power has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.5.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerFail |  | Power become failure for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.5.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerFailResume |  | Power resume from failure. | 1.3.6.1.4.1.2011.5.25.219.2.5.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerInvalid |  | Power is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.5.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerInvalidResume |  | Power resume from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.5.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerUnusable |  | Power change to unusable status. | 1.3.6.1.4.1.2011.5.25.219.2.5.7 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerUnusableResume |  | Power change to usable status. | 1.3.6.1.4.1.2011.5.25.219.2.5.8 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwFanTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.6 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanRemove |  | Fan has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.6.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanInsert |  | Fan has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.6.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanFail |  | This object indicates that a fan module partially fails. | 1.3.6.1.4.1.2011.5.25.219.2.6.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanFailResume |  | This object indicates that the partial fan module failure is rectified. | 1.3.6.1.4.1.2011.5.25.219.2.6.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanInvalid |  | This object indicates that a fan module fails. | 1.3.6.1.4.1.2011.5.25.219.2.6.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanInvalidResume |  | This object indicates that a fan module failure is rectified. | 1.3.6.1.4.1.2011.5.25.219.2.6.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanUnusable |  | Fan change to unusable status. | 1.3.6.1.4.1.2011.5.25.219.2.6.7 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanUnusableResume |  | Fan change to usable status. | 1.3.6.1.4.1.2011.5.25.219.2.6.8 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanMinorAlarm |  | This object indicates that a minor fault occurred on the fan. | 1.3.6.1.4.1.2011.5.25.219.2.6.9 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFanMinorAlarmResume |  | This object indicates that the fan module recovered from the minor fault. | 1.3.6.1.4.1.2011.5.25.219.2.6.10 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwLcdTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.7 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwLcdRemove |  | Lcd has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.7.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwLcdInsert |  | Lcd has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.7.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwLcdInvalid |  | Lcd is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.7.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwLcdInvalidResume |  | Lcd resume from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.7.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwLcdUnusable |  | Lcd change to unusable status. | 1.3.6.1.4.1.2011.5.25.219.2.7.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwLcdUnusableResume |  | Lcd change to usable status. | 1.3.6.1.4.1.2011.5.25.219.2.7.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwCmuTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.8 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCmuRemove |  | Cmu has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.8.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCmuInsert |  | Cmu has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.8.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCmuInvalid |  | Cmu is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.8.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCmuInvalidResume |  | Cmu reusme from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.8.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCmuUnusable |  | Cmu change to unusable status. | 1.3.6.1.4.1.2011.5.25.219.2.8.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCmuUnusableResume |  | Cmu change to usable status. | 1.3.6.1.4.1.2011.5.25.219.2.8.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwCommunicateTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.9 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCommunicateError |  | Communication error has been detected. | 1.3.6.1.4.1.2011.5.25.219.2.9.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwCommunicateResume |  | Resume from communication error situation. | 1.3.6.1.4.1.2011.5.25.219.2.9.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwEnvironmentTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.10 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwTempAlarm |  | Temperature rise over or fall below the alarm threshold. | 1.3.6.1.4.1.2011.5.25.219.2.10.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwTempResume |  | Temperature back to normal level. | 1.3.6.1.4.1.2011.5.25.219.2.10.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwHumidityAlarm |  | Humidity rise over or fall below the alarm threshold. | 1.3.6.1.4.1.2011.5.25.219.2.10.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwHumidityResume |  | Humidity back to normal level. | 1.3.6.1.4.1.2011.5.25.219.2.10.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwVoltAlarm |  | Voltage of power rise over or fall below the alarm threshold. | 1.3.6.1.4.1.2011.5.25.219.2.10.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwVoltResume |  | Voltage back to normal level. | 1.3.6.1.4.1.2011.5.25.219.2.10.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwGateAlarm |  | Gate switch to the alarm status. | 1.3.6.1.4.1.2011.5.25.219.2.10.7 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwGateResume |  | Gate switch to normal status. | 1.3.6.1.4.1.2011.5.25.219.2.10.8 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFogAlarm |  | Fog rise over alarm threshold. | 1.3.6.1.4.1.2011.5.25.219.2.10.9 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFogResume |  | Fog back to normal level. | 1.3.6.1.4.1.2011.5.25.219.2.10.10 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUnstableAlarm |  | Entity has been inserted but position unstable. | 1.3.6.1.4.1.2011.5.25.219.2.10.11 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUnstableResume |  | Resume from entity position unstable situation. | 1.3.6.1.4.1.2011.5.25.219.2.10.12 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBrdTempAlarm |  | Temperature rise over or fall below the warning alarm threshold. Only indicate the temperature of board,card or optical module. | 1.3.6.1.4.1.2011.5.25.219.2.10.13 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBrdTempResume |  | Temperature back to normal level. Only indicate the temperature of board,card or optical module. | 1.3.6.1.4.1.2011.5.25.219.2.10.14 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBrdTempFatalAlarm |  | Temperature rise over or fall below the critical alarm threshold. Only indicate the temperature of board,card or optical module. | 1.3.6.1.4.1.2011.5.25.219.2.10.15 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBrdTempFatalResume |  | Temperature back to normal level. Only indicate the temperature of board,card or optical module. | 1.3.6.1.4.1.2011.5.25.219.2.10.16 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerFailureAlarm |  | Power supply failed. | 1.3.6.1.4.1.2011.5.25.219.2.10.17 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPowerFailureResume |  | Power supply resumed. | 1.3.6.1.4.1.2011.5.25.219.2.10.18 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwIOSwitchOneAlarm |  | The IO-alarm 1 arise. | 1.3.6.1.4.1.2011.5.25.219.2.10.19 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwIOSwitchOneAlarmResume |  | The IO-alarm 1 resumed. | 1.3.6.1.4.1.2011.5.25.219.2.10.20 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwIOSwitchTwoAlarm |  | The IO-alarm 2 arise. | 1.3.6.1.4.1.2011.5.25.219.2.10.21 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwIOSwitchTwoAlarmResume |  | The IO-alarm 2 resumed. | 1.3.6.1.4.1.2011.5.25.219.2.10.22 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwIOSwitchThreeAlarm |  | The IO-alarm 3 arise. | 1.3.6.1.4.1.2011.5.25.219.2.10.23 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwIOSwitchThreeAlarmResume |  | The IO-alarm 3 resumed. | 1.3.6.1.4.1.2011.5.25.219.2.10.24 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwEntityDyingGaspEvent |  | Power supply failed. | 1.3.6.1.4.1.2011.5.25.219.2.10.25 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwSystemConfigTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.11 | [5 empty] | N |  | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
|  |  |  | hwSystemConfigError |  | System configuration error has been detected. | 1.3.6.1.4.1.2011.5.25.219.2.11.1 |  |  |  | current | TRAP | N | 系统配置不合理 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
|  |  |  | hwSystemConfigResume |  | Resume from system configuration error situation. | 1.3.6.1.4.1.2011.5.25.219.2.11.2 |  |  |  | current | TRAP | N | 系统配置不合理恢复。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
|  |  |  | hwSystemRollback |  | System configuration error has been detected. | 1.3.6.1.4.1.2011.5.25.219.2.11.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwVirtualAccessDrvConfigError |  | System configuration error has been detected. | 1.3.6.1.4.1.2011.5.25.219.2.11.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPatchDelNeedReStartTrap |  | The device needs to restart after the patch is deleted. | 1.3.6.1.4.1.2011.5.25.219.2.11.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwPortTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.12 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPortDown |  | One of the port physical connect down. | 1.3.6.1.4.1.2011.5.25.219.2.12.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPortUp |  | One of the port physical connect up. | 1.3.6.1.4.1.2011.5.25.219.2.12.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPortNoSupportOETrap |  | one of the stack port does not support the insertion of the O/E converter. | 1.3.6.1.4.1.2011.5.25.219.2.12.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPortRemove |  | One of the port is removed. | 1.3.6.1.4.1.2011.5.25.219.2.12.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPortInsert |  | One new port is inserted. | 1.3.6.1.4.1.2011.5.25.219.2.12.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPortOpticalPositionInvalid |  | The current port is invalid. | 1.3.6.1.4.1.2011.5.25.219.2.12.8 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPortOpticalPositionValid |  | The current port is valid. | 1.3.6.1.4.1.2011.5.25.219.2.12.9 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwUserDefTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.13 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUserDefAlarm |  | User defined alarm has been detected. | 1.3.6.1.4.1.2011.5.25.219.2.13.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUserDefResume |  | Resume from User defined alarm. | 1.3.6.1.4.1.2011.5.25.219.2.13.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwCPUTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.14 | [5 empty] | N |  | Consistent |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | Y | PNF-FW
|  |  |  | hwCPUUtilizationRising |  | CPU utilization overrun. | 1.3.6.1.4.1.2011.5.25.219.2.14.1 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwCPUUtilizationResume |  | CPU utilization back to normal level | 1.3.6.1.4.1.2011.5.25.219.2.14.2 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMemoryTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.15 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwMemUtilizationRising |  | Memory utilization overrun. | 1.3.6.1.4.1.2011.5.25.219.2.15.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwMemUtilizationResume |  | Memory utilization back to normal level | 1.3.6.1.4.1.2011.5.25.219.2.15.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwStorageDevTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.16 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwStorageDevRemove |  | Memory utilization overrun. | 1.3.6.1.4.1.2011.5.25.219.2.16.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwStorageDevInsert |  | Memory utilization back to normal level | 1.3.6.1.4.1.2011.5.25.219.2.16.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwPppTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.17 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPppLoopbackDetect |  | The interface Loopback is detected. | 1.3.6.1.4.1.2011.5.25.219.2.17.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPppLoopbackDetResume |  | The interface is recovered from Loopback. | 1.3.6.1.4.1.2011.5.25.219.2.17.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwFileStatusTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.18 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFileError |  | Memory utilization overrun. | 1.3.6.1.4.1.2011.5.25.219.2.18.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFileErrorResume |  | Memory utilization back to normal level | 1.3.6.1.4.1.2011.5.25.219.2.18.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwUSBTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.19 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUSBInsert |  | The USB device has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.19.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUSBRemove |  | The USB device has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.19.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUSBUnidentified |  | The USB device is unidentified. | 1.3.6.1.4.1.2011.5.25.219.2.19.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUSBUnidentifiedResume |  | The USB device resume from unidentified situation. | 1.3.6.1.4.1.2011.5.25.219.2.19.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUsbStatusChg |  | The USB device status has been changed. | 1.3.6.1.4.1.2011.5.25.219.2.19.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwPmuTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.20 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPmuRemove |  | Pmu has been removed. | 1.3.6.1.4.1.2011.5.25.219.2.20.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPmuInsert |  | Pmu has been inserted. | 1.3.6.1.4.1.2011.5.25.219.2.20.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPmuFail |  | Pmu become failure for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.20.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPmuFailResume |  | Pmu resume from failure. | 1.3.6.1.4.1.2011.5.25.219.2.20.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPmuInvalid |  | Pmu is invalid for some reason. | 1.3.6.1.4.1.2011.5.25.219.2.20.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwPmuInvalidResume |  | Pmu resume from invalid situation. | 1.3.6.1.4.1.2011.5.25.219.2.20.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwTRAFFICTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.21 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwRATEOFTRAFFICRising |  | Rate of traffic overrun. | 1.3.6.1.4.1.2011.5.25.219.2.21.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwRATEOFTRAFFICResume |  | Rate of traffic back to normal level. | 1.3.6.1.4.1.2011.5.25.219.2.21.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwBatteryTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.22 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwBatteryFull |  | battery percent is full . | 1.3.6.1.4.1.2011.5.25.219.2.22.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUpsFaultTrap |  | The UPS battery is faulty. | 1.3.6.1.4.1.2011.5.25.219.2.22.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUpsFaultResume |  | The UPS battery fault is rectified. | 1.3.6.1.4.1.2011.5.25.219.2.22.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUpsPowerLow |  | Available power of the UPS battery is low. | 1.3.6.1.4.1.2011.5.25.219.2.22.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwUpsPowerFull |  | Available power of the UPS battery is restored to the normal range. | 1.3.6.1.4.1.2011.5.25.219.2.22.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwThreadTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.23 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwThreadFaultIsolate |  | The faulty thread has been isolated. | 1.3.6.1.4.1.2011.5.25.219.2.23.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwDiskTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.24 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskUtilizationRising |  | Disk utilization overrun. | 1.3.6.1.4.1.2011.5.25.219.2.24.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskUtilizationResume |  | Disk utilization back to normal level | 1.3.6.1.4.1.2011.5.25.219.2.24.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskPartitionInValid |  | An alarm was generated when a disk partition was unavailable. | 1.3.6.1.4.1.2011.5.25.219.2.24.3 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskPartitionInValidResume |  | The alarm was cleared when the disk partition became available. | 1.3.6.1.4.1.2011.5.25.219.2.24.4 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskPartitionSpacinsufficient |  | An alarm was generated when the disk partition's(except the log partition) available space was below the threshold. | 1.3.6.1.4.1.2011.5.25.219.2.24.5 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskPartitionSpacinsufficientResume |  | The alarm was cleared when the disk partition's(except the log partition) available space was above the threshold. | 1.3.6.1.4.1.2011.5.25.219.2.24.6 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskPartitionUseageRising |  | When the disk partition usage(except the log partition) is greater than the specified overload threshold within a statistical period, the alarm is reported. | 1.3.6.1.4.1.2011.5.25.219.2.24.7 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskPartitionUseageResume |  | When the disk partition usage(except the log partition) fell and remained below 10% of the specified overload threshold within a statistical period, the alarm is cleared. | 1.3.6.1.4.1.2011.5.25.219.2.24.8 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskInvalid |  | An alarm was generated when the disk was Invalid. | 1.3.6.1.4.1.2011.5.25.219.2.24.9 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDiskInvalidResume |  | The alarm was cleared when the disk became available. | 1.3.6.1.4.1.2011.5.25.219.2.24.10 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwVMTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.25 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwVMResInconsist |  | Local VM resources are inconsistent with those on the MANO. | 1.3.6.1.4.1.2011.5.25.219.2.25.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwVMResInconsistResume |  | Local VM resources are consistent with those on the MANO. | 1.3.6.1.4.1.2011.5.25.219.2.25.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwDataplaneCpuOverloadTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.29 | [5 empty] | N |  |  |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | N
|  |  |  | hwDataplaneCpuOverloadAlarm |  | The dataplane CPU throughput exceeds specifications. | 1.3.6.1.4.1.2011.5.25.219.2.29.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwDataplaneCpuOverloadResume |  | The dataplane CPU throughput exceeds specifications alarm cleared. | 1.3.6.1.4.1.2011.5.25.219.2.29.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwInsSpaceLackTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.30 | [5 empty] | N |  |  |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | N
|  |  |  | hwInsSpaceLackAlarm |  | The instruction space required for the current configuration exceeds the total instruction space of the forwarding chip. | 1.3.6.1.4.1.2011.5.25.219.2.30.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwInsSpaceLackResume |  | The instruction space required for the current configuration exceeds the total instruction space of the forwarding chip alarm cleared. | 1.3.6.1.4.1.2011.5.25.219.2.30.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  | hwVfpSysCheckErrTrap |  |  |  | 1.3.6.1.4.1.2011.5.25.219.2.31 | [5 empty] | N |  |  |  |  | Y |  |  |  | N | Y |  |  | SSP |  |  |  | N
|  |  |  | hwVfpSysCheckErr |  | A kind of vfp system error occured. | 1.3.6.1.4.1.2011.5.25.219.2.31.1 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwVfpSysCheckErrResume |  | Vfp system error goes away. | 1.3.6.1.4.1.2011.5.25.219.2.31.2 |  |  |  | current | TRAP | N | [9 empty] | N | [6 empty] | N
|  | hwEntityTrapConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.219.3 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityTrapCompliances |  |  |  | 1.3.6.1.4.1.2011.5.25.219.3.1 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwEntityTrapCompliance |  | Compliance statement for agents that provide full support for hwBaseTrapMIB. | 1.3.6.1.4.1.2011.5.25.219.3.1.1 |  |  |  | current |  | N | [9 empty] | N | [6 empty] | N
|  |  | hwEntityTrapGroups |  |  |  | 1.3.6.1.4.1.2011.5.25.219.3.2 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwEntityObjectGroup |  | Group for base trap objects. | 1.3.6.1.4.1.2011.5.25.219.3.2.1 |  |  |  | current |  | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwEntityTrapGroup |  | Group for all base traps. | 1.3.6.1.4.1.2011.5.25.219.3.2.2 |  |  |  | current |  | N | [9 empty] | N | [6 empty] | N