## MIB Manual(s)
Node Name | [5 empty] | Description | OID | syntax | syntax(device) | MAX-ACCESS | Status | Node Type | Index | chinese description 中文描述 | Realization is consistent with MIB definition? 实现是否和定义一致? | ACCESS realized 实际支持的访问权限 | syntax range realized 实际支持的取值范围 | lexicographic OID for Get-Next? 是否支持GET-NEXT OID字典序? | Remark(In Chinese) 备注(中文) | Remark(In English) 备注(英文) (资料填写 For TDC) | Default value 缺省值 | Is statistic node? 是否是统计节点? | Is VRP node? 是否是平台节点 | other manufacturer realization (only for public mib) 竞争对手实现(仅对公有MIB) | Vendor adapting node list 做了OSS对接的局点列表 | Ascription归属 | Is security? 是否涉及安全 | Module 归属资源包 | If-Feature 特性规格 | Products 支持的产品列表 | Products
PNF-FW
结点树由mib file自动生成，不能在此表中人工增加、修改或删除结点。 | [5 empty] | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 如果该列为空代表无效节点。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | 必须填写，节点的中文描述，对应【Description】的中文翻译。 1、对于节点：包括单节点，告警节点，表节点，对应【Description】的中文信息。填写样例： 该节点标识环的保护实例ID。 2、对于table：该列是描述该表的含义、作用；及表的各类约束。table填写格式与样例： 该表描述ERPS环配置信息。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 各类约束支持多产品定制，填写格式： 创建约束 value product1: value1 product2,product3: value2 | 必须填写，只可以选择下拉列表中的值（Consistent/ Inconsistent/Nonsupport）。 1、Consistent：标识设备上支持这个节点，设备上的实现完全和MIB定义完全一致。 2、Inconsistent：标识设备上支持这个节点，设备上的实现和MIB定义不一致。 ?a、如果是【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那就需要在【ACCESS realized 实际支持的访问权限】列填写设备实际支持的情况。 ?b、如果是【syntax】列取值范围，设备上的实现和MIB定义不一致，那就需要在【syntax range realized 实际支持的取值范围】列填写设备实际支持的情况。 ?c、如果是缺省值，设备上的实现和MIB定义不一致，那就需要在【Default value 缺省值】列 填写设备实际支持的情况。 ?d、其他情况，只要设备上的实现和MIB定义不一致，那就需要在【Remark(In Chinese) 备注(中文)】/【Remark(In English) 】列填写设备实际支持的情况。 3、Nonsupport：标识设备上不支持这个节点。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。该列值只可以填写下面列表中的值 not-accessible accessible-for-notify read-only read-write read-create 例如：MIB文件定义是read-write，而实际设备上是read-only，那么此处就要写明是read-only。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） 对于table，xxxxEntry对应该列填写N时，或【Index】 标识为Y的节点对应该列填写N时，标识该table不支持字典排序。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，除【MAX-ACCESS】和【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 | 【Remark(In Chinese) 备注(中文)】列对应英文翻译。 重要：对于table，该列承载table的含义、作用；及表各类约束。 table填写格式与样例： Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table can be read without restriction. 各类约束支持多产品定制，填写格式： Creation Restriction value product1: value1 product2,product3： value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，节点的缺省值在设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） | 必须填写，只可以选择下拉列表中的值（Y/N） |  |  | 节点归属必须在文件支持的归属范围内 | 只可以选择下拉列表中的值（Y/N） | MIB节点归属资源包，一个节点只能归于一个资源包 | If-Feature名称，父节点指定的feature对所有子节点生效。如果父节点已经指定了同名feature，子孙节点不用再重复指定。 | 只可以选择下拉列表中的值（Y/N），子节点只要有一个为Y，父节点必须为Y，如果子节点全部为N，父节点必须为N | 节点支持的产品合集，不支持导入修改
HUAWEI-L3VPN-EXT-MIB
| hwL3vpn |  |  |  |  | The HUAWEI-L3VPN-EXT-MIB contains objects to statistic L3VPN's traffic. | 1.3.6.1.4.1.2011.5.25.150 | [5 empty] | N |  | Consistent | [7 empty] | Y |  |  | BGP |  |  |  | Y | PNF-FW
|  | hwL3vpnStatMibObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.150.1 | [5 empty] | N |  | Consistent | [7 empty] | Y |  |  | BGP |  |  |  | Y | PNF-FW
|  |  | hwL3vpnStatisticsTable |  |  | This table contains the L3VPN's Traffic Statistic. | 1.3.6.1.4.1.2011.5.25.150.1.1 | HwL3vpnStatisticsEntry |  | not-accessible | current |  | N | 含义：读取vpn的流量统计数据。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：无。 | Consistent |  |  |  |  | Creation Restriction: The table cannot be created. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table can be read without restriction. |  |  | Y |  |  | BGP | N |  |  | N
|  |  |  | hwL3vpnStatisticsEntry |  | Provides the information of the L3VPN's Traffic Statistic. | 1.3.6.1.4.1.2011.5.25.150.1.1.1 | HwL3vpnStatisticsEntry |  | not-accessible | current |  | N |  | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnVrfIndex | The index of L3vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y | 该节点表示L3VPN实例的索引。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatEnable | This object indicates whether statistics collection is enabled or not. 1 indicates enable, and 0 indicates disable. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.2 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | COLUMNAR | N | 统计使能或去使能标志，使能值为1，去使能值为0。 | Inconsistent | read-only | [6 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnVrfName | This object indicates the VRF's name. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.3 | DisplayString (SIZE (1..31)) | OCTET STRING{(1,31)} | read-only | current | COLUMNAR | N | VPN名称。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatInTrafficRate | The value of this object identifies the rate for incoming bytes in the past 300s. The unit is bit/s. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.4 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 最近300秒统计接收字节速率，单位为位/每秒。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatOutTrafficRate | The value of this object identifies the rate (in bps) for outgoing bytes in the past 300s. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.5 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 最近300秒统计发送字节速率，单位为位/每秒。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatInPacketsRate | The value of this object identifies the rate (in pps) for incoming packets in the past 300s. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.6 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 最近300秒统计接收包速率，单位为包/秒。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatOutPacketsRate | The value of this object identifies the rate (in pps) for outgoing packets in the past 300s. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.7 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 最近300秒统计发送包速率，单位为包/秒。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatInBytes | The total number of bytes received. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.8 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 统计接收字节数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatOutBytes | The total number of bytes transmitted out. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.9 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 统计发送字节数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatInPackets | The total number of Packets received. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.10 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 统计接收包数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatOutPackets | The total number of Packets transmitted out. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.11 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 统计发送包数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatInUnicastPackets | The total number of unicast Packets received. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.12 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 接收的单播包数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatOutUnicastPackets | The total number of unicast Packets transmitted out. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.13 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 发送的单播包数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatInMulticastPackets | The total number of multicast Packets received. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.14 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 接收的多播包数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatOutMulticastPackets | The total number of multicast Packets transmitted out. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.15 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 发送的多播包数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatInBroadcastPackets | The total number of broadcast Packets received. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.16 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 接收的广播包数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatOutBroadcastPackets | The total number of broadcast Packets transmitted out. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.17 | Counter64 | Counter64 | read-only | current | COLUMNAR | N | 发送的广播包数。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatResetTime | Last time of clean out. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.18 | DateAndTime | OCTET STRING{(8,8),(11,11)} | read-only | current | COLUMNAR | N | 上次统计清空时间。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | N
[5 empty] | hwL3vpnStatResetStatistic | This object indicates a writable field, which is used to clear statistics. The value is 1. | 1.3.6.1.4.1.2011.5.25.150.1.1.1.19 | INTEGER{resetstatistic(0),resetStatistic(1)} | INTEGER{resetstatistic(0),resetStatistic(1)} | read-write | current | COLUMNAR | N | 可写字段，用来清空统计，清空值为1。 | Inconsistent | read-only | [6 empty] | Y |  |  | BGP | N |  |  | N
|  |  | hwL3vpnQosStatisticsTable |  |  | This table contains the L3VPN's Qos traffic statistics. | 1.3.6.1.4.1.2011.5.25.150.1.2 | HwL3vpnQosStatisticsEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnQosStatisticsEntry |  | Provides the information of the L3VPN's Qos traffic statistics. | 1.3.6.1.4.1.2011.5.25.150.1.2.1 | HwL3vpnQosStatisticsEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatVrfIndex | Index of the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.2.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatQueueID | This object indicates the queue's ID. The value must be be,af1,af2,af3,af4,ef,cs6,cs7. | 1.3.6.1.4.1.2011.5.25.150.1.2.1.2 | INTEGER{be(1),af1(2),af2(3),af3(4),af4(5),ef(6),cs6(7),cs7(8)} | INTEGER{be(1),af1(2),af2(3),af3(4),af4(5),ef(6),cs6(7),cs7(8)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatPassPackets | Number of total passed packets, based on the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.2.1.3 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatPassBytes | Number of total passed bytes, based on the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.2.1.4 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatDiscardPackets | Number of total discarded packets, based on the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.2.1.5 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatDiscardBytes | Number of total discarded bytes, based on the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.2.1.6 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatPassPacketsRate | Rate of passed packets for the past 30 seconds, based on the vpn instance. Unit: pps | 1.3.6.1.4.1.2011.5.25.150.1.2.1.7 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatPassBytesRate | Rate of passed bytes for the past 30 seconds, based on the vpn instance. Unit: bps | 1.3.6.1.4.1.2011.5.25.150.1.2.1.8 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatDiscardPacketsRate | Rate of discarded packets for the past 30 seconds, based on the vpn instance. Unit: pps | 1.3.6.1.4.1.2011.5.25.150.1.2.1.9 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnQosStatDiscardBytesRate | Rate of discarded bytes for the past 30 seconds, based on the vpn instance. Unit: bps | 1.3.6.1.4.1.2011.5.25.150.1.2.1.10 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwL3vpnPeerStatisticsTable |  |  | This table contains the L3VPN's Traffic Statistic. | 1.3.6.1.4.1.2011.5.25.150.1.3 | HwL3vpnPeerStatisticsEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnPeerStatisticsEntry |  | Provides the information of the L3VPN Peer's Traffic Statistic. | 1.3.6.1.4.1.2011.5.25.150.1.3.1 | HwL3vpnPeerStatisticsEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerVrfIndex | The index of L3vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerStatPeerAddress | The peer IP address of L3vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.2 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerStatEnable | This object indicates the enable sign of L3VPN peer's traffic statistics. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.3 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerStatResetStatistic | Reset traffic statistics for peer of the L3vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.4 | INTEGER{resetStatistic(1)} | INTEGER{resetStatistic(1)} | read-write | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerVrfName | This object indicates the VRF's name. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.5 | DisplayString (SIZE (1..31)) | OCTET STRING{(1,31)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerStatResetTime | Last time of clean out. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.6 | DateAndTime | OCTET STRING{(8,8),(11,11)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerStatQosPacketsRate | Average packets of the traffic transmitted out per second. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.7 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerStatQosBytesRate | Average bytes of the traffic transmitted out per second . | 1.3.6.1.4.1.2011.5.25.150.1.3.1.8 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerStatQosPackets | The total number of Packets transmitted out. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.9 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerStatQosBytes | The total number of bytes transmitted out. | 1.3.6.1.4.1.2011.5.25.150.1.3.1.10 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwL3vpnPeerQosStatisticsTable |  |  | This table contains the L3vpn Peer's Qos traffic statistics. | 1.3.6.1.4.1.2011.5.25.150.1.4 | HwL3vpnPeerQosStatisticsEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnPeerQosStatisticsEntry |  | Provides the information of the L3VPN Peer's Qos traffic statistics. | 1.3.6.1.4.1.2011.5.25.150.1.4.1 | HwL3vpnPeerQosStatisticsEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatVrfIndex | Index of the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.4.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatPeerAddress | The peer IP address of L3vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.4.1.2 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatQueueID | This object indicates the queue's ID. The value must be be,af1,af2,af3,af4,ef,cs6,cs7. | 1.3.6.1.4.1.2011.5.25.150.1.4.1.3 | INTEGER{be(1),af1(2),af2(3),af3(4),af4(5),ef(6),cs6(7),cs7(8)} | INTEGER{be(1),af1(2),af2(3),af3(4),af4(5),ef(6),cs6(7),cs7(8)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatPassPackets | Number of total passed packets, based on peer of the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.4.1.4 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatPassBytes | Number of total passed bytes, based on peer of the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.4.1.5 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatDiscardPackets | Number of total discarded packets, based on peer of the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.4.1.6 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatDiscardBytes | Number of total discarded bytes, based on peer of the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.4.1.7 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatPassPacketsRate | Rate of passed packets for the past 30 seconds, based on peer of the vpn instance. Unit: pps | 1.3.6.1.4.1.2011.5.25.150.1.4.1.8 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatPassBytesRate | Rate of passed bytes for the past 30 seconds, based on peer of the vpn instance. Unit: bps | 1.3.6.1.4.1.2011.5.25.150.1.4.1.9 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatDiscardPacketsRate | Rate of discarded packets for the past 30 seconds, based on peer of the vpn instance. Unit: pps | 1.3.6.1.4.1.2011.5.25.150.1.4.1.10 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnPeerQosStatDiscardBytesRate | Rate of discarded bytes for the past 30 seconds, based on peer of the vpn instance. Unit: bps | 1.3.6.1.4.1.2011.5.25.150.1.4.1.11 | Counter64 | Counter64 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwL3vpnStatMapTable |  |  | This table contains the map of L3vpn name and index. | 1.3.6.1.4.1.2011.5.25.150.1.5 | HwL3vpnStatMapEntry |  | not-accessible | current |  | N | 含义：该表包含了实例组织的名称与索引。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：无 | Consistent |  |  |  |  | Creation Restriction: The table cannot be created. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table can be read without restriction. |  |  | Y |  |  | BGP | N |  |  | Y | PNF-FW
|  |  |  | hwL3vpnStatMapEntry |  | Provides the mapping information of the L3vpn name and L3vpn index. | 1.3.6.1.4.1.2011.5.25.150.1.5.1 | HwL3vpnStatMapEntry |  | not-accessible | current |  | N |  | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | Y | PNF-FW
[5 empty] | hwL3vpnStatMapVrfName | This object indicates the vpn instance's name. | 1.3.6.1.4.1.2011.5.25.150.1.5.1.1 | DisplayString (SIZE (1..31)) | OCTET STRING{(1,31)} | not-accessible | current | COLUMNAR | Y | VPN实例的名称。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | Y | PNF-FW
[5 empty] | hwL3vpnStatMapVrfIndex | Index of the vpn instance. | 1.3.6.1.4.1.2011.5.25.150.1.5.1.2 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | VPN实例的索引。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | Y | PNF-FW
|  | hwL3vpnConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.150.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwL3vpnGroups |  |  |  | 1.3.6.1.4.1.2011.5.25.150.2.1 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnStatisticsGroup |  | The L3vpn Statistics Group. | 1.3.6.1.4.1.2011.5.25.150.2.1.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnQosStatisticsGroup |  | The L3vpn Qos Statistics Group. | 1.3.6.1.4.1.2011.5.25.150.2.1.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnPeerStatisticsGroup |  | The L3vpn Statistics Group. | 1.3.6.1.4.1.2011.5.25.150.2.1.3 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnPeerQosStatisticsGroup |  | The L3vpn Qos Statistics Group. | 1.3.6.1.4.1.2011.5.25.150.2.1.4 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnStatMapGroup |  | The L3vpn Stat Map Group. | 1.3.6.1.4.1.2011.5.25.150.2.1.5 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwL3vpnCompliances |  |  |  | 1.3.6.1.4.1.2011.5.25.150.2.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnCompliance |  | The compliance statement for HUAWEI-L3VPN-EXT-MIB. | 1.3.6.1.4.1.2011.5.25.150.2.2.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwL3vpnNotificationsObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.150.5 | [5 empty] | N |  | Consistent | [7 empty] | Y |  |  | BGP |  |  |  | Y | PNF-FW
|  |  | hwL3vpnVrfV6VpnName |  |  | Vpn Instance Name. | 1.3.6.1.4.1.2011.5.25.150.5.1 | OCTET STRING (SIZE (1..31)) | OCTET STRING{(1,31)} | accessible-for-notify | current | SCALAR | N | VPN实例名称。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | Y | PNF-FW
|  |  | hwL3vpnVrfV6IfName |  |  | Interface Name. | 1.3.6.1.4.1.2011.5.25.150.5.2 | OCTET STRING (SIZE (1..63)) | OCTET STRING{(1,63)} | accessible-for-notify | current | SCALAR | N | 接口名称。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | Y | PNF-FW
|  | hwL3vpnNotifications |  |  |  |  | 1.3.6.1.4.1.2011.5.25.150.6 | [5 empty] | N |  | Consistent | [7 empty] | Y |  |  | BGP |  |  |  | Y | PNF-FW
|  |  | hwL3vpnVrfV6Up |  |  | The object indicates that IPv6 status on any interface bound to a VPN instance being Up. | 1.3.6.1.4.1.2011.5.25.150.6.1 |  |  |  | current | TRAP | N | 绑定VPN实例的接口IPv6状态变为Up。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | Y | PNF-FW
|  |  | hwL3vpnVrfV6Down |  |  | The object indicates that IPv6 status on all interfaces bound to a VPN instance being Down. | 1.3.6.1.4.1.2011.5.25.150.6.2 |  |  |  | current | TRAP | N | 绑定VPN实例的所有接口IPv6状态变为Down。 | Consistent | [7 empty] | Y |  |  | BGP | N |  |  | Y | PNF-FW