## MIB Manual(s)
Node Name | [5 empty] | Description | OID | syntax | syntax(device) | MAX-ACCESS | Status | Node Type | Index | chinese description 中文描述 | Realization is consistent with MIB definition? 实现是否和定义一致? | ACCESS realized 实际支持的访问权限 | syntax range realized 实际支持的取值范围 | lexicographic OID for Get-Next? 是否支持GET-NEXT OID字典序? | Remark(In Chinese) 备注(中文) | Remark(In English) 备注(英文) (资料填写 For TDC) | Default value 缺省值 | Is statistic node? 是否是统计节点? | Is VRP node? 是否是平台节点 | other manufacturer realization (only for public mib) 竞争对手实现(仅对公有MIB) | Vendor adapting node list 做了OSS对接的局点列表 | Ascription归属 | Is security? 是否涉及安全 | Module 归属资源包 | If-Feature 特性规格 | Products 支持的产品列表 | Products
PNF-FW
结点树由mib file自动生成，不能在此表中人工增加、修改或删除结点。 | [5 empty] | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 如果该列为空代表无效节点。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | 必须填写，节点的中文描述，对应【Description】的中文翻译。 1、对于节点：包括单节点，告警节点，表节点，对应【Description】的中文信息。填写样例： 该节点标识环的保护实例ID。 2、对于table：该列是描述该表的含义、作用；及表的各类约束。table填写格式与样例： 该表描述ERPS环配置信息。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 各类约束支持多产品定制，填写格式： 创建约束 value product1: value1 product2,product3: value2 | 必须填写，只可以选择下拉列表中的值（Consistent/ Inconsistent/Nonsupport）。 1、Consistent：标识设备上支持这个节点，设备上的实现完全和MIB定义完全一致。 2、Inconsistent：标识设备上支持这个节点，设备上的实现和MIB定义不一致。 ?a、如果是【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那就需要在【ACCESS realized 实际支持的访问权限】列填写设备实际支持的情况。 ?b、如果是【syntax】列取值范围，设备上的实现和MIB定义不一致，那就需要在【syntax range realized 实际支持的取值范围】列填写设备实际支持的情况。 ?c、如果是缺省值，设备上的实现和MIB定义不一致，那就需要在【Default value 缺省值】列 填写设备实际支持的情况。 ?d、其他情况，只要设备上的实现和MIB定义不一致，那就需要在【Remark(In Chinese) 备注(中文)】/【Remark(In English) 】列填写设备实际支持的情况。 3、Nonsupport：标识设备上不支持这个节点。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。该列值只可以填写下面列表中的值 not-accessible accessible-for-notify read-only read-write read-create 例如：MIB文件定义是read-write，而实际设备上是read-only，那么此处就要写明是read-only。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） 对于table，xxxxEntry对应该列填写N时，或【Index】 标识为Y的节点对应该列填写N时，标识该table不支持字典排序。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，除【MAX-ACCESS】和【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 | 【Remark(In Chinese) 备注(中文)】列对应英文翻译。 重要：对于table，该列承载table的含义、作用；及表各类约束。 table填写格式与样例： Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table can be read without restriction. 各类约束支持多产品定制，填写格式： Creation Restriction value product1: value1 product2,product3： value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，节点的缺省值在设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） | 必须填写，只可以选择下拉列表中的值（Y/N） |  |  | 节点归属必须在文件支持的归属范围内 | 只可以选择下拉列表中的值（Y/N） | MIB节点归属资源包，一个节点只能归于一个资源包 | If-Feature名称，父节点指定的feature对所有子节点生效。如果父节点已经指定了同名feature，子孙节点不用再重复指定。 | 只可以选择下拉列表中的值（Y/N），子节点只要有一个为Y，父节点必须为Y，如果子节点全部为N，父节点必须为N | 节点支持的产品合集，不支持导入修改
HUAWEI-MPLSLDP-MIB
| hwMplsLdp |  |  |  |  | This MIB contains private managed object and notification trap definitions for MPLS LDP. | 1.3.6.1.4.1.2011.5.25.143 | [5 empty] | N | 该MIB包含了MPLS LDP私有的管理该节点和通知Trap定义。 | Consistent | [7 empty] | Y |  |  | MPLS |  |  |  | Y | PNF-FW
|  | hwMplsLdpInfo |  |  |  |  | 1.3.6.1.4.1.2011.5.25.143.1 | [5 empty] | N |  | Consistent | [7 empty] | Y |  |  | MPLS |  |  |  | Y | PNF-FW
|  |  | hwMplsLdpProcessName |  |  | This object indicates the process name of LDP running on the router. By default, the value is LDP. | 1.3.6.1.4.1.2011.5.25.143.1.1 | OCTET STRING | OCTET STRING | read-only | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpLspFec |  |  | This object indicates the destination address of an LSP. The value is either a destination IP address or a prefix of an IP address. | 1.3.6.1.4.1.2011.5.25.143.1.2 | InetAddress | OCTET STRING{(0,255)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpLspInLabel |  |  | This object indicates that labels are pushed into all the packets for direct MPLS forwarding. | 1.3.6.1.4.1.2011.5.25.143.1.3 | Counter32 | Counter32 | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpLspOutLabel |  |  | This object indicates that all the packets swap labels for MPLS forwarding. | 1.3.6.1.4.1.2011.5.25.143.1.4 | Counter32 | Counter32 | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpLspOutIfIndex |  |  | The value of this object identifies the index of the outgoing interface of the LSP. | 1.3.6.1.4.1.2011.5.25.143.1.5 | InterfaceIndex | INTEGER | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpLspDownReason |  |  | This object indicates the cause that the LSP becomes Down. Options: 1. routeDelete(1) -indicates that a route has been deleted. 2. lspmNotify(2) -indicates that LSPM notify. 3. canNotRecoveryFromGr(3) -indicates that the recovery from GR was failed. 4. recvReleaseMsg(4) -indicates that the release message was received. 5. recvWithdrawMsg(5) -indicates that the withdraw message was received. 6. upStreamLost(6) -indicates that the upstream route was lost. 7. downStreamLost(7) -indicates that the downstream route was lost. 8. otherReason(8) -indicates that another cause was involved. | 1.3.6.1.4.1.2011.5.25.143.1.6 | INTEGER{routeDelete(1),lspmNotify(2),canNotRecoveryFromGr(3),recvReleaseMsg(4),recvWithdrawMsg(5),upStreamLost(6),downStreamLost(7),otherReason(8)} | INTEGER{routeDelete(1),lspmNotify(2),canNotRecoveryFromGr(3),recvReleaseMsg(4),recvWithdrawMsg(5),upStreamLost(6),downStreamLost(7),otherReason(8)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpSessionTable |  |  | This table describes LDP session parameters, including the index of an interface of a session, the cause for a session Down event, and time elapsed since a session was established. | 1.3.6.1.4.1.2011.5.25.143.1.7 | HwMplsLdpSessionEntry |  | not-accessible | current |  | N | 含义：该表列出LDP会话的一些参数，包括会话的接口索引、会话状态变为Down的原因和会话从建立至今持续的时间。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 | Consistent |  |  |  |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table cannot be read. |  |  | Y |  |  | MPLS |  |  |  | Y | PNF-FW
|  |  |  | hwMplsLdpSessionEntry |  | This object is used to display the session parameters and session age. The index of this entry is hwMplsLdpSessionPeerLsrId. | 1.3.6.1.4.1.2011.5.25.143.1.7.1 | HwMplsLdpSessionEntry |  | not-accessible | current |  | N | 显示会话参数和会话老化时间。其索引为hwMplsLdpSessionPeerLsrId。 | Consistent | [7 empty] | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpSessionPeerLsrId | This object indicates the LSR ID of the peer in a session. | 1.3.6.1.4.1.2011.5.25.143.1.7.1.1 | MplsLdpIdentifier | OCTET STRING{(6,6)} | not-accessible | current | COLUMNAR | Y | 指明会话对端Peer的LSR ID。 | Consistent | [7 empty] | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpSessionIfIndex | This object indicates the index of the interface on which the session is established. | 1.3.6.1.4.1.2011.5.25.143.1.7.1.2 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N | 指明创建LDP会话的接口索引。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwMplsLdpSessionDownReason | This object indicates the cause that the session becomes Down. Options: 1. sessionUp(0) -indicates that the session was Up. 2. helloHoldTimerExp(1) -indicates that the Hello hold timer expired. 3. ssnHoldTimerExp(2) -indicates that the session hold timer expired. 4. resetMplsLdp(3) -indicates MPLS LDP was reset. 5. undoMplsLdp(4) -indicates that MPLS LDP was disabled. 6. undoMpls(5) -indicates that MPLS was disabled. 7. undoMplsLdpRemotePeer(6) -indicates that the remote peer was deleted. 8. modifyGRConfig(7) -indicates that GR capability was modified. 9. modifyGRTimer(8) -indicates that the GR timer was modified. 10. modifyKeepaliveTimer(9) -indicates that the keepalive timer was modified. 11. modifyMD5Config(10) -indicates that MD5 was configured. 12. ssnRoleSwitch(11) -indicates that the session role was switched. 13. modifyMTUConfig(12) -indicates that the MTU was modified. 14. modifyTransportAddress(13) -indicates that the transport address was modified. 15. modifyLDPLsrID(14) -indicates that the LDP LSR ID was modified. 16. recvNotification(15) -indicates that the notification message was received. 17. transportAddressNotMatch(16) -indicates that the transport address was not matched. 18. protocolGR(17) -indicates that the protocol GR was in processing. 19. ifStatusChanged(18) -indicates that the interface status was changed. 20. tcpDown(19) -indicates that TCP was Down. 21. otherReason(20) -indicates that another cause was involved. 22. sentNotification(21) -indicates that the notification was sent. 23. canntBuildSessionRelation(22) -indicates that the session relation cannot be built. 24. receiveErrorMessageFromPeer(23) -indicates that error message from peer was received. 25. receiveSocketError(24) -indicates that error pakcet from socket was received. 26. sessionDelete(25) -indicates that the session was deleted. 27. modifyCapabilityAnnouncementConfig(26) -indicates that the capability-announcement was modified. 28. modifyLocalLsrID(27) -indicates that the Local LSR ID was modified. 29. modifyP2MP(28) -indicates that the mLDP P2MP was modified. 30. modifyMP2MP(29) -indicates that the mLDP MP2MP was modified. 31. sessionProtectTimerExp(30) -indicates that the session protection timer expired. 32. rlfaIidDel(31) -indicates that IGP deleted the RLFA IID. 33. excessiveMessagesReceived(32) -indicates Excessive messages were received. 34. configICCP(33) -indicates that the ICCP was configured. 35. packetSendReceiveError(34) -indicates that LDP cannot send or receive packets successfully. 36. socketSetOptError(35) -indicates that LDP cannot set the socket option successfully. 37. receiveSocketClose(36) -indicates that LDP received a socket close message. | 1.3.6.1.4.1.2011.5.25.143.1.7.1.3 | INTEGER{sessionUp(0),helloHoldTimerExp(1),ssnHoldTimerExp(2),resetMplsLdp(3),undoMplsLdp(4),undoMpls(5),undoMplsLdpRemotePeer(6),modifyGRConfig(7),modifyGRTimer(8),modifyKeepaliveTimer(9),modifyMD5Config(10),ssnRoleSwitch(11),modifyMTUConfig(12),modifyTransportAddress(13),modifyLDPLsrID(14),recvNotification(15),transportAddressNotMatch(16),protocolGR(17),ifStatusChanged(18),tcpDown(19),otherReason(20),sentNotification(21),canntBuildSessionRelation(22),receiveErrorMessageFromPeer(23),receiveSocketError(24),sessionDelete(25),modifyCapabilityAnnouncementConfig(26),modifyLocalLsrID(27),modifyP2MP(28),modifyMP2MP(29),sessionProtectTimerExp(30),rlfaIidDel(31),excessiveMessagesReceived(32),configICCP(33),packetSendReceiveError(34),socketSetOptError(35),receiveSocketClose(36)} | INTEGER{sessionUp(0),helloHoldTimerExp(1),ssnHoldTimerExp(2),resetMplsLdp(3),undoMplsLdp(4),undoMpls(5),undoMplsLdpRemotePeer(6),modifyGRConfig(7),modifyGRTimer(8),modifyKeepaliveTimer(9),modifyMD5Config(10),ssnRoleSwitch(11),modifyMTUConfig(12),modifyTransportAddress(13),modifyLDPLsrID(14),recvNotification(15),transportAddressNotMatch(16),protocolGR(17),ifStatusChanged(18),tcpDown(19),otherReason(20),sentNotification(21),canntBuildSessionRelation(22),receiveErrorMessageFromPeer(23),receiveSocketError(24),sessionDelete(25),modifyCapabilityAnnouncementConfig(26),modifyLocalLsrID(27),modifyP2MP(28),modifyMP2MP(29),sessionProtectTimerExp(30),rlfaIidDel(31),excessiveMessagesReceived(32),configICCP(33),packetSendReceiveError(34),socketSetOptError(35),receiveSocketClose(36)} | accessible-for-notify | current | COLUMNAR | N | 指明会话状态变为Down的原因。 | Consistent | [7 empty] | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpSessionAge | This object indicates the duration since the session is set up. | 1.3.6.1.4.1.2011.5.25.143.1.7.1.4 | TimeTicks | TimeTicks | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpSessionStateTable |  |  | This object is used to display the detailed state parameters of the session. | 1.3.6.1.4.1.2011.5.25.143.1.8 | HwMplsLdpSessionStateEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpSessionStateEntry |  | This object is used to display the detailed state parameters of the session. The index of this entry is hwMplsLdpSessionPeerId. | 1.3.6.1.4.1.2011.5.25.143.1.8.1 | HwMplsLdpSessionStateEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionPeerId | This object indicates the LSR ID of the LDP peer to which the session is connected. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.1 | MplsLdpIdentifier | OCTET STRING{(6,6)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionLsrId | This object indicates the ID of the local LSR. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.2 | MplsLdpIdentifier | OCTET STRING{(6,6)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionTcpConnectionState | This object indicates the TCP link status of the session. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.3 | OCTET STRING | OCTET STRING | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionState | This object indicates the current status of the session. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.4 | OCTET STRING | OCTET STRING | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionRole | This object indicates the session roles. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.5 | OCTET STRING | OCTET STRING | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionFtFlag | This object indicates whether the FT of the session is enabled. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.6 | OCTET STRING | OCTET STRING | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionMd5Flag | This object indicates whether the MD5 is enabled for the peer. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.7 | OCTET STRING | OCTET STRING | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionReconnectTimer | This object indicates the value of the GR reconnection timer after the negotiation. Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.8.1.8 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionRecoveryTimer | This object indicates the value of the GR recovery timer after the negotiation. Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.8.1.9 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionKeepAliveTimer | This object indicates the value of the KeepAlive timer after the negotiation. Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.8.1.10 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionKeepAliveMsgReceived | This object indicates the number of the KeepAlive messages that the session obtains. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.11 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionKeepAliveMsgSent | This object indicates the number of the KeepAlive messages that the session sends. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.12 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionLabelAdvMode | This object indicates the label distribution mode of the session. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.13 | OCTET STRING | OCTET STRING | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionLocalLabelResourceStatus | This object indicates the status of the local label resources of the session. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.14 | OCTET STRING | OCTET STRING | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionPeerLabelResourceStatus | This object indicates the status of the label resources of the LDP peer. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.15 | OCTET STRING | OCTET STRING | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsLdpSessionAgeStatus | This object indicates the existence time of the session. | 1.3.6.1.4.1.2011.5.25.143.1.8.1.16 | TimeTicks | TimeTicks | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpCapabilityConfig |  |  | This object indicates the global configuration or deletion of the LDP capability. Before enabling LDP capability, ensure that the MPLS capability is enabled globally. | 1.3.6.1.4.1.2011.5.25.143.1.9 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpLsrId |  |  | This object indicates the way to change the LDP LSR ID. The default LDP LSR ID has the same value as the MPLS LSR ID. It is recommended not to change the LDP LSR ID unless necessary. | 1.3.6.1.4.1.2011.5.25.143.1.10 | IpAddress | IpAddress | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpPropagateIpPrefix |  |  | This object indicates the configuration or deletion of the transit policy for the LDP. The object has a valid length ranging from 1 to 169 characters. The length 0 characters shows that the transit policy is deleted. | 1.3.6.1.4.1.2011.5.25.143.1.11 | OCTET STRING | OCTET STRING | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpGlobalRemotePwe3 |  |  | This object indicates the configuration or deletion of the policy for the LDP remote session. When the object is enabled, it is forbidden to send mapping message to the remote peer. By default, the policy is disabled, which means that there is no limitation to send mapping message to the remote peer. | 1.3.6.1.4.1.2011.5.25.143.1.12 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpMtuSignaling |  |  | This object indicates the configuration or deletion of the MTU signaling function. By default, the MTU signaling function is enabled, and the MTU TLV type in the LDP message is 0x900. | 1.3.6.1.4.1.2011.5.25.143.1.13 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpMtuApplyTlv |  |  | This object conflicts with the object hwLdpMtuSignaling. If the object is enabled, it indicates that the MTU TLV type in the LDP message is 0x601 according to the RFC 3988. | 1.3.6.1.4.1.2011.5.25.143.1.14 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpGrCapabilityConfig |  |  | This object indicates the configuration or deletion of the LDP GR capability. | 1.3.6.1.4.1.2011.5.25.143.1.15 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpGrNeighborLivenessTimer |  |  | This object indicates the way to configure the value of GR neighbor life timer. When the status of hwLdpGrCapabilityConfig is enabled, the default value returned by the object is valid. Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.16 | Integer32 | Integer32 | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpGrReconnectTimer |  |  | This object indicates the way to configure the value of GR reconnect timer. When the status of hwLdpGrCapabilityConfig is enabled, the default value returned by the object is valid. Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.17 | Integer32 | Integer32 | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpGrRecoveryTimer |  |  | This object indicates the way to configure the value of GR recovery timer. When the status of hwLdpGrCapabilityConfig is enabled, the default value returned by the object is valid. Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.18 | Integer32 | Integer32 | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLspTrigger |  |  | This object indicates the way to configure the LDP policy for the ingress LSP and egress LSP. Options: 1. all(1) -indicates that all FECs are triggered for the IGP. 2. none(2) -indicates that no FEC is triggered for the IGP. 3. host(3) -indicates that the host FEC is triggered for the IGP. 4. ipprefix(4) -indicates that the ip-prefix list is triggered for the IGP. If the object is set as ipprefix, the value of hwMplsLspTriggerIpPrefix must be set together. Default: host | 1.3.6.1.4.1.2011.5.25.143.1.19 | INTEGER{all(1),none(2),host(3),ipprefix(4)} | INTEGER{all(1),none(2),host(3),ipprefix(4)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLspTriggerIpPrefix |  |  | This object indicates the IP prefix when configuring the LDP policy for the ingress LSP and egress LSP. The object has a valid length ranging from 1 to 169 characters. If the object is set with a value, the value of hwMplsLspTrigger must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.20 | OCTET STRING | OCTET STRING | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLspTriggerBgpRoute |  |  | This object indicates the policy of triggering the BGP route to create the LDP LSP. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.21 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLspTriggerBgpRouteIpPrefix |  |  | This object indicates the IP prefix when triggering the BGP route to create the LDP LSP. The object has a valid length ranging from 1 to 169 characters. | 1.3.6.1.4.1.2011.5.25.143.1.22 | OCTET STRING | OCTET STRING | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpReset |  |  | This object indicates the reset of the LDP protocol. Options: 1. reset(1) -indicates the reset of the LDP protocol. 2. resetall(2) -indicates the reset of all LDP instances. 3. ready(3) -indicates that it is ready to reset LDP. This value cannot be set. | 1.3.6.1.4.1.2011.5.25.143.1.23 | INTEGER{reset(1),resetall(2),ready(3)} | INTEGER{reset(1),resetall(2),ready(3)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpOutBoundSplitHorizonAll |  |  | This object indicates the way to set the flag of global split horizon. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.24 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpDeleteGtsmAll |  |  | This object indicates the deletion of the global GTSM configurations. Options: 1. delete(1) -indicates that global GTSM configurations are to be deleted. 2. ready(2) -indicates that it is ready to delete global GTSM configurations. | 1.3.6.1.4.1.2011.5.25.143.1.25 | INTEGER{delete(1),ready(2)} | INTEGER{delete(1),ready(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsFrrLspTrigger |  |  | This object indicates the way to configure the LDP policy of global instance for LDP Auto FRR. If the object is set as ipprefix, the value of hwMplsFrrLspTriggerIpPrefix must be set together. Default: host Options: 1. all(1) -indicates that all FECs are triggered for the IGP. 2. none(2) -indicates that no FEC is triggered for the IGP. 3. host(3) -indicates that the host FEC is triggered for the IGP. 4. ipprefix(4) -indicates that the ip-prefix list is triggered for the IGP. | 1.3.6.1.4.1.2011.5.25.143.1.26 | INTEGER{all(1),none(2),host(3),ipPrefix(4)} | INTEGER{all(1),none(2),host(3),ipPrefix(4)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsFrrLspTriggerIpPrefix |  |  | This object indicates the IP prefix when configuring LDP Auto FRR for the public network instance. The object has a valid length ranging from 1 to 169 characters. If the object is set with a value, the value of hwMplsFrrLspTrigger must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.27 | OCTET STRING | OCTET STRING | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpBackOffTimerInit |  |  | This object indicates the initial value of backoff timer. Default: 15 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.28 | Integer32 (SIZE (5..2147483)) | Integer32{(5,2147483)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpBackOffTimerMax |  |  | This object indicates the maximum value of backoff timer. Default: 120 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.29 | Integer32 (SIZE (5..2147483)) | Integer32{(5,2147483)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpLongestMatch |  |  | This object indicates that the LDP is enabled with the function of searching for routes according to the longest match rule to establish LSPs. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.30 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpRemotePeerAutoDodRequest |  |  | The value of this object identifies whether the remote peer is globally enabled with the capability of automatically sending a DoD request. | 1.3.6.1.4.1.2011.5.25.143.1.37 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpCapabilityAnnouncementConfig |  |  | The value of this object identifies whether LDP has Capability-Announcement ability. | 1.3.6.1.4.1.2011.5.25.143.1.38 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpVpnTable |  |  | This object is used to configure or delete the LDP multi-instance. Make sure the relevant VPN instance is already created. | 1.3.6.1.4.1.2011.5.25.143.1.50 | HwLdpVpnEntry |  | not-accessible | current |  | N | 含义：该表描述了私网下的配置属性。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 | Consistent |  |  |  |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: Entries in this table cannot be read. |  |  | Y | [6 empty] | N
|  |  |  | hwLdpVpnEntry |  | This object is used to configure or delete the LDP multi-instance. The index of this entry is hwLdpVpnInstanceId. Make sure the relevant VPN instance is already created. | 1.3.6.1.4.1.2011.5.25.143.1.50.1 | HwLdpVpnEntry |  | not-accessible | current |  | N | 表示私网实例。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnInstanceId | This object indicates the ID of the VPN instance. You can find the correct VPN instance ID based on hwL3vpnVrfIndex of hwL3vpnStatisticsTable. | 1.3.6.1.4.1.2011.5.25.143.1.50.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y | 表示私网实例索引。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnLsrId | This object indicates the way to configure the LDP LSR ID. If the value of the LDP LSR ID is the same as the value of the MPLS LSR ID, the LDP LSR ID is deleted. It is recommended not to change the LDP LSR ID unless necessary. | 1.3.6.1.4.1.2011.5.25.143.1.50.1.11 | IpAddress | IpAddress | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnSplitHorizonAll | This object indicates the way to set the flag of split horizon for all LDP VPN peers. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.50.1.12 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnReset | This object indicates the reset of the LDP multi-instance corresponding to the VPN. Options: 1.reset(1) -indicates that the LDP multi-instance will be reset. 2.ready(2) -indicates that it is ready to reset ldp multi-instance. This value cannot be set. | 1.3.6.1.4.1.2011.5.25.143.1.50.1.13 | INTEGER{reset(1),ready(2)} | INTEGER{reset(1),ready(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsVpnFrrLspTrigger | This object indicates the way to configure the LDP policy of vpn instance for LDP Auto FRR. If the object is set as ipprefix, the value of hwMplsVpnFrrLspTriggerIpPrefix must be set together. Options: 1. all(1) -indicates that all FECs are triggered for the IGP. 2. none(2) -indicates that no FEC is triggered for the IGP. 3. host(3) -indicates that the host FEC is triggered for the IGP. 4. ipprefix(4) -indicates that the ip-prefix list is triggered for the IGP. | 1.3.6.1.4.1.2011.5.25.143.1.50.1.14 | INTEGER{all(1),none(2),host(3),ipPrefix(4)} | INTEGER{all(1),none(2),host(3),ipPrefix(4)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMplsVpnFrrLspTriggerIpPrefix | This object indicates the IP prefix when configuring the LDP policy of vpn instance for LDP Auto FRR. The object has a valid length ranging from 1 to 169 characters. If the object is set with a value, the value of hwMplsVpnFrrLspTrigger must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.50.1.15 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnGracefulDeleteCapability | This object indicates whether the LDP graceful-delete capability is enabled for a VPN instance. | 1.3.6.1.4.1.2011.5.25.143.1.50.1.16 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnGracefulDeleteTimer | The value of this object identifies the value of a graceful-delete timer for a VPN instance. When the status of hwLdpVpnGracefulDeleteCapability is enabled, the default value returned by the object is valid. Default: 5 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.50.1.17 | Integer32 (SIZE (1..65535)) | Integer32{(1,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnRowStatus | This object indicates whether one entry of hwLdpVpnTable is created or destroyed. The value of this object can be CreatAndGo or Destroy. When the value of the object is set as CreatAndGo, and the entry is correctly created, the status of the object will change into active. | 1.3.6.1.4.1.2011.5.25.143.1.50.1.51 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpRemoteEntityTable |  |  | This object is used to configure or delete the LDP remote peer. | 1.3.6.1.4.1.2011.5.25.143.1.51 | HwLdpRemoteEntityEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwLdpRemoteEntityEntry |  | This object is used to configure or delete the LDP remote peer. The index of this entry is hwLdpRemoteName. | 1.3.6.1.4.1.2011.5.25.143.1.51.1 | HwLdpRemoteEntityEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteName | This object indicates the name of the LDP remote peer. Range: 1-32 characters | 1.3.6.1.4.1.2011.5.25.143.1.51.1.1 | DisplayString | OCTET STRING{(0,255)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteIp | This object indicates the configuration of the remote peer LSR ID. If being set, the ID cannot be modified. To modify the ID, delete the original ID and create a new one. If the ID is set as 0.0.0.0, it indicates that the ID is deleted. | 1.3.6.1.4.1.2011.5.25.143.1.51.1.11 | IpAddress | IpAddress | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemotePwe3 | This object indicates the configuration or deletion of the policy for the remote LDP session. When the object is enabled, it is forbidden to send the mapping message to the remote peer. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.51.1.12 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteKeepaliveTimer | This object indicates the value of LDP Keepalive timer. Default: 45 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.51.1.13 | Integer32 (SIZE (30..65535)) | Integer32{(30,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteHelloTimer | This object indicates the value of LDP Hello hold timer. Default: 45 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.51.1.14 | Integer32 (SIZE (3..65535)) | Integer32{(3,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteKeepaliveSendTimer | This object indicates the value of LDP Keepalive send timer. By default, the value of the timer is 0, configuration does not take effect. Default: 0 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.51.1.15 | Integer32 (SIZE (0..65535)) | Integer32{(0,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteHelloSendTimer | This object indicates the value of LDP Hello send timer. By default, the value of the timer is 0, configuration does not take effect. Default: 0 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.51.1.16 | Integer32 (SIZE (0..65535)) | Integer32{(0,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteIgpSyncTimer | This object indicates the value of IGP-Sync timer. Default: 10 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.51.1.17 | Integer32 (SIZE (0..65535)) | Integer32{(0,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteIpAutoDoDRequest | This object identifies whether the remote peer is enabled with the capability of automatically sending a DoD request. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.51.1.18 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteIpAutoDoDRequestBlock | This object indicates whether the remote ip auto dod request function blocked. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.51.1.19 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteLabelAdvertisementMode | This object indicates the label distribution mode. Options: 1. dod(1) -indicates that the label distribution mode is dod. 2. du(2) -indicates that the label distribution mode is du. Default: du | 1.3.6.1.4.1.2011.5.25.143.1.51.1.20 | INTEGER{dod(1),du(2)} | INTEGER{dod(1),du(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteLocalLsrIdIfIndex | This object indicates the way to specify the interface that the local LDP LSR-ID based on remote entity is assigned to. Value: 0..2147483647 The default value of the object is the interface that the global LDP LSR ID is assigned to. If the global LDP LSR ID is not assigned to any interface, then the value of the object is 0. If set 0, the value of the object will be the default value. | 1.3.6.1.4.1.2011.5.25.143.1.51.1.21 | InterfaceIndexOrZero | Integer32{(0,2147483647)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpRemoteRowStatus | This object indicates whether one entry of hwLdpRemoteEntityTable is created or destroyed. The value of this object can be CreatAndGo or Destroy. When the value of the object is set as CreatAndGo, and the entry is correctly created, the status of the object will change into active. | 1.3.6.1.4.1.2011.5.25.143.1.51.1.51 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpPeerTable |  |  | This object is used to configure the LDP peer. | 1.3.6.1.4.1.2011.5.25.143.1.52 | HwLdpPeerEntry |  | not-accessible | current |  | N | 含义：该表描述了公网Peer下的配置属性。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表支持读取。 | Inconsistent | read-only |  |  |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: Entries in this table can be read. |  |  | Y | [6 empty] | N
|  |  |  | hwLdpPeerEntry |  | An entry of the peer feature table, used to configure and display features, such as the MD5 password and split horizon policy negotiated with the local peer. The index of this entry is hwLdpPeerLsrId. | 1.3.6.1.4.1.2011.5.25.143.1.52.1 | HwLdpPeerEntry |  | not-accessible | current |  | N |  | Inconsistent | read-only | [6 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerLsrId | This object indicates the LSR ID of the LDP peer. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.1 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y | 表示Peer Address。 | Inconsistent | read-only | [6 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerMd5Type | This object indicates the Md5 type. MD5 is an insecure algorithm and is not recommended. Options: 1. cipher(1) -indicates that the MD5 password is in cipher text mode. 2. plain(2) -indicates that the MD5 password is in plain text mode. 3. null(3) -indicates that the MD5 type is null, which means that the MD5 authentication is not configured for the LDP peer. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.11 | INTEGER{cipher(1),plain(2),null(3)} | INTEGER{cipher(1),plain(2),null(3)} | read-create | current | COLUMNAR | N | 表示Peer的加密算法类型。 | Inconsistent | read-only | [6 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerMd5Password | This object indicates the MD5 password of LDP neighbor. To delete the password, set the password length as zero. When read, it always returns an Octet string with the length of zero. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.12 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGtsmHops | This object indicates the number of GTSM hops. The valid number of GTSM hops ranges from 1 to 255. To clear the configuration of GTSM hops, set the number of GTSM hops as 0. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.13 | Integer32 (SIZE (0..255)) | Integer32{(0,255)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerSplitHorizon | This object indicates the way to set the flag of split horizon for the specified LDP peer. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.52.1.14 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerReset | This object indicates the reset of the neighbor services. Options: 1. reset(1) -indicates that the neighbor services will be reset. Only when the object is ready, can this value take effect. 2. ready(2) -indicates that it is ready to reset the neighbor services. This value cannot be set. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.15 | INTEGER{reset(1),ready(2)} | INTEGER{reset(1),ready(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerKeychainName | This object indicates the Keychain name. To cancel the Keychain authentication, set the Keychain name length as 0. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.18 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerOutBoundPolicyRange | This object indicates the range of IGP routes for an outbound policy. The default value is clear. If the object is set as ipprefix, the value of hwLdpPeerOutBoundPolicyFecIpPrefix must be set together. Options: 1. clear(1) -This policy is disabled by default. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. 4. host(4) -The policy allows FECs only of host routes to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.19 | INTEGER{clear(1),none(2),ipprefix(3),host(4)} | INTEGER{clear(1),none(2),ipprefix(3),host(4)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerOutBoundPolicyFecIpPrefix | This object indicates the IP prefix list name of IGP routes for an outbound policy. If the object is set with a value, the value of hwLdpPeerOutBoundPolicyRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.20 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerOutBoundPolicyBgpRange | This object indicates the range of BGP routes for an outbound policy. The default value is clear. If the object is set as ipprefix, the value of hwLdpPeerOutBoundPolicyBgpIpPrefix must be set together. Options: 1. clear(1) -This policy is disabled by default. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.21 | INTEGER{clear(1),none(2),ipprefix(3)} | INTEGER{clear(1),none(2),ipprefix(3)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerOutBoundPolicyBgpIpPrefix | This object indicates the IP prefix list name of BGP routes for the outbound policy. If the object is set with a value, the value of hwLdpPeerOutBoundPolicyBgpRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.22 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerInBoundPolicyRange | This object indicates the route range for the inbound policy. The default value is clear. If the object is set as ipprefix, the value of hwLdpPeerInBoundPolicyFecIpPrefix must be set together. Options: 1. clear(1) -This policy is disabled by default. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. 4. host(4) -The policy allows FECs only of host routes to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.23 | INTEGER{clear(1),none(2),ipprefix(3),host(4)} | INTEGER{clear(1),none(2),ipprefix(3),host(4)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerInBoundPolicyFecIpPrefix | This object indicates the IP prefix list name for the inbound policy. If the object is set with a value, the value of hwLdpPeerInBoundPolicyRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.24 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerRowStatus | This object indicates whether one entry of hwLdpPeerTable is created or destroyed. The value of this object can be CreatAndGo or Destroy. When the value of the object is set as CreatAndGo, and the entry is correctly created, the status of the object will change into active. | 1.3.6.1.4.1.2011.5.25.143.1.52.1.51 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpVpnPeerTable |  |  | This table is used to create and delete peer configurations in the LDP multi-instance. Make sure the corresponding LDP VPN-instance is already created in hwLdpVpnTable. | 1.3.6.1.4.1.2011.5.25.143.1.53 | HwLdpVpnPeerEntry |  | not-accessible | current |  | N | 含义：该表描述了私网Peer下的配置属性。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表支持读取。 | Inconsistent | read-only |  |  |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: Entries in this table can be read. |  |  | Y | [6 empty] | N
|  |  |  | hwLdpVpnPeerEntry |  | An entry of the VPN peer feature table, used to configure and display features, such as the MD5 password and split horizon policy negotiated with the local peer on the VPN. The indexs of this entry are hwLdpVpnInstanceId, hwLdpVpnPeerLsrId. Make sure the corresponding LDP VPN-instance is already created in hwLdpVpnTable. | 1.3.6.1.4.1.2011.5.25.143.1.53.1 | HwLdpVpnPeerEntry |  | not-accessible | current |  | N |  | Inconsistent | read-only | [6 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnPeerLsrId | This object indicates the LSR ID of the LDP peer. | 1.3.6.1.4.1.2011.5.25.143.1.53.1.1 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y | 表示Peer Address。 | Inconsistent | read-only | [6 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnPeerMd5Type | This object indicates the Md5 type. MD5 is an insecure algorithm and is not recommended. Options: 1. cipher(1) -indicates that the MD5 password is in cipher text mode. 2. plain(2) -indicates that the MD5 password is in plain text mode. 3. null(3) -indicates that the MD5 type is null, which means that the MD5 authentication is not configured for the LDP peer. | 1.3.6.1.4.1.2011.5.25.143.1.53.1.11 | INTEGER{cipher(1),plain(2),null(3)} | INTEGER{cipher(1),plain(2),null(3)} | read-create | current | COLUMNAR | N | 表示Peer的加密算法类型。 | Inconsistent | read-only | [6 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnPeerMd5Password | This object indicates the MD5 password of VPN LDP neighbor. To delete the password, set the password length as zero. When read, it always returns an Octet string with the length of zero. | 1.3.6.1.4.1.2011.5.25.143.1.53.1.12 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnPeerSplitHorizon | This object indicates the way to set the flag of split horizon for the specified LDP peer. Default: disabled | 1.3.6.1.4.1.2011.5.25.143.1.53.1.13 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnPeerReset | This object indicates the reset of the neighbor services. Options: 1. reset(1) -indicates that the neighbor services will be reset. Only when the object is ready, can this value take effect. 2. ready(2) -indicates that it is ready to reset the neighbor services. This value cannot be set. | 1.3.6.1.4.1.2011.5.25.143.1.53.1.14 | INTEGER{reset(1),ready(2)} | INTEGER{reset(1),ready(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnPeerKeychainName | This object indicates the Keychain name. To cancel the Keychain authentication, set the Keychain name length as 0. | 1.3.6.1.4.1.2011.5.25.143.1.53.1.17 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpVpnPeerRowStatus | This object indicates whether one entry of hwLdpVpnPeerTable is created or destroyed. The value of this object can be CreatAndGo or Destroy. When the value of the object is set as CreatAndGo, and the entry is correctly created, the status of the object will change into active. | 1.3.6.1.4.1.2011.5.25.143.1.53.1.51 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpInterfaceTable |  |  | This table is used to configure or delete the LDP capability on the interface. | 1.3.6.1.4.1.2011.5.25.143.1.54 | HwLdpInterfaceEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwLdpInterfaceEntry |  | An entry of the LDP interface table, used to configure and display the LDP negotiation parameters on the interface enabled with LDP capabilities. The index of this entry is hwLdpInterfaceIndex. | 1.3.6.1.4.1.2011.5.25.143.1.54.1 | HwLdpInterfaceEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpInterfaceIndex | This object indicates the interface index. You can get the correct interface index based on ifIndex of ifTable. | 1.3.6.1.4.1.2011.5.25.143.1.54.1.1 | InterfaceIndex | INTEGER | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpStaticFrrProtectTimer | This object indicates the value of static FRR protect timer. Default: 10 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.54.1.11 | Integer32 (SIZE (5..30)) | Integer32{(5,30)} | read-create | obsolete | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpKeepAliveTimer | This object indicates the value of Keepalive timer. Default: 45 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.54.1.12 | Integer32 (SIZE (30..65535)) | Integer32{(30,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpIgpSyncTimer | This object indicates the value of IGP-Sync timer. By default, the timer is set to 10 seconds. Default: 10 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.54.1.13 | Integer32 (SIZE (0..65535)) | Integer32{(0,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpHelloTimer | This object indicates the value of Hello hold timer. By default, the value of the timer is 15 seconds. Default: 15 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.54.1.14 | Integer32 (SIZE (3..65535)) | Integer32{(3,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpTransportAddressIfIndex | This object indicates the way to specify the interface that the Transport Address is assigned to. Value: 0..2147483647 The default value of the object for the public interface is the interface that the LDP LSR ID is assigned to. If the LDP LSR ID is not assigned to any interface, then the value of the object is 0, and 0 cannot be set. The default value of the object for the private interface is the private interface itself. Based on mplsL3VpnIfConfRowStatus of mplsL3VpnIfConfTable, you can find which interface belongs to the VPN. The interface must be bound with the same VPN instance. | 1.3.6.1.4.1.2011.5.25.143.1.54.1.15 | InterfaceIndexOrZero | Integer32{(0,2147483647)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpKeepAliveSendTimer | This object indicates the value of LDP Keepalive send timer. Default: 0 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.54.1.16 | Integer32 (SIZE (0..65535)) | Integer32{(0,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpHelloSendTimer | This object indicates the value of LDP Hello send timer. Default: 0 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.54.1.17 | Integer32 (SIZE (0..65535)) | Integer32{(0,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpInterfaceLabelAdvertisementMode | This object indicates the label distribution mode. Options: 1. dod(1) -indicates that the label distribution mode is dod. 2. du(2) -indicates that the label distribution mode is du. Default: du | 1.3.6.1.4.1.2011.5.25.143.1.54.1.18 | INTEGER{dod(1),du(2)} | INTEGER{dod(1),du(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpInterfaceLocalLsrIdIfIndex | This object indicates the way to specify the interface that the local LDP LSR-ID based on interface is assigned to. Value: 0..2147483647 The default value of the object for the public interface is the interface that the global LDP LSR ID is assigned to. If the global LDP LSR ID is not assigned to any interface, then the value of the object is 0. If set 0, the value of the object will be the default value. The default value of the object for the private interface is the interface that the global LDP LSR ID of VPN Instance is assigned to. Based on mplsL3VpnIfConfRowStatus of mplsL3VpnIfConfTable, you can find which interface belongs to the VPN. The interface which the object specified must be bound with the same VPN instance with the interface which is configured. | 1.3.6.1.4.1.2011.5.25.143.1.54.1.19 | InterfaceIndexOrZero | Integer32{(0,2147483647)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpInterfaceRowStatus | This object indicates whether one entry of hwLdpInterfaceTable is created or destroyed. The value of this object can be CreatAndGo or Destroy. When the value of the object is set as CreatAndGo, and the entry is correctly created, the status of the object will change into active. | 1.3.6.1.4.1.2011.5.25.143.1.54.1.51 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpPeerGroupTable |  |  | This table is used to configure an LDP peer group. | 1.3.6.1.4.1.2011.5.25.143.1.58 | HwLdpPeerGroupEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwLdpPeerGroupEntry |  | An entry of this table. | 1.3.6.1.4.1.2011.5.25.143.1.58.1 | HwLdpPeerGroupEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGroupName | This object indicates the name of a peer group. | 1.3.6.1.4.1.2011.5.25.143.1.58.1.1 | OCTET STRING (SIZE (1..110)) | OCTET STRING{(1,110)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGroupOutBoundRange | This object indicates the range of IGP routes for an outbound policy. The default value is clear. If the object is set as ipprefix, the value of hwLdpPeerGroupOutBoundFecIpPrefix must be set together. Options: 1. clear(1) -This policy is disabled by default. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. 4. host(4) -The policy allows FECs only of host routes to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.58.1.11 | INTEGER{clear(1),none(2),ipprefix(3),host(4)} | INTEGER{clear(1),none(2),ipprefix(3),host(4)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGroupOutBoundFecIpPrefix | This object indicates the IP prefix list name of IGP routes for an outbound policy. If the object is set with a value, the value of hwLdpPeerGroupOutBoundRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.58.1.12 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGroupOutBoundBgpRange | This object indicates the range of BGP routes for an outbound policy. The default value is clear. If the object is set as ipprefix, the value of hwLdpPeerGroupOutBoundBgpIpPrefix must be set together. Options: 1. clear(1) -This policy is disabled by default. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.58.1.13 | INTEGER{clear(1),none(2),ipprefix(3)} | INTEGER{clear(1),none(2),ipprefix(3)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGroupOutBoundBgpIpPrefix | This object indicates the IP prefix list name of BGP routes for an outbound policy. If the object is set with a value, the value of hwLdpPeerGroupOutBoundBgpRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.58.1.14 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGroupInBoundRange | This object indicates the route range for an inbound policy. The default value is clear. If the object is set as ipprefix, the value of hwLdpPeerGroupInBoundIpPrefix must be set together. Options: 1. clear(1) -This policy is disabled by default. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. 4. host(4) -The policy allows FECs only of host routes to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.58.1.15 | INTEGER{clear(1),none(2),ipprefix(3),host(4)} | INTEGER{clear(1),none(2),ipprefix(3),host(4)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGroupInBoundIpPrefix | This object indicates the IP prefix list name of routes for an inbound policy. If the object is set with a value, the value of hwLdpPeerGroupInBoundRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.58.1.16 | OCTET STRING | OCTET STRING | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwLdpPeerGroupRowStatus | This object indicates whether one entry of hwLdpPolicyPeerGroupTable is created or destroyed. The value of this object is CreatAndGo or Destroy. When the value of the object is set to CreatAndGo, and the entry is correctly created, the status of the object will change into active. | 1.3.6.1.4.1.2011.5.25.143.1.58.1.51 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpOutBoundPolicyPeerAllRange |  |  | This object indicates the range of IGP routes for a global outbound LDP policy. The default value is all. If the object is set as ipprefix, the value of hwLdpOutBoundPolicyPeerAllFecIpPrefix must be set together. Options: 1. all(1) -The default policy allows all LDP peers. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. 4. host(4) -The policy allows FECs only of host routes to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.59 | INTEGER{all(1),none(2),ipprefix(3),host(4)} | INTEGER{all(1),none(2),ipprefix(3),host(4)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpOutBoundPolicyPeerAllFecIpPrefix |  |  | This object indicates the IP prefix list name of IGP routes for a global outbound LDP policy. The default value is NULL. If the object is set with a value, the value of hwLdpOutBoundPolicyPeerAllRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.60 | OCTET STRING | OCTET STRING | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpOutBoundPolicyPeerAllBgpRange |  |  | This object indicates the range of BGP routes for a global outbound LDP policy. The default value is all. If the object is set as ipprefix, the value of hwLdpOutBoundPolicyPeerAllBgpIpPrefix must be set together. Options: 1. all(1) -The default policy allows all LDP peers. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.61 | INTEGER{all(1),none(2),ipprefix(3)} | INTEGER{all(1),none(2),ipprefix(3)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpOutBoundPolicyPeerAllBgpIpPrefix |  |  | This object indicates the IP prefix list name of BGP routes for a global outbound LDP policy. The default value is NULL. If the object is set with a value, the value of hwLdpOutBoundPolicyPeerAllBgpRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.62 | OCTET STRING | OCTET STRING | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpInBoundPolicyPeerAllRange |  |  | This object indicates the range of routes for a global inbound LDP policy. The default value is all. If the object is set as ipprefix, the value of hwLdpInBoundPolicyPeerAllIpPrefix must be set together. Options: 1. all(1) -The default policy allows all LDP peers. 2. none(2) -The policy filters out all FECs. 3. ipprefix(3) -The policy allows FECs only in a specified IP prefix to pass through. 4. host(4) -The policy allows FECs only of host routes to pass through. | 1.3.6.1.4.1.2011.5.25.143.1.63 | INTEGER{all(1),none(2),ipprefix(3),host(4)} | INTEGER{all(1),none(2),ipprefix(3),host(4)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpInBoundPolicyPeerAllIpPrefix |  |  | This object indicates the IP prefix list name of routes for a global inbound LDP policy. The default value is NULL. If the object is set with a value, the value of hwLdpInBoundPolicyPeerAllRange must be set as ipprefix. | 1.3.6.1.4.1.2011.5.25.143.1.64 | OCTET STRING | OCTET STRING | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpGracefulDeleteCapability |  |  | This object indicates whether the LDP graceful-delete capability is enabled. | 1.3.6.1.4.1.2011.5.25.143.1.65 | EnabledStatus | INTEGER{enabled(1),disabled(2)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpGracefulDeleteTimer |  |  | The value of this object identifies the value of a graceful-delete timer. When the status of hwLdpGracefulDeleteCapability is enabled, the default value returned by the object is valid. Default: 5 Unit: seconds | 1.3.6.1.4.1.2011.5.25.143.1.66 | Integer32 (SIZE (1..65535)) | Integer32{(1,65535)} | read-write | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpLspDownReason |  |  | The LDP LSP down reason. Options: 1. other(1) -indicates other reasons. 2. session down(2) -indicates the ldp session went down. 3. route change(3) -indicates the route changed. 4. cannot recovery from GR(4) -indicates LSP cannot recovery from graceful-restart. 5. policy change(5) -indicates the policy changed. | 1.3.6.1.4.1.2011.5.25.143.1.67 | INTEGER{other(1),sessionDown(2),routeChange(3),canNotRecoveryFromGr(4),policyChange(5)} | INTEGER{other(1),sessionDown(2),routeChange(3),canNotRecoveryFromGr(4),policyChange(5)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpLspDownMplsLsrId |  |  | This object indicates the LSR ID of failed router. | 1.3.6.1.4.1.2011.5.25.143.1.68 | MplsLsrIdentifier | OCTET STRING{(16,16)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpLspDownOutIfIndex |  |  | This object indicates the outgoing interface index of the failed router. | 1.3.6.1.4.1.2011.5.25.143.1.69 | InterfaceIndex | INTEGER | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpLspDownOutIfMainIp |  |  | This object indicates the main ip address of the failed router's outgoing interface. | 1.3.6.1.4.1.2011.5.25.143.1.70 | IpAddress | IpAddress | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpLspDownOutIfState |  |  | The state of the failed router's outgoing interface. Options: 1. up(1) -indicates that the state of the outgoing interface is Up. 2. down(2) -indicates that the state of the outgoing interface is Down. | 1.3.6.1.4.1.2011.5.25.143.1.71 | INTEGER{up(1),down(2)} | INTEGER{up(1),down(2)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpLspDownDownstreamPeerLsrId |  |  | This object indicates the failed router's downstream peer's LSR ID. | 1.3.6.1.4.1.2011.5.25.143.1.72 | MplsLdpIdentifier | OCTET STRING{(6,6)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwLdpSessionStatistics |  |  |  | 1.3.6.1.4.1.2011.5.25.143.1.73 | [5 empty] | N |  | Consistent | [6 empty] | Y | Y |  |  | MPLS |  |  |  | N
|  |  |  | hwLdpLocalOperationalSessionNumber |  | This object indicates the number of local LDP operational sessions. | 1.3.6.1.4.1.2011.5.25.143.1.73.1 | Integer32 | Integer32 | read-only | current | SCALAR | N | 表示处于operational状态的LDP本地会话数量。 | Consistent | [6 empty] | Y | Y |  |  | MPLS |  |  |  | N
|  |  |  | hwLdpRemoteOperationalSessionNumber |  | This object indicates the number of remote LDP operational sessions. | 1.3.6.1.4.1.2011.5.25.143.1.73.2 | Integer32 | Integer32 | read-only | current | SCALAR | N | 表示处于operational状态的LDP远端会话数量。 | Consistent | [6 empty] | Y | Y |  |  | MPLS |  |  |  | N
|  |  |  | hwLdpLocalAndRemoteOperationalSessionNumber |  | This object indicates the number of local and remote LDP operational sessions. | 1.3.6.1.4.1.2011.5.25.143.1.73.3 | Integer32 | Integer32 | read-only | current | SCALAR | N | 表示处于operational状态的LDP本远共存会话的数量。 | Consistent | [6 empty] | Y | Y |  |  | MPLS |  |  |  | N
|  |  |  | hwLdpTotalOperationalSessionNumber |  | This object indicates the total number of LDP operational sessions. | 1.3.6.1.4.1.2011.5.25.143.1.73.4 | Integer32 | Integer32 | read-only | current | SCALAR | N | 表示处于operational状态的LDP会话总数。 | Consistent | [6 empty] | Y | Y |  |  | MPLS |  |  |  | N
|  |  | hwLdpMultiLinkCfgTable |  |  | This object indicates that MPLS LDP multi-link (include local and remote coexist) configurations are inconsistent. The index of this entry is hwMplsLdpVrfIndex,hwMplsLdpPeerLdpId,hwMplsLdpLocalLdpId,hwMplsLdpConfigIfIndex, hwMplsLdpConfigRemotePeerIP and hwMplsLdpConfigType. | 1.3.6.1.4.1.2011.5.25.143.1.74 | HwLdpMultiLinkCfgEntry |  | not-accessible | current |  | N | 含义：该表描述了接口的配置属性。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 | Consistent |  |  | Y |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: Entries in this table cannot be read. |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
|  |  |  | hwLdpMultiLinkCfgEntry |  | This object indicates that MPLS LDP multi-link (include local and remote coexist) configurations are inconsistent. The index of this entry is hwMplsLdpVrfIndex,hwMplsLdpPeerLdpId,hwMplsLdpLocalLdpId,hwMplsLdpConfigIfIndex, hwMplsLdpConfigRemotePeerIP and hwMplsLdpConfigType. | 1.3.6.1.4.1.2011.5.25.143.1.74.1 | HwLdpMultiLinkCfgEntry |  | not-accessible | current |  | N | 该节点表示MPLS LDP多链路（包括本地和远端共存）配置不一致。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpVrfIndex | This object indicates the vrfIndex. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.1 | Integer32 | Integer32 | not-accessible | current | COLUMNAR | Y | LDP实例索引。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpPeerLdpId | This object indicates the peer LDP ID. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.2 | MplsLdpIdentifier | OCTET STRING{(6,6)} | not-accessible | current | COLUMNAR | Y | LDP邻居标识。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpLocalLdpId | This object indicates the local LDP ID. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.3 | MplsLdpIdentifier | OCTET STRING{(6,6)} | not-accessible | current | COLUMNAR | Y | LDP本地标识。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpConfigIfIndex | This object indicates the inconsistent interface. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.4 | Integer32 | Integer32 | not-accessible | current | COLUMNAR | Y | 配置的LDP接口索引。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpConfigRemotePeerIP | This object indicates the rempte ip. Range: 1-32 characters | 1.3.6.1.4.1.2011.5.25.143.1.74.1.5 | InetAddress | OCTET STRING{(0,255)} | not-accessible | current | COLUMNAR | Y | 配置的远端邻居地址。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpConfigType | This object indicates the inconsistent configuration type. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.6 | OCTET STRING | OCTET STRING | not-accessible | current | COLUMNAR | Y | 配置类型。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpConsistentState | This object indicates the the state is inconsistent or consistent. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.7 | INTEGER{consistent(1),inconsistent(2)} | INTEGER{consistent(1),inconsistent(2)} | accessible-for-notify | current | COLUMNAR | N | LDP有效状态。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpEffectKeepAlive | This object indicates the value of effect keepalive time. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.8 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N | 生效的KA时间。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpEffectTransportAddr | This object indicates the value of effect transport address. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.9 | InetAddress | OCTET STRING{(0,255)} | accessible-for-notify | current | COLUMNAR | N | 生效的传输地址。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
[5 empty] | hwMplsLdpEffectLabelAdvertisementMode | This object indicates the value of effect label advertisement mode. | 1.3.6.1.4.1.2011.5.25.143.1.74.1.10 | OCTET STRING | OCTET STRING | accessible-for-notify | current | COLUMNAR | N | 生效的标签分发模式。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
|  |  | hwLdpPeerAddressTable |  |  | This object indicates that peer address count has exceeded the total count. The index of this entry is hwLdpPeerAddressLsrId and hwLdpPeerVrfIndex. | 1.3.6.1.4.1.2011.5.25.143.1.75 | HwLdpPeerAddressEntry |  | not-accessible | current |  | N | 含义：该表描述了接口地址告警属性。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 | Consistent |  |  | Y |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: Entries in this table cannot be read. |  | N | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwLdpPeerAddressEntry |  | This object indicates that peer address count has exceeded the total count. The index of this entry is hwLdpPeerAddressLsrId and hwLdpPeerVrfIndex. | 1.3.6.1.4.1.2011.5.25.143.1.75.1 | HwLdpPeerAddressEntry |  | not-accessible | current |  | N | 该节点表示Peer Address超限告警。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpPeerAddressLsrId | This object indicates peer LSR ID. | 1.3.6.1.4.1.2011.5.25.143.1.75.1.1 | MplsLdpIdentifier | OCTET STRING{(6,6)} | accessible-for-notify | current | COLUMNAR | Y | LDP邻居标识。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpPeerVrfIndex | This object indicates the vrfIndex. | 1.3.6.1.4.1.2011.5.25.143.1.75.1.2 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | Y | LDP实例索引。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpAddressTotalCount | The value of this object identifies the maximum number of peer address. | 1.3.6.1.4.1.2011.5.25.143.1.75.1.3 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N | 所支持的Address数量。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwLdpMappingTable |  |  | This object indicates that mapping count has exceeded the total count. The index of this entry is hwLdpMappingType and hwLdpVrfIndex. | 1.3.6.1.4.1.2011.5.25.143.1.76 | HwLdpMappingEntry |  | not-accessible | current |  | N | 含义：该表描述了Mapping数量告警属性。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 | Consistent |  |  | Y |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: Entries in this table cannot be read. |  | N | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwLdpMappingEntry |  | This object indicates that mapping count has exceeded the total count. The index of this entry is hwLdpMappingType and hwLdpVrfIndex. | 1.3.6.1.4.1.2011.5.25.143.1.76.1 | HwLdpMappingEntry |  | not-accessible | current |  | N | 该节点表示Mapping超限告警。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpMappingType | sent -Indicates that the sent mapping. received -Indicates that the received mapping. | 1.3.6.1.4.1.2011.5.25.143.1.76.1.1 | OCTET STRING | OCTET STRING | accessible-for-notify | current | COLUMNAR | Y | LDP Mapping类型。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpVrfIndex | This object indicates the vrfIndex. | 1.3.6.1.4.1.2011.5.25.143.1.76.1.2 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | Y | LDP实例索引。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpMappingTotalCount | The value of this object identifies the maximum number of mapping count. | 1.3.6.1.4.1.2011.5.25.143.1.76.1.3 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N | 所支持的Mapping数量。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwLdpLastLocalAdjDownTable |  |  | This object indicates that the last local adjacency in the local-and-remote LDP session went Down due to hello timeout. The index of this entry is hwLdpVrfName, hwLdpAdjPeerLsrId. | 1.3.6.1.4.1.2011.5.25.143.1.77 | HwLdpLastLocalAdjDownEntry |  | not-accessible | current |  | N | 含义：该表描述了本远共存LDP会话，最后一个Local邻接体超时down告警属性。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 | Consistent |  |  | Y |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: Entries in this table cannot be read. |  | N | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwLdpLastLocalAdjDownEntry |  | This object indicates that the last local adjacency in the local-and-remote LDP session went Down due to hello timeout. The index of this entry is hwLdpVrfName, hwLdpAdjPeerLsrId. | 1.3.6.1.4.1.2011.5.25.143.1.77.1 | HwLdpLastLocalAdjDownEntry |  | not-accessible | current |  | N | 该节点表示本远共存LDP会话，最后一个Local邻接体超时down告警。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpVrfName | This object indicates the VRF name. | 1.3.6.1.4.1.2011.5.25.143.1.77.1.1 | OCTET STRING | OCTET STRING | accessible-for-notify | current | COLUMNAR | Y | LDP实例名称。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpAdjPeerLsrId | This object indicates the LSR ID of the LDP peer. | 1.3.6.1.4.1.2011.5.25.143.1.77.1.2 | MplsLdpIdentifier | OCTET STRING{(6,6)} | accessible-for-notify | current | COLUMNAR | Y | 指明Peer的LSR ID。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwLdpInterfaceName | This object indicates the interface name. | 1.3.6.1.4.1.2011.5.25.143.1.77.1.3 | OCTET STRING | OCTET STRING | accessible-for-notify | current | COLUMNAR | N | LDP接口名称。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  | hwMplsLdpTrap |  |  |  |  | 1.3.6.1.4.1.2011.5.25.143.2 | [5 empty] | N |  | Consistent | [6 empty] | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
|  |  | hwMplsLdpSessionDown |  |  | When the trap indicating that a session is down is sent, the cause for the down LDP session is displayed. | 1.3.6.1.4.1.2011.5.25.143.2.1 |  |  |  | obsolete | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpLspDown |  |  | When the trap indicating that a session is down is sent, the cause for the down LSP session is displayed. | 1.3.6.1.4.1.2011.5.25.143.2.2 |  |  |  | obsolete | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpHostIngressLspDownClear |  |  | A trap is sent to clear the down trap of a specified FEC's ingress lsp. | 1.3.6.1.4.1.2011.5.25.143.2.3 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpHostIngressLspDown |  |  | A trap is sent when all the ingress lsp of a specified FEC went down. | 1.3.6.1.4.1.2011.5.25.143.2.4 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpMultiLinkCfgInconsistent |  |  | Indicates that MPLS LDP multi-link configurations are Inconsistent. | 1.3.6.1.4.1.2011.5.25.143.2.5 |  |  |  | current | TRAP | N | 表示MPLS LDP多链路配置不一致。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
|  |  | hwMplsLdpMultiLinkCfgInconsistentClear |  |  | Indicates that MPLS LDP multi-link configurations are consistent. | 1.3.6.1.4.1.2011.5.25.143.2.6 |  |  |  | current | TRAP | N | 表示MPLS LDP多链路配置是一致的。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | Y | PNF-FW
|  |  | hwMplsLdpPeerAddressCountExceed |  |  | Indicates that peer address count reaches the upper limit. | 1.3.6.1.4.1.2011.5.25.143.2.7 |  |  |  | current | TRAP | N | 表示MPLS LDP Address数量超限。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwMplsLdpPeerAddressCountExceedClear |  |  | Indicates that peer address count falls from the upper limit. | 1.3.6.1.4.1.2011.5.25.143.2.8 |  |  |  | current | TRAP | N | 表示MPLS LDP Address数量超限恢复。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwMplsLdpMappingCountExceed |  |  | Indicates that the number of LDP label mapping sent or received on the device exceeded the upper limit. | 1.3.6.1.4.1.2011.5.25.143.2.9 |  |  |  | current | TRAP | N | 表示MPLS LDP Mapping数量超限。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwMplsLdpMappingCountExceedClear |  |  | Indicates that the number of LDP label mapping sent or received on the device falls from the upper limit. | 1.3.6.1.4.1.2011.5.25.143.2.10 |  |  |  | current | TRAP | N | 表示MPLS LDP Mapping数量超限恢复。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwMplsLdpLastLocalAdjDown |  |  | The last local adjacency in the local-and-remote LDP session went Down due to hello timeout. | 1.3.6.1.4.1.2011.5.25.143.2.11 |  |  |  | current | TRAP | N | 表示本远共存LDP会话，最后一个Local邻接体超时。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwMplsLdpLastLocalAdjDownClear |  |  | A local adjacency is established, and the alarm is cleared. | 1.3.6.1.4.1.2011.5.25.143.2.12 |  |  |  | current | TRAP | N | 表示local邻接体建立，告警恢复。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  | hwMplsLdpConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.143.3 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpCompliances |  |  | The Compliance statement for systems supporting the HUAWEI-MPLSLDP-MIB. | 1.3.6.1.4.1.2011.5.25.143.3.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMplsLdpGroup |  |  |  | 1.3.6.1.4.1.2011.5.25.143.3.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpInfoGroup |  | Infomation about LDP LSP. | 1.3.6.1.4.1.2011.5.25.143.3.2.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpNotificationGroup |  | Notification information included in the mib. | 1.3.6.1.4.1.2011.5.25.143.3.2.2 |  |  |  | obsolete |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpLspDownNotificationGroup |  | No use. | 1.3.6.1.4.1.2011.5.25.143.3.2.3 |  |  |  | obsolete |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpGlobalGroup |  | Information about Ldp Global configuration. | 1.3.6.1.4.1.2011.5.25.143.3.2.4 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpVpnGlobalGroup |  | Information about Ldp Vpn configuration. | 1.3.6.1.4.1.2011.5.25.143.3.2.5 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpRemoteEntityGroup |  | Information about remote entity. | 1.3.6.1.4.1.2011.5.25.143.3.2.6 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpPeerGroup |  | Information about Ldp Peer. | 1.3.6.1.4.1.2011.5.25.143.3.2.7 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpVpnPeerGroup |  | Information about Ldp Vpn Peer. | 1.3.6.1.4.1.2011.5.25.143.3.2.8 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpInterfaceGroup |  | Information about Ldp interface capability. | 1.3.6.1.4.1.2011.5.25.143.3.2.9 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwLdpLspDownReasonGroup |  | Information about Ldp ingress Lsp down reason. | 1.3.6.1.4.1.2011.5.25.143.3.2.10 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpHostIngressLspDownNotificationGroup |  | Notification information included in the mib. | 1.3.6.1.4.1.2011.5.25.143.3.2.11 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwLdpPolicyPeerGroupGroup |  | Information about Ldp Policies of peer groups. | 1.3.6.1.4.1.2011.5.25.143.3.2.15 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpFrrProtectGroup |  | Information about Ldp FRR protect timer. | 1.3.6.1.4.1.2011.5.25.143.3.2.16 |  |  |  | obsolete |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpSessionStatisticsGroup |  | Information about Ldp Session Statistics. | 1.3.6.1.4.1.2011.5.25.143.3.2.17 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwMplsLdpMultiLinkCfgGroup |  | Information about MPLS LDP multi-link configurations. | 1.3.6.1.4.1.2011.5.25.143.3.2.18 |  |  |  | current |  | N | 该节点表示MPLS LDP多链路配置信息。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | N
|  |  |  | hwMplsLdpMultiLinkCfgNotificationGroup |  | Information about MPLS LDP multi-link configurations. | 1.3.6.1.4.1.2011.5.25.143.3.2.19 |  |  |  | current |  | N | 该节点表示MPLS LDP多链路配置信息。 | Consistent |  |  | Y |  |  |  | N | Y |  |  | MPLS |  |  |  | N
|  |  |  | hwMplsLdpPeerAddressGroup |  | Information about MPLS LDP peer address. | 1.3.6.1.4.1.2011.5.25.143.3.2.20 |  |  |  | current |  | N | 该节点表示MPLS LDP Address超限信息。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  |  | hwMplsLdpPeerAddressTotalCountNotificationGroup |  | Information about MPLS LDP peer address notification. | 1.3.6.1.4.1.2011.5.25.143.3.2.21 |  |  |  | current |  | N | 该节点表示MPLS LDP Address超限信息。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  |  | hwMplsLdpMappingCountGroup |  | Information about MPLS LDP mapping count. | 1.3.6.1.4.1.2011.5.25.143.3.2.22 |  |  |  | current |  | N | 该节点表示MPLS LDP Mapping超限信息。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  |  | hwMplsLdpMappingCountNotificationGroup |  | Information about MPLS LDP mapping count notification. | 1.3.6.1.4.1.2011.5.25.143.3.2.23 |  |  |  | current |  | N | 该节点表示MPLS LDP Mapping超限信息。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  |  | hwMplsLdpLastLocalAdjDownGroup |  | Information about MPLS LDP last local adjacency. | 1.3.6.1.4.1.2011.5.25.143.3.2.24 |  |  |  | current |  | N | 该节点表示本远共存LDP会话，最后一个Local邻接体超时down信息。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  |  | hwMplsLdpLastLocalAdjDownNotificationGroup |  | Information about MPLS LDP last local adjacency notification. | 1.3.6.1.4.1.2011.5.25.143.3.2.25 |  |  |  | current |  | N | 该节点表示本远共存LDP会话，最后一个Local邻接体超时down信息。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N