## MIB Manual(s)
Node Name | [5 empty] | Description | OID | syntax | syntax(device) | MAX-ACCESS | Status | Node Type | Index | chinese description 中文描述 | Realization is consistent with MIB definition? 实现是否和定义一致? | ACCESS realized 实际支持的访问权限 | syntax range realized 实际支持的取值范围 | lexicographic OID for Get-Next? 是否支持GET-NEXT OID字典序? | Remark(In Chinese) 备注(中文) | Remark(In English) 备注(英文) (资料填写 For TDC) | Default value 缺省值 | Is statistic node? 是否是统计节点? | Is VRP node? 是否是平台节点 | other manufacturer realization (only for public mib) 竞争对手实现(仅对公有MIB) | Vendor adapting node list 做了OSS对接的局点列表 | Ascription归属 | Is security? 是否涉及安全 | Module 归属资源包 | If-Feature 特性规格 | Products 支持的产品列表 | Products
PNF-FW
结点树由mib file自动生成，不能在此表中人工增加、修改或删除结点。 | [5 empty] | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 如果该列为空代表无效节点。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | 必须填写，节点的中文描述，对应【Description】的中文翻译。 1、对于节点：包括单节点，告警节点，表节点，对应【Description】的中文信息。填写样例： 该节点标识环的保护实例ID。 2、对于table：该列是描述该表的含义、作用；及表的各类约束。table填写格式与样例： 该表描述ERPS环配置信息。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 各类约束支持多产品定制，填写格式： 创建约束 value product1: value1 product2,product3: value2 | 必须填写，只可以选择下拉列表中的值（Consistent/ Inconsistent/Nonsupport）。 1、Consistent：标识设备上支持这个节点，设备上的实现完全和MIB定义完全一致。 2、Inconsistent：标识设备上支持这个节点，设备上的实现和MIB定义不一致。 ?a、如果是【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那就需要在【ACCESS realized 实际支持的访问权限】列填写设备实际支持的情况。 ?b、如果是【syntax】列取值范围，设备上的实现和MIB定义不一致，那就需要在【syntax range realized 实际支持的取值范围】列填写设备实际支持的情况。 ?c、如果是缺省值，设备上的实现和MIB定义不一致，那就需要在【Default value 缺省值】列 填写设备实际支持的情况。 ?d、其他情况，只要设备上的实现和MIB定义不一致，那就需要在【Remark(In Chinese) 备注(中文)】/【Remark(In English) 】列填写设备实际支持的情况。 3、Nonsupport：标识设备上不支持这个节点。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。该列值只可以填写下面列表中的值 not-accessible accessible-for-notify read-only read-write read-create 例如：MIB文件定义是read-write，而实际设备上是read-only，那么此处就要写明是read-only。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） 对于table，xxxxEntry对应该列填写N时，或【Index】 标识为Y的节点对应该列填写N时，标识该table不支持字典排序。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，除【MAX-ACCESS】和【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 | 【Remark(In Chinese) 备注(中文)】列对应英文翻译。 重要：对于table，该列承载table的含义、作用；及表各类约束。 table填写格式与样例： Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table can be read without restriction. 各类约束支持多产品定制，填写格式： Creation Restriction value product1: value1 product2,product3： value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，节点的缺省值在设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） | 必须填写，只可以选择下拉列表中的值（Y/N） |  |  | 节点归属必须在文件支持的归属范围内 | 只可以选择下拉列表中的值（Y/N） | MIB节点归属资源包，一个节点只能归于一个资源包 | If-Feature名称，父节点指定的feature对所有子节点生效。如果父节点已经指定了同名feature，子孙节点不用再重复指定。 | 只可以选择下拉列表中的值（Y/N），子节点只要有一个为Y，父节点必须为Y，如果子节点全部为N，父节点必须为N | 节点支持的产品合集，不支持导入修改
HUAWEI-RM-EXT-MIB
| hwRmExt |  |  |  |  | Version V2.35,addhwEvpnStickyMacConflict and hwEvpnStickyMacConflictClear. | 1.3.6.1.4.1.2011.5.25.145 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwRmExtObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.1 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwStaticRouteTable |  |  | The table is used for creating static routes. | 1.3.6.1.4.1.2011.5.25.145.1.1 | HwStaticRouteEntry |  | not-accessible | current |  | N | 含义：该表用来查询配置静态路由信息。 创建约束：无。 修改约束：无。 删除约束：无。 读取约束：无。 | Consistent |  |  |  |  | Creation Restriction: None. Modification Restriction: None. Deletion Restriction: None. Access Restriction: None. |  |  | Y | [6 empty] | N
|  |  |  | hwStaticRouteEntry |  | The table is used for creating static routes. | 1.3.6.1.4.1.2011.5.25.145.1.1.1 | HwStaticRouteEntry |  | not-accessible | current |  | N |  | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteSourceVpnName | This object indicates the name of a static route's source VPN. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.1 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | not-accessible | current | COLUMNAR | Y | 静态路由的源VPN名字。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteDestIpAddr | The destination IP address of this route. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.2 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y | 目的地址。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteDestMaskAddr | Indicate the mask of the destination address. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.3 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y | 目的地址掩码。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteDestVpnName | This object indicates the name of a destination VPN. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.4 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | not-accessible | current | COLUMNAR | Y | 目的VPN的名字。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteNextHop | The next hop of static routes. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.5 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y | 静态路由的下一跳地址。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteOutIfIndex | The out interface ifnet index of static routes. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.6 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y | 出接口索引。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteBfdName | This object indicates the name of a BFD session to which static routes are to be bound. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.7 | OCTET STRING (SIZE (0..64)) | OCTET STRING{(0,64)} | read-create | current | COLUMNAR | N | 联动BFD的会话名称。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRoutePrefer | The preference of static routes. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.8 | Integer32 (SIZE (1..255)) | Integer32{(1,255)} | read-create | current | COLUMNAR | N | 优先级。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteDescrip | The description of the static routes. | 1.3.6.1.4.1.2011.5.25.145.1.1.1.9 | OCTET STRING (SIZE (0..150)) | OCTET STRING{(0,150)} | read-create | current | COLUMNAR | N | 描述信息。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteRowStatus | Indicates the row status. Options: 1. active(1) -when this leaf is queried, the value is fixed to active(1) 2. createAndGo(4) -create a static route 3. destroy(6) -delete a static route | 1.3.6.1.4.1.2011.5.25.145.1.1.1.10 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N | 表示行状态。 选项：1.活动（1） - 查询此叶时，该值固定为活动（1）2. createAndGo（4） - 创建静态路由3. destroy（6） - 删除静态路由 | Consistent | [7 empty] | Y | [6 empty] | N
|  |  | hwRouteStatTable |  |  | This table shows the information, such as the syntax, description, access, and status, about various objects of hwIpv6RouteStatTable. | 1.3.6.1.4.1.2011.5.25.145.1.2 | HwRouteStatEntry |  | not-accessible | current |  | N | 含义：该表列出hwRouteStatTable各个节点的数据类型，含义以及实现规格和状态等信息。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表项支持直连、Static、OSPF、RIP、IS-IS、BGP六种协议的统计。 | Consistent |  |  |  |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: This table supports the statistics of 6 protocols, such as direct , Static, OSPF, RIP, IS-IS, and BGP. |  |  | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwRouteStatEntry |  | This entity is a route statistics table. | 1.3.6.1.4.1.2011.5.25.145.1.2.1 | HwRouteStatEntry |  | not-accessible | current |  | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwRouteStatVpnName | This object indicates the name of the IPv4 VPN instance to which a static route belongs. | 1.3.6.1.4.1.2011.5.25.145.1.2.1.1 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | not-accessible | current | COLUMNAR | Y | 静态路由所属的IPv4 VPN实例名称。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwRouteStatProtocolId | Specifies the protocol ID of the route. Options: 1. direct(1) -indicates the direct route 2. static(2) -indicates the static route 3. ospf(3) -indicates the OSPF route 4. isis(6) -indicates the IS-IS route 5. rip(7) -indicates the RIP route 6. bgp(8) -indicates the BGP route | 1.3.6.1.4.1.2011.5.25.145.1.2.1.2 | INTEGER{direct(1),static(2),ospf(3),isis(6),rip(7),bgp(8)} | INTEGER{direct(1),static(2),ospf(3),isis(6),rip(7),bgp(8)} | not-accessible | current | COLUMNAR | Y | 路由的协议号。分别有以下协议及对应的协议号。 1.direct(1)：表示直连路由。 2.static(2)：表示静态路由。 3.ospf(3)：表示OSPF路由。 4.isis(6)：表示ISIS路由。 5.rip(7)：表示RIP路由。 6.bgp(8)：表示BGP路由。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwRouteStatTotal | Total number of routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.2.1.3 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一种协议的路由总数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwRouteStatActive | Total number of active routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.2.1.4 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一种协议的活跃路由数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwRouteStatAdded | Total number of added routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.2.1.5 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一种协议增加的路由数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwRouteStatDeleted | Total number of deleted routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.2.1.6 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一种协议删除的路由数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwRouteStatFreed | Total number of released routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.2.1.7 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一种协议释放的路由数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6RouteStatTable |  |  | This entity is an IPv6 route statistics table. Supports the statistics of DIRECT/STATIC/BGP/OSPFv3/ISIS/RIPng routes. | 1.3.6.1.4.1.2011.5.25.145.1.3 | HwIpv6RouteStatEntry |  | not-accessible | current |  | N | 含义：该表列出hwIpv6RouteStatTable各个节点的数据类型，含义以及实现规格和状态等信息。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表项支持直连、Static、OSPF、RIP、IS-IS、BGP六种协议的统计。 | Consistent |  |  |  |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: This table supports the statistics of 6 protocols, such as direct , Static, OSPF, RIP, IS-IS, and BGP. |  |  | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwIpv6RouteStatEntry |  | This entity is an IPv6 route statistics table. Supports the statistics of DIRECT/STATIC/BGP/OSPFv3/ISIS/RIPng routes. | 1.3.6.1.4.1.2011.5.25.145.1.3.1 | HwIpv6RouteStatEntry |  | not-accessible | current |  | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwIpv6RouteStatVpnName | The name of the IPv6 VPN instance for static routes. | 1.3.6.1.4.1.2011.5.25.145.1.3.1.1 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | not-accessible | current | COLUMNAR | Y | 静态路由所属的IPv6 VPN实例名称。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwIpv6RouteStatProtocolId | Specifies the protocol ID of the route. Options: 1. direct(1) -indicates the IPv6 direct route 2. static(2) -indicates the IPv6 static route 3. ospf(3) -indicates the IPv6 OSPF route 4. isis(6) -indicates the IPv6 IS-IS route 5. rip(7) -indicates the IPv6 RIP route 6. bgp(8) -indicates the IPv6 BGP route | 1.3.6.1.4.1.2011.5.25.145.1.3.1.2 | INTEGER{direct(1),static(2),ospf(3),isis(6),rip(7),bgp(8)} | INTEGER{direct(1),static(2),ospf(3),isis(6),rip(7),bgp(8)} | not-accessible | current | COLUMNAR | Y | 路由的协议号。分别有以下协议及对应的协议号。 1.direct(1)：表示直连路由。 2.static(2)：表示静态路由。 3.ospf(3)：表示OSPF路由。 4.isis(6)：表示ISIS路由。 5.rip(7)：表示RIP路由。 6.bgp(8)：表示BGP路由。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwIpv6RouteStatTotal | Total number of routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.3.1.3 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一个协议的路由总数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwIpv6RouteStatActive | Total number of active routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.3.1.4 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一个协议的活跃路由数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwIpv6RouteStatAdded | Total number of added routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.3.1.5 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一个协议增加的路由数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwIpv6RouteStatDeleted | Total number of deleted routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.3.1.6 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一个协议删除的路由数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
[5 empty] | hwIpv6RouteStatFreed | Total number of released routes of a protocol. | 1.3.6.1.4.1.2011.5.25.145.1.3.1.7 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N | 一个协议释放的路由数。 | Consistent |  |  | Y |  |  |  |  | Y | [6 empty] | Y | PNF-FW
|  |  | hwStaticRouteExtTable |  |  | This entity is a static route table. Supports the create/destroy/modify/display operation on static routes and BFD session binding/unbinding with static routes. | 1.3.6.1.4.1.2011.5.25.145.1.4 | HwStaticRouteExtEntry |  | not-accessible | current |  | N | 含义：该表用来查询配置静态路由信息。 创建约束：无。 修改约束：无。 删除约束：无。 读取约束：无。 | Consistent |  |  |  |  | Creation Restriction: None. Modification Restriction: None. Deletion Restriction: None. Access Restriction: None. |  |  | Y | [6 empty] | N
|  |  |  | hwStaticRouteExtEntry |  | This entity is a static route table. Supports the create/destroy/modify/display operation on static routes and BFD session binding/unbinding with static routes. | 1.3.6.1.4.1.2011.5.25.145.1.4.1 | HwStaticRouteExtEntry |  | not-accessible | current |  | N |  | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteSourceVpnNameExt | The name of source VPN for static route. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.1 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | not-accessible | current | COLUMNAR | Y | 静态路由的源VPN名字。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteDestIpAddrExt | The destination IP address of this route. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.2 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y | 目的地址。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteDestMaskAddrExt | The mask of the destination address. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.3 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y | 掩码。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteNextHopExt | The next hop of static route. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.4 | IpAddress | IpAddress | not-accessible | current | COLUMNAR | Y | 静态路由的下一跳地址。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteOutIfIndexExt | The ifnet index of the outgoing interface of static route. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.5 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y | 出接口索引。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteDestVpnNameExt | The name of the destination VPN for gateway address. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.6 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | read-create | current | COLUMNAR | N | 目的VPN的名字。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteBfdNameExt | This object indicates the name of a BFD session to which static routes are to be bound. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.7 | OCTET STRING (SIZE (0..64)) | OCTET STRING{(0,64)} | read-create | current | COLUMNAR | N | 联动BFD的会话名称。 | Inconsistent |  | 0..64 | [5 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRoutePreferExt | The preference of static route. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.8 | Unsigned32 (SIZE (1..255)) | Unsigned32{(1,255)} | read-create | current | COLUMNAR | N | 优先级。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteDescripExt | The description of static route. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.9 | OCTET STRING (SIZE (0..150)) | OCTET STRING{(0,150)} | read-create | current | COLUMNAR | N | 描述信息。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteRowStatusExt | This object indicates the row status. | 1.3.6.1.4.1.2011.5.25.145.1.4.1.10 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N | 行状态。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRoutePermanentExt | Specifies the permanent-Advertising attribute of the static route: Options: 1. none(0) -indicates that the permanent-Advertising attribute is not specified 2. permanent(1) -indicates that the permanent-Advertising attribute is specified | 1.3.6.1.4.1.2011.5.25.145.1.4.1.11 | INTEGER{none(0),permanent(1)} | INTEGER{none(0),permanent(1)} | read-create | current | COLUMNAR | N | 指定静态路由的永久通告属性：选项：1.none(0) - 表示未指定永久通告属性2.permanent(1) - 指示指定了永久通告属性 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwStaticRouteLdpSyncExt | Specifies the LdpSync-Advertising attribute of the static route: Options: 1. none(0) -indicates that the LdpSync-Advertising attribute is not specified 2. ldpsync(1) -indicates that the LdpSync-Advertising attribute is specified | 1.3.6.1.4.1.2011.5.25.145.1.4.1.12 | INTEGER{none(0),ldpsync(1)} | INTEGER{none(0),ldpsync(1)} | read-create | current | COLUMNAR | N | 指定静态路由的LdpSync-Advertising属性：选项：1. none（0） - 表明未指定LdpSync-Advertising属性2. ldpsync（1） - 表明指定了LdpSync-Advertising属性。 | Consistent | [7 empty] | Y | [6 empty] | N
|  |  | hwIpv6StaticRouteTable |  |  | This entity is an IPv6 static route table. Supports the create/destroy/modify/display operation on Ipv6 static routes and BFD session binding/unbinding with static routes. | 1.3.6.1.4.1.2011.5.25.145.1.5 | HwIpv6StaticRouteEntry |  | not-accessible | current |  | N | 含义：该表用来查询配置Ipv6静态路由信息。 创建约束：无。 修改约束：无。 删除约束：无。 读取约束：无。 | Consistent |  |  |  |  | Creation Restriction: None. Modification Restriction: None. Deletion Restriction: None. Access Restriction: None. |  |  | Y | [6 empty] | N
|  |  |  | hwIpv6StaticRouteEntry |  | This entity is an IPv6 static route table. Supports the create/destroy/modify/display operation on Ipv6 static routes and BFD session binding/unbinding with static routes. | 1.3.6.1.4.1.2011.5.25.145.1.5.1 | HwIpv6StaticRouteEntry |  | not-accessible | current |  | N |  | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteSourceVpnName | The name of source VPN for IPv6 static route. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.1 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | not-accessible | current | COLUMNAR | Y | IPv6静态路由的源VPN名字。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteDestIpAddr | The destination IPv6 address of this route. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.2 | Ipv6Address | OCTET STRING{(16,16)} | not-accessible | current | COLUMNAR | Y | IPv6目的地址。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRoutePrefixLen | The mask length of the IPv6 address. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.3 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y | IPv6地址的掩码长度。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteNextHop | The next hop of an IPv6 static route. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.4 | Ipv6Address | OCTET STRING{(16,16)} | not-accessible | current | COLUMNAR | Y | IPv6静态路由的下一跳地址。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteOutIfIndex | The interface index of the outgoing interface of an IPv6 static route. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.5 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y | 出接口索引。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteDestVpnName | The name of the destination VPN for IPv6 static route. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.6 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | read-create | current | COLUMNAR | N | 目的VPN的名字。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteBfdName | The name of a BFD session to which IPv6 static routes are to be bound. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.7 | OCTET STRING (SIZE (0..64)) | OCTET STRING{(0,64)} | read-create | current | COLUMNAR | N | 联动BFD的会话名称。 | Inconsistent |  | 0..64 | [5 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteNqaAdminName | The admin name of a NQA to which IPv6 static routes are to be bound. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.8 | OCTET STRING (SIZE (0..32)) | OCTET STRING{(0,32)} | read-create | current | COLUMNAR | N | 联动NQA的NQA测试例的管理者。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteNqaTestName | The test name of a NQA to which IPv6 static routes are to be bound. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.9 | OCTET STRING (SIZE (0..32)) | OCTET STRING{(0,32)} | read-create | current | COLUMNAR | N | 联动NQA的NQA测试例的测试例名。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRoutePrefer | The preference of an IPv6 static route. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.10 | Unsigned32 (SIZE (1..255)) | Unsigned32{(1,255)} | read-create | current | COLUMNAR | N | 优先级。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteTag | The tag of an IPv6 static route. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.11 | Unsigned32 | Unsigned32 | read-create | current | COLUMNAR | N | 路由的标记。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteDescr | The description of an IPv6 static route. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.12 | OCTET STRING (SIZE (0..150)) | OCTET STRING{(0,150)} | read-create | current | COLUMNAR | N | 描述信息。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRouteRowStatus | This object indicates the row status. | 1.3.6.1.4.1.2011.5.25.145.1.5.1.13 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N | 行状态。 | Consistent | [7 empty] | Y | [6 empty] | N
[5 empty] | hwIpv6StaticRoutePermanent | Specifies the permanent-Advertising attribute of the static route: Options: 1. none(0) -indicates that the permanent-Advertising attribute is not specified 2. permanent(1) -indicates that the permanent-Advertising attribute is specified | 1.3.6.1.4.1.2011.5.25.145.1.5.1.14 | INTEGER{none(0),permanent(1)} | INTEGER{none(0),permanent(1)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwRmInfo |  |  |  | 1.3.6.1.4.1.2011.5.25.145.1.6 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwIpv4PrefixNum |  | Total number of IPv4 prefix. | 1.3.6.1.4.1.2011.5.25.145.1.6.1 | Unsigned32 | Unsigned32 | read-only | current | SCALAR | N | IPv4前缀总数 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwIpv6PrefixNum |  | Total number of IPv6 prefix. | 1.3.6.1.4.1.2011.5.25.145.1.6.2 | Unsigned32 | Unsigned32 | read-only | current | SCALAR | N | IPv6前缀总数 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwRmExtConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwRmExtCompliances |  |  |  | 1.3.6.1.4.1.2011.5.25.145.2.1 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwRmExtCompliance |  | The compliance statement for Route Management MIB. | 1.3.6.1.4.1.2011.5.25.145.2.1.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwRmExtGroups |  |  |  | 1.3.6.1.4.1.2011.5.25.145.2.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwStaticRouteGroup |  | Static routes table group. | 1.3.6.1.4.1.2011.5.25.145.2.2.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwRouteStatGroup |  | Route statistic table group. | 1.3.6.1.4.1.2011.5.25.145.2.2.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwIpv6RouteStatGroup |  | Route statistic table group. | 1.3.6.1.4.1.2011.5.25.145.2.2.3 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwStaticRouteExtGroup |  | Static route table group. | 1.3.6.1.4.1.2011.5.25.145.2.2.4 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwIpv6StaticRouteGroup |  | IPv6 static route table group. | 1.3.6.1.4.1.2011.5.25.145.2.2.5 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwRmInfoGroup |  | Route resource group. | 1.3.6.1.4.1.2011.5.25.145.2.2.6 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwTunnelExtObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.3 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwTnl2L3vpnTable |  |  | This object indicates the tunnel ID and L3VPN table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.1 | HwTnl2L3vpnEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnl2L3vpnEntry |  | This object indicates the tunnel ID and L3VPN table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.1.1 | HwTnl2L3vpnEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnTnlId | The object indicates the tunnel ID. | 1.3.6.1.4.1.2011.5.25.145.3.1.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVpnIndex | The object indicates the VRF index of a VPN. | 1.3.6.1.4.1.2011.5.25.145.3.1.1.2 | Unsigned32 (SIZE (0..4096)) | Unsigned32{(0,4096)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVpnName | The object indicates the VPN name. | 1.3.6.1.4.1.2011.5.25.145.3.1.1.3 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwTnl2VplsTable |  |  | The object indicates the tunnel ID and VPLS table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.2 | HwTnl2VplsEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnl2VplsEntry |  | The object indicates the tunnel ID and VPLS table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.2.1 | HwTnl2VplsEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVplsTnlId | The object indicates the tunnel ID. | 1.3.6.1.4.1.2011.5.25.145.3.2.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVplsVcId | The object indicates the VC ID of a VPLS. | 1.3.6.1.4.1.2011.5.25.145.3.2.1.2 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVsiIndex | The object indicates the VSI index of a VPLS. | 1.3.6.1.4.1.2011.5.25.145.3.2.1.3 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVsiId | The object indicates the VSI ID of a VPLS. | 1.3.6.1.4.1.2011.5.25.145.3.2.1.4 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVsiName | The object indicates the VSI name of a VPLS. | 1.3.6.1.4.1.2011.5.25.145.3.2.1.5 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVplsVcType | The object indicates the VC type of a VPLS. | 1.3.6.1.4.1.2011.5.25.145.3.2.1.6 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwVplsPeerIp | The object indicates the peer IP address of a VPLS. | 1.3.6.1.4.1.2011.5.25.145.3.2.1.7 | IpAddress | IpAddress | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwTnl2Pwe3VllTable |  |  | The object indicates the tunnel ID and PWE3/VLL table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.3 | HwTnl2Pwe3VllEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnl2Pwe3VllEntry |  | The object indicates the tunnel ID and PWE3/VLL table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.3.1 | HwTnl2Pwe3VllEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPwVllTnlId | The object indicates the tunnel ID. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwAcIndex | The object indicates the AC index of a PWE3. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.2 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPwVllIfName | The object indicates the interface name of a PWE3. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.3 | OCTET STRING (SIZE (1..64)) | OCTET STRING{(1,64)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMasterSlaveFlag | The object indicates the master and slave flags of a PWE3. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.4 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPwVllPeerIp | The object indicates the peer IP address of a PWE3. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.5 | IpAddress | IpAddress | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPwVllVcId | The object indicates the VC ID of a PWE3. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.6 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPwVllSvcFlag | This object indicates the type of a PWE3. Static PWs (1) Dynamic PWs (0) | 1.3.6.1.4.1.2011.5.25.145.3.3.1.7 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPwVcType | Specifies an indication of the L2Vpn's VC encapsulation type: Options: 1: frameRelayDlciMartini(1) -indicates that the encapsulation type is Frame Relay DLCI(Martini Mode). 2: atmAal5SduVccTransport(2) -indicates that the encapsulation type is ATM AAL5 SDU VCC transport. 3: atmTransparentCellTransport(3) -indicates that the encapsulation type is ATM transparent cell transport. 4: vlan(4) -indicates that the encapsulation type is Vlan. 5: ethernet(5) -indicates that the encapsulation type is Ethernet. 6: hdlc(6) -indicates that the encapsulation type is HDLC. 7: ppp(7) -indicates that the encapsulation type is PPP. 8: cem(8) -indicates that the encapsulation type is SONET/SDH Circuit Emulation Service Over MPLS(CEM). 9: atmN2OneVccCellTransport(9) -indicates that the encapsulation type is ATM n-to-one VCC cell transport. 10: atmN2OneVpcCellTransport(10) -indicates that the encapsulation type is ATM n-to-one VPC cell transport. 11: ipLayer2Transport(11) -indicates that the encapsulation type is IP Layer2 Transport. 12: atmOne2OneVccCellMode(12) -indicates that the encapsulation type is ATM one-to-one VCC Cell Mode. 13: atmOne2OneVpcCellMode(13) -indicates that the encapsulation type is ATM one-to-one VPC Cell Mode. 14: atmAal5PduVccTransport(14) -indicates that the encapsulation type is ATM AAL5 PDU VCC transport. 15: frameRelayPortMode(15) -indicates that the encapsulation type is Frame-Relay Port mode. 16: cep(16) -indicates that the encapsulation type is SONET/SDH Circuit Emulation over Packet (CEP). 17: saE1oP(17) -indicates that the encapsulation type is Structure-agnostic E1 over Packet (SAE1oP). 18: saT1oP(18) -indicates that the encapsulation type is Structure-agnostic T1 (DS1) over Packet (SAT1oP). 19: saE3oP(19) -indicates that the encapsulation type is Structure-agnostic E3 over Packet (SAE3oP). 20: saT3oP(20) -indicates that the encapsulation type is Structure-agnostic T3 (DS3) over Packet (SAT3oP). 21: cESoPsnBasicMode(21) -indicates that the encapsulation type is CESoPSN basic mode. 22: tDMoIPbasicMode(22) -indicates that the encapsulation type is TDMoIP basic mode. 23: l2VpnCESoPSNTDMwithCAS(23) -indicates that the encapsulation type is CESoPSN TDM with CAS. 24: l2VpnTDMoIPTDMwithCAS(24) -indicates that the encapsulation type is TDMoIP TDM with CAS. 25: frameRelayDlci(25) -indicates that the encapsulation type is Frame Relay DLCI. 26: ipInterworking(64) -indicates that the encapsulation type is IP-interworking. 27: unknown(255) -indicates the unknown encapsulation type. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.8 | INTEGER{frameRelayDlciMartini(1),atmAal5SduVccTransport(2),atmTransparentCellTransport(3),vlan(4),ethernet(5),hdlc(6),ppp(7),cem(8),atmN2OneVccCellTransport(9),atmN2OneVpcCellTransport(10),ipLayer2Transport(11),atmOne2OneVccCellMode(12),atmOne2OneVpcCellMode(13),atmAal5PduVccTransport(14),frameRelayPortMode(15),cep(16),saE1oP(17),saT1oP(18),saE3oP(19),saT3oP(20),cESoPsnBasicMode(21),tDMoIPbasicMode(22),l2VpnCESoPSNTDMwithCAS(23),l2VpnTDMoIPTDMwithCAS(24),frameRelayDlci(25),ipInterworking(64),unknown(255)} | INTEGER{frameRelayDlciMartini(1),atmAal5SduVccTransport(2),atmTransparentCellTransport(3),vlan(4),ethernet(5),hdlc(6),ppp(7),cem(8),atmN2OneVccCellTransport(9),atmN2OneVpcCellTransport(10),ipLayer2Transport(11),atmOne2OneVccCellMode(12),atmOne2OneVpcCellMode(13),atmAal5PduVccTransport(14),frameRelayPortMode(15),cep(16),saE1oP(17),saT1oP(18),saE3oP(19),saT3oP(20),cESoPsnBasicMode(21),tDMoIPbasicMode(22),l2VpnCESoPSNTDMwithCAS(23),l2VpnTDMoIPTDMwithCAS(24),frameRelayDlci(25),ipInterworking(64),unknown(255)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwSvcReceiveLabel | This object indicates the inbound label. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.9 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwSvcTransmitLabel | This object indicates the outbound label. | 1.3.6.1.4.1.2011.5.25.145.3.3.1.10 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwTnlIf2TnlIdTable |  |  | This object indicates the tunnel interface and tunnel ID table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.4 | HwTnlIf2TnlIdEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnlIf2TnlIdEntry |  | This object indicates the tunnel interface and tunnel ID table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.4.1 | HwTnlIf2TnlIdEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwTunnelIf | The object indicates the tunnel interface name. | 1.3.6.1.4.1.2011.5.25.145.3.4.1.1 | OCTET STRING (SIZE (1..64)) | OCTET STRING{(1,64)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwTunnelId | The object indicates the tunnel ID. | 1.3.6.1.4.1.2011.5.25.145.3.4.1.2 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwTnl2MultiHopPwe3Table |  |  | This object indicates the tunnel ID and Multi-hop PWE3 table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.5 | HwTnl2MultiHopPwe3Entry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnl2MultiHopPwe3Entry |  | This object indicates the tunnel ID and Multi-hop PWE3 table of this entity. | 1.3.6.1.4.1.2011.5.25.145.3.5.1 | HwTnl2MultiHopPwe3Entry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMultiHopPwe3TnlId | The object indicates the tunnel ID. | 1.3.6.1.4.1.2011.5.25.145.3.5.1.1 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMultiHopPwe3VcType | The object indicates the VC type of a Multi-hop PWE3. | 1.3.6.1.4.1.2011.5.25.145.3.5.1.2 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMultiHopPwe3VcId | The object indicates the VC ID of a Multi-hop PWE3. | 1.3.6.1.4.1.2011.5.25.145.3.5.1.3 | Unsigned32 | Unsigned32 | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwMultiHopPwe3PeerIp | The object indicates the peer IP address of a Multi-hop PWE3. | 1.3.6.1.4.1.2011.5.25.145.3.5.1.4 | IpAddress | IpAddress | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwTunnelExtConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.4 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwTunnelExtCompliances |  |  |  | 1.3.6.1.4.1.2011.5.25.145.4.1 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTunnelExtCompliance |  | The object indicates the compliance statement for route management MIB. | 1.3.6.1.4.1.2011.5.25.145.4.1.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwTunnelExtGroups |  |  |  | 1.3.6.1.4.1.2011.5.25.145.4.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnl2L3vpnGroup |  | The object indicates the tunnel ID and L3VPN table group. | 1.3.6.1.4.1.2011.5.25.145.4.2.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnl2VplsGroup |  | The object indicates the tunnel ID and VPLS table group. | 1.3.6.1.4.1.2011.5.25.145.4.2.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnl2Pwe3VllGroup |  | The object indicates the tunnel ID and PWE3/VLL table group. | 1.3.6.1.4.1.2011.5.25.145.4.2.3 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnlIf2TnlIdGroup |  | The object indicates the tunnel interface name and tunnel ID table group. | 1.3.6.1.4.1.2011.5.25.145.4.2.4 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwTnl2MultiHopPwe3Group |  | The object indicates the tunnel ID and Multi-hop PWE3 table group. | 1.3.6.1.4.1.2011.5.25.145.4.2.5 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwTnlGroupTrapObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.5 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwTnlDestination |  |  | The destination of the tunnel group. | 1.3.6.1.4.1.2011.5.25.145.5.1 | IpAddress | IpAddress | accessible-for-notify | current | SCALAR | N | 隧道组目的地址。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwTnlPolicy |  |  | Tunnel policy name. | 1.3.6.1.4.1.2011.5.25.145.5.2 | OCTET STRING (SIZE (1..39)) | OCTET STRING{(1,39)} | accessible-for-notify | current | SCALAR | N | 隧道策略。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwStaticVpnName |  |  | The name of VPN instance. | 1.3.6.1.4.1.2011.5.25.145.5.3 | OCTET STRING (SIZE (1..31)) | OCTET STRING{(1,31)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMasterIfType |  |  | Master path out interface type. | 1.3.6.1.4.1.2011.5.25.145.5.4 | INTEGER{uniinterface(1),tunnelgroup(2),tunnel(3)} | INTEGER{uniinterface(1),tunnelgroup(2),tunnel(3)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMasterName |  |  | The name of the master interface. | 1.3.6.1.4.1.2011.5.25.145.5.5 | OCTET STRING (SIZE (1..64)) | OCTET STRING{(1,64)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwMasterNHIP |  |  | Next hop ip or peer ip. | 1.3.6.1.4.1.2011.5.25.145.5.6 | IpAddress | IpAddress | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwBackupIfType |  |  | Backup path out interface type. | 1.3.6.1.4.1.2011.5.25.145.5.7 | INTEGER{uniinterface(1),tunnelgroup(2),tunnel(3)} | INTEGER{uniinterface(1),tunnelgroup(2),tunnel(3)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwBackupName |  |  | The name of the backup interface. | 1.3.6.1.4.1.2011.5.25.145.5.8 | OCTET STRING (SIZE (1..64)) | OCTET STRING{(1,64)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwBackupNHIP |  |  | The next hop of the backup. | 1.3.6.1.4.1.2011.5.25.145.5.9 | IpAddress | IpAddress | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwChnlFlag |  |  | The breakdown channel. | 1.3.6.1.4.1.2011.5.25.145.5.10 | INTEGER{masterdown(0),backupdown(1)} | INTEGER{masterdown(0),backupdown(1)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwFrrType |  |  | FRR type. | 1.3.6.1.4.1.2011.5.25.145.5.11 | INTEGER{ipfrr(1),vpnfrr(2),mixfrr(3)} | INTEGER{ipfrr(1),vpnfrr(2),mixfrr(3)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | subscribeTunnelMaxCount |  |  | The max number of subscribe tunnel. | 1.3.6.1.4.1.2011.5.25.145.5.12 | Unsigned32 | Unsigned32 | read-only | current | SCALAR | N | 当前允许订阅的最大隧道数量。 | Inconsistent | accessible-for-notify |  |  | 当前该节点仅作为告警的VB绑定变量使用。 | This object is used only as an alarm variable to be bound in VB. |  |  | Y | [6 empty] | Y | PNF-FW
|  | hwTnlGroupTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.6 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | N
|  |  | hwTunnelGroupUp |  |  | The hwTunnelGroupUp alarm is reported when one or multiple tunnels in a tunnel group recover from a fault. | 1.3.6.1.4.1.2011.5.25.145.6.1 |  |  |  | current | TRAP | N | 当隧道组有一条和多条隧道故障恢复了，发送hwTunnelGroupUp告警。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwTunnelGroupDown |  |  | The hwTunnelGroupDown alarm is generated if all tunnels in a tunnel group are faulty. | 1.3.6.1.4.1.2011.5.25.145.6.2 |  |  |  | current | TRAP | N | 当隧道组中所有隧道都发生故障了，发送hwTunnelGroupDown告警。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwStaticFrrDegraded |  |  | FRR degraded alarm. | 1.3.6.1.4.1.2011.5.25.145.6.3 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwStaticFrrDegradedClear |  |  | The FRR instance has been deleted or the breakdown channel recovered. | 1.3.6.1.4.1.2011.5.25.145.6.4 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwStaticFrrOutage |  |  | FRR outage alarm. | 1.3.6.1.4.1.2011.5.25.145.6.5 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwStaticFrrOutageClear |  |  | The FRR instance has been deleted or the breakdown channel recovered. | 1.3.6.1.4.1.2011.5.25.145.6.6 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwStaticFrrSwitch |  |  | FRR switched alarm. | 1.3.6.1.4.1.2011.5.25.145.6.7 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwStaticFrrSwitchClear |  |  | FRR switched alarm end. | 1.3.6.1.4.1.2011.5.25.145.6.8 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwTunnelSubExceed |  |  | The hwTunnelSubExceed alarm is reported when the number of tunnel subscriptions reaches the limit. | 1.3.6.1.4.1.2011.5.25.145.6.9 |  |  |  | current | TRAP | N | 当订阅隧道达到最大值时，发送hwTunnelSubExceed告警。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwTunnelSubExceedClear |  |  | The hwTunnelSubExceedClear alarm is generated if the number of tunnel subscriptions is less than the limit. | 1.3.6.1.4.1.2011.5.25.145.6.10 |  |  |  | current | TRAP | N | 当订阅的隧道数量恢复到最大值以下时，发送hwTunnelSubExceedClear告警。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwTnlGroupTrapConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.7 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwTnlGroupNotificationGroup |  |  | The object indicates the Up/Down state of the tunnel group. | 1.3.6.1.4.1.2011.5.25.145.7.1 |  |  |  | current |  | N | 表示隧道组状态。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwTnlGroupObjectGroup |  |  | The object indicates the compliance statement for tunnel group trap. | 1.3.6.1.4.1.2011.5.25.145.7.2 |  |  |  | current |  | N | 表示隧道组声明信息。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv4PrefixLimitTrapObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.8 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwCurIpv4PrefixNum |  |  | This object indicates the current number of IPv4 prefix. | 1.3.6.1.4.1.2011.5.25.145.8.1 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 当前IPv4前缀数量。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixLimitValue |  |  | This object indicates the maximum number of IPv4 prefix can be added. | 1.3.6.1.4.1.2011.5.25.145.8.2 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | IPv4前缀数最大值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixLowerLimitValue |  |  | This object indicates the lower threshold of IPv4 prefixes can be added. | 1.3.6.1.4.1.2011.5.25.145.8.3 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | IPv4前缀数阈值下限。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixUpperLimitValue |  |  | This object indicates the upper threshold of IPv4 prefixes can be added. | 1.3.6.1.4.1.2011.5.25.145.8.4 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | IPv4前缀数阈值上限。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv6PrefixLimitTrapObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.9 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwCurIpv6PrefixNum |  |  | This object indicates the number of existing IPv6 prefixes. | 1.3.6.1.4.1.2011.5.25.145.9.1 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 当前IPv6前缀数量。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixLimitValue |  |  | This object indicates the maximum number of IPv6 prefixes that are supported. | 1.3.6.1.4.1.2011.5.25.145.9.2 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | IPv6前缀数最大值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixLimitVpnName |  |  | The name of the IPv6 VPN instance for prefix limit. | 1.3.6.1.4.1.2011.5.25.145.9.3 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | accessible-for-notify | current | SCALAR | N | 前缀数限制的IPv6 VPN实例名称 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixLowerLimitValue |  |  | This object indicates the lower threshold of IPv6 prefixes that are supported. | 1.3.6.1.4.1.2011.5.25.145.9.4 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | IPv6前缀数阈值下限。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixUpperLimitValue |  |  | This object indicates the upper threshold of IPv6 prefixes that are supported. | 1.3.6.1.4.1.2011.5.25.145.9.5 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | IPv6前缀数阈值上限。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv4PrefixLimitTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.10 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixExceed |  |  | The number of IPv4 route prefixes on the device exceeds the alarm threshold. | 1.3.6.1.4.1.2011.5.25.145.10.1 |  |  |  | current | TRAP | N | 整机IPv4路由前缀数量超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixExceedClear |  |  | The number of IPv4 route prefixes on the device falls below the alarm threshold. | 1.3.6.1.4.1.2011.5.25.145.10.2 |  |  |  | current | TRAP | N | 整机IPv4路由前缀数量降到阈值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixThresholdExceed |  |  | A trap is sent when the number of IPv4 prefixes exceeded the threshold. | 1.3.6.1.4.1.2011.5.25.145.10.3 |  |  |  | current | TRAP | N | IPv4前缀数超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixThresholdExceedClear |  |  | A trap is sent when the number of IPv4 prefixes falls below the threshold. | 1.3.6.1.4.1.2011.5.25.145.10.4 |  |  |  | current | TRAP | N | IPv4前缀数量降到阈值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv6PrefixLimitTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.11 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixExceed |  |  | The number of IPv6 route prefixes on the device exceeds the alarm threshold. | 1.3.6.1.4.1.2011.5.25.145.11.1 |  |  |  | current | TRAP | N | 整机IPv6路由前缀数量超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixExceedClear |  |  | The number of IPv6 route prefixes on the device falls below the alarm threshold. | 1.3.6.1.4.1.2011.5.25.145.11.2 |  |  |  | current | TRAP | N | 整机IPv6路由前缀数量降到阈值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixThresholdExceed |  |  | A trap is sent when the number of IPv6 prefixes exceeded the threshold. | 1.3.6.1.4.1.2011.5.25.145.11.3 |  |  |  | current | TRAP | N | IPv6前缀数超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixThresholdExceedClear |  |  | A trap is sent when the number of IPv6 prefixes falls below the threshold. | 1.3.6.1.4.1.2011.5.25.145.11.4 |  |  |  | current | TRAP | N | IPv6前缀数量降到阈值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv4PrefixLimitConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.12 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixLimitNotificationGroup |  |  | The object indicates alarm of ipv4 prefixs. | 1.3.6.1.4.1.2011.5.25.145.12.1 |  |  |  | current |  | N | IPv4前缀告警。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4PrefixLimitObjectGroup |  |  | The object indicates the number of ipv4 prefixs. | 1.3.6.1.4.1.2011.5.25.145.12.2 |  |  |  | current |  | N | IPv4前缀数量。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv6PrefixLimitConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.13 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixLimitNotificationGroup |  |  | The object indicates alarm of ipv4 prefixs. | 1.3.6.1.4.1.2011.5.25.145.13.1 |  |  |  | current |  | N | IPv6前缀告警。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6PrefixLimitObjectGroup |  |  | The object indicates the number of ipv6 prefixs. | 1.3.6.1.4.1.2011.5.25.145.13.2 |  |  |  | current |  | N | IPv6前缀数量。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwRmGresmTokenObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.14 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwGresmTokenTable |  |  | Gresm token table. | 1.3.6.1.4.1.2011.5.25.145.14.1 | HwGresmTokenEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwGresmTokenEntry |  | Gresm token table. | 1.3.6.1.4.1.2011.5.25.145.14.1.1 | HwGresmTokenEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwGresmTokenMode | Specifies the aolloc mode of token. Options: 1. global1(1) -indicates that the global table 1 2. global2(2) -indicates that the global table 2 3. global3(3) -indicates that the global table 3 4. global4(4) -indicates that the global table 4 5. perborad(5) -indicates that the per borad | 1.3.6.1.4.1.2011.5.25.145.14.1.1.1 | INTEGER{global1(1),global2(2),global3(3),global4(4),perborad(5)} | INTEGER{global1(1),global2(2),global3(3),global4(4),perborad(5)} | accessible-for-notify | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwGresmTokenUsedNum | The object identifies the number of tokens used currently. | 1.3.6.1.4.1.2011.5.25.145.14.1.1.2 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwGresmTokenMaxValue | This object indicates the max value of Token | 1.3.6.1.4.1.2011.5.25.145.14.1.1.3 | Integer32 | Integer32 | accessible-for-notify | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwGresmTokenTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.15 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwGresmTokenExceed |  |  | The token count reaches the upper limit. | 1.3.6.1.4.1.2011.5.25.145.15.1 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwGresmTokenExceedClear |  |  | The token count falls from the upper limit. | 1.3.6.1.4.1.2011.5.25.145.15.2 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwGresmTokenThresholdExceed |  |  | The token usage exceeds the threshold. | 1.3.6.1.4.1.2011.5.25.145.15.3 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwGresmTokenThresholdExceedClear |  |  | The token usage falls from the threshold. | 1.3.6.1.4.1.2011.5.25.145.15.4 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwGresmTokenTrapConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.16 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwGresmTokenNotificationGroup |  |  | The object indicates alarm of Token. | 1.3.6.1.4.1.2011.5.25.145.16.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwGresmTokenGroup |  |  | A collection of objects for Token alarm. | 1.3.6.1.4.1.2011.5.25.145.16.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwRmExtRouteObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.17 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwRmExtRouteTrapObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.18 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwRmExtRouteTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.19 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwPublicIpv4PrefixLimitTraps |  |  |  | 1.3.6.1.4.1.2011.5.25.145.19.1 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwPublicIpv4PrefixExceed |  | This object indicates that the public IPv4 prefixes has exceeded the maximum value. | 1.3.6.1.4.1.2011.5.25.145.19.1.1 |  |  |  | current | TRAP | N | 公网IPv4前缀数量超过了最大值。 | Consistent | [7 empty] | Y | [6 empty] | N
|  |  |  | hwPublicIpv4PrefixExceedClear |  | This object indicates that the public IPv4 prefixes have resumed from exceeding the maximum vlaue. | 1.3.6.1.4.1.2011.5.25.145.19.1.2 |  |  |  | current | TRAP | N | 公网IPv4前缀数量降低到了最大值以下。 | Consistent | [7 empty] | Y | [6 empty] | N
|  |  |  | hwPublicIpv4PrefixThresholdExceed |  | This object indicates that the public IPv4 prefixes has exceeded the threshold. | 1.3.6.1.4.1.2011.5.25.145.19.1.3 |  |  |  | current | TRAP | N | 公网IPv4前缀数量超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | N
|  |  |  | hwPublicIpv4PrefixThresholdExceedClear |  | This object indicates that the public IPv4 prefixes have resumed from exceeding the threshold. | 1.3.6.1.4.1.2011.5.25.145.19.1.4 |  |  |  | current | TRAP | N | 公网IPv4前缀数量降低到了阈值以下。 | Consistent | [7 empty] | Y | [6 empty] | N
|  |  | hwPublicIpv6PrefixLimitTraps |  |  |  | 1.3.6.1.4.1.2011.5.25.145.19.2 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwPublicIpv6PrefixExceed |  | This object indicates that the public IPv6 prefixes has exceeded the maximum value. | 1.3.6.1.4.1.2011.5.25.145.19.2.1 |  |  |  | current | TRAP | N | 公网IPv6前缀数量超过了最大值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwPublicIpv6PrefixExceedClear |  | This object indicates that the public IPv6 prefixes have resumed from exceeding the maximum vlaue. | 1.3.6.1.4.1.2011.5.25.145.19.2.2 |  |  |  | current | TRAP | N | 公网IPv6前缀数量降低到了最大值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwPublicIpv6PrefixThresholdExceed |  | This object indicates that the public IPv6 prefixes has exceeded the threshold. | 1.3.6.1.4.1.2011.5.25.145.19.2.3 |  |  |  | current | TRAP | N | 公网IPv6前缀数量超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwPublicIpv6PrefixThresholdExceedClear |  | This object indicates that the public IPv6 prefixes have resumed from exceeding the threshold. | 1.3.6.1.4.1.2011.5.25.145.19.2.4 |  |  |  | current | TRAP | N | 公网IPv6前缀数量降低到了阈值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwL3vpnIpv6PrefixLimitTraps |  |  |  | 1.3.6.1.4.1.2011.5.25.145.19.3 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwL3vpnIpv6PrefixExceed |  | This object indicates that the vpn instance IPv6 prefixes has exceeded the maximum vlaue. | 1.3.6.1.4.1.2011.5.25.145.19.3.1 |  |  |  | current | TRAP | N | 私网IPv6前缀数量超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwL3vpnIpv6PrefixExceedClear |  | This object indicates that the vpn instance IPv6 prefixes have resumed from exceeding the maximum value. | 1.3.6.1.4.1.2011.5.25.145.19.3.2 |  |  |  | current | TRAP | N | 私网IPv6前缀数量降低到了最大值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  |  | hwL3vpnIpv6PrefixThresholdExceed |  | This object indicates that the vpn instance IPv6 prefixes has exceeded the threshold. | 1.3.6.1.4.1.2011.5.25.145.19.3.3 |  |  |  | current | TRAP | N | 私网IPv6前缀数量超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwRmExtRouteConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.20 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwRmExtRouteCompliances |  |  | The compliance statement for HUAWEI-RM-EXT-MIB. | 1.3.6.1.4.1.2011.5.25.145.20.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwRmExtRouteGroup |  |  |  | 1.3.6.1.4.1.2011.5.25.145.20.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwPublicIpv4PrefixLimitGroup |  |  | 1.3.6.1.4.1.2011.5.25.145.20.2.1 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPublicIpv4PrefixLimitNotificationGroup | The object indicates alarm of public ipv4 prefixs. | 1.3.6.1.4.1.2011.5.25.145.20.2.1.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPublicIpv4PrefixLimitObjectGroup | The object indicates the number of ipv4 prefixs. | 1.3.6.1.4.1.2011.5.25.145.20.2.1.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwPublicIpv6PrefixLimitGroup |  |  | 1.3.6.1.4.1.2011.5.25.145.20.2.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPublicIpv6PrefixLimitNotificationGroup | The object indicates alarm of ipv6 prefixs. | 1.3.6.1.4.1.2011.5.25.145.20.2.2.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwPublicIpv6PrefixLimitObjectGroup | The object indicates the number of ipv6 prefixs. | 1.3.6.1.4.1.2011.5.25.145.20.2.2.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | hwL3vpnIpv6PrefixLimitGroup |  |  | 1.3.6.1.4.1.2011.5.25.145.20.2.3 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnIpv6PrefixLimitNotificationGroup | The object indicates alarm of ipv6 VPN instance prefixs. | 1.3.6.1.4.1.2011.5.25.145.20.2.3.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | hwL3vpnIpv6PrefixLimitObjectGroup | The object indicates the number of ipv6 VPN instance prefixs. | 1.3.6.1.4.1.2011.5.25.145.20.2.3.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwEvpnMacObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.21 | [5 empty] | N |  | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwMacLimitEvpnName |  |  | The name of the EVPN instance for MAC limit. | 1.3.6.1.4.1.2011.5.25.145.21.1 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | accessible-for-notify | current | SCALAR | N | 配置MAC地址数量限制的EVPN实例名称。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwCurMacNum |  |  | This object indicates the current number of MAC addresses of the EVPN instance. | 1.3.6.1.4.1.2011.5.25.145.21.2 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 当前EVPN实例下的MAC地址数。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacUpperLimitValue |  |  | This object indicates the upper limit value of MAC addresses of the EVPN instance. | 1.3.6.1.4.1.2011.5.25.145.21.3 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | EVPN实例中MAC地址阈值告警的阈值。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacLowerLimitValue |  |  | This object indicates the lower limit value of MAC addresses of the EVPN instance. | 1.3.6.1.4.1.2011.5.25.145.21.4 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | EVPN实例中MAC地址阈值清除告警的阈值。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacLimitValue |  |  | This object indicates the max value of MAC addresses of the EVPN instance. | 1.3.6.1.4.1.2011.5.25.145.21.5 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | EVPN实例中MAC地址数量的最大值。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  | hwEvpnMacLimitTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.22 | [5 empty] | N |  | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacExceed |  |  | This object indicates that the number of MAC addresses of the EVPN instance has exceeded the maximum value. | 1.3.6.1.4.1.2011.5.25.145.22.1 |  |  |  | current | TRAP | N | EVPN实例中的MAC数量超过最大值。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacExceedClear |  |  | This object indicates that the number of MAC addresses of the EVPN instance has resumed from exceeding the maximum value. | 1.3.6.1.4.1.2011.5.25.145.22.2 |  |  |  | current | TRAP | N | EVPN实例中的MAC数量降到最大值以下。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacThresholdExceed |  |  | This object indicates that the number of MAC addresses of the EVPN instance has exceeded the threshold value. | 1.3.6.1.4.1.2011.5.25.145.22.3 |  |  |  | current | TRAP | N | EVPN实例中的MAC数量超过阈值上限。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacThresholdExceedClear |  |  | This object indicates that the number of MAC addresses of the EVPN instance has resumed from exceeding the threshold value. | 1.3.6.1.4.1.2011.5.25.145.22.4 |  |  |  | current | TRAP | N | EVPN实例中的MAC数量降到阈值下限以下。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  | hwEvpnMacLimitConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.23 | [5 empty] | N |  | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacLimitNotificationGroup |  |  | The object indicates the alarm of MAC addresses of the EVPN instance. | 1.3.6.1.4.1.2011.5.25.145.23.1 |  |  |  | current |  | N | EVPN实例的MAC地址告警。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnMacLimitObjectGroup |  |  | The object indicates the number of MAC addresses of the EVPN instance. | 1.3.6.1.4.1.2011.5.25.145.23.2 |  |  |  | current |  | N | EVPN实例的MAC地址数量。 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  | hwNhmRestrainObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.24 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwNhmRestrainType |  |  | The value of this object identifies the type of cyclic iteration that is suppressed. | 1.3.6.1.4.1.2011.5.25.145.24.1 | INTEGER{routerelay(1),tunnelrelay(2),ipv6routerelay(3)} | INTEGER{routerelay(1),tunnelrelay(2),ipv6routerelay(3)} | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwNhmRestrainKey |  |  | The value of this object identifies the key of cyclic iteration that is suppressed. | 1.3.6.1.4.1.2011.5.25.145.24.2 | Integer32 | Integer32 | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwNhmRestrainVpnName |  |  | This object indicates the VPN to which the iteration next hop belongs. | 1.3.6.1.4.1.2011.5.25.145.24.3 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwNhmRestrainNextHop |  |  | This object indicates the iteration next hop. | 1.3.6.1.4.1.2011.5.25.145.24.4 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwNhmRestrainTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.25 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwNhmRestrain |  |  | This object indicates that cyclic iteration is suppressed. | 1.3.6.1.4.1.2011.5.25.145.25.1 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwNhmRestrainClear |  |  | This object indicates that cyclic iteration suppression is removed. | 1.3.6.1.4.1.2011.5.25.145.25.2 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwNhmRestrainTrapConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.26 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwNhmRestrainNotificationGroup |  |  | This object indicates the content of the cyclic iteration that is suppressed. | 1.3.6.1.4.1.2011.5.25.145.26.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwNhmRestrainObjectGroup |  |  | This object represents iterative information suppressed the content. | 1.3.6.1.4.1.2011.5.25.145.26.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwVlinkImportObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.27 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwVlinkImportCurNumber |  |  | This object indicates the current number of import vlink route number. | 1.3.6.1.4.1.2011.5.25.145.27.1 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwVlinkImportMaxNumber |  |  | This object indicates the upper limit value of import vlink route number. | 1.3.6.1.4.1.2011.5.25.145.27.2 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwVlinkTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.28 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwVlinkImportExceed |  |  | This object indicates that the number of import vlink items exceeded the maximum number. | 1.3.6.1.4.1.2011.5.25.145.28.1 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwVlinkImportConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.29 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwVlinkImportNotificationGroup |  |  | The object indicates the alarm of import vlink route. | 1.3.6.1.4.1.2011.5.25.145.29.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | hwVlinkImportObjectGroup |  |  | The object indicates the number of import vlink route. | 1.3.6.1.4.1.2011.5.25.145.29.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | hwFibStatisticObject |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.30 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  | hwFibStatisticsTable |  |  | Table that contains fib statistics information. | 1.3.6.1.4.1.2011.5.25.145.30.1 | HwFibStatisticsEntry |  | not-accessible | current |  | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFibStatisticsEntry |  | Entry for fib flow statistics information. | 1.3.6.1.4.1.2011.5.25.145.30.1.1 | HwFibStatisticsEntry |  | not-accessible | current |  | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwFibSlot | Slot index. | 1.3.6.1.4.1.2011.5.25.145.30.1.1.1 | Unsigned32 (SIZE (1..255)) | Unsigned32{(1,255)} | read-only | current | COLUMNAR | Y | [9 empty] | N | [6 empty] | N
[5 empty] | hwIPv4FibNum | IPv4 fib number. | 1.3.6.1.4.1.2011.5.25.145.30.1.1.2 | Unsigned32 (SIZE (0..100000000)) | Unsigned32{(0,100000000)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwIPv4FibUsage | IPv4 fib utilization percentage. | 1.3.6.1.4.1.2011.5.25.145.30.1.1.3 | Unsigned32 (SIZE (0..100)) | Unsigned32{(0,100)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwIPv6FibNum | IPv6 fib number. | 1.3.6.1.4.1.2011.5.25.145.30.1.1.4 | Unsigned32 (SIZE (0..100000000)) | Unsigned32{(0,100000000)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwIPv6FibUsage | IPv6 fib utilization percentage. | 1.3.6.1.4.1.2011.5.25.145.30.1.1.5 | Unsigned32 (SIZE (0..100)) | Unsigned32{(0,100)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
|  | hwIpv4RouteLimitTrapObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.31 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwCurIpv4RouteNum |  |  | This object indicates the current number of IPv4 route. | 1.3.6.1.4.1.2011.5.25.145.31.1 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 当前IPv4路由数量。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4RouteLimitValue |  |  | The value of this object identifies the number of public-network IPv4 routes that are supported. | 1.3.6.1.4.1.2011.5.25.145.31.2 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 公网IPv4路由最大值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4RouteLimitVpnName |  |  | The name of the IPv4 VPN instance for route limit. | 1.3.6.1.4.1.2011.5.25.145.31.3 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | accessible-for-notify | current | SCALAR | N | VPN实例的名称。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv6RouteLimitTrapObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.32 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwCurIpv6RouteNum |  |  | This object indicates the current number of IPv6 route. | 1.3.6.1.4.1.2011.5.25.145.32.1 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 当前IPv6路由数量。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6RouteLimitValue |  |  | The value of this object identifies the number of public-network IPv6 routes that are supported. | 1.3.6.1.4.1.2011.5.25.145.32.2 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 公网IPv6路由最大值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6RouteLimitVpnName |  |  | The name of the IPv6 VPN instance for route limit. | 1.3.6.1.4.1.2011.5.25.145.32.3 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | accessible-for-notify | current | SCALAR | N | VPN实例的名称。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv4RouteLimitTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.33 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4RouteExceed |  |  | The number of IPv4 routes on the device exceeds the alarm threshold. | 1.3.6.1.4.1.2011.5.25.145.33.1 |  |  |  | current | TRAP | N | IPv4路由数量超过了最大值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4RouteExceedClear |  |  | The number of IPv4 routes on the device falls below the alarm threshold. | 1.3.6.1.4.1.2011.5.25.145.33.2 |  |  |  | current | TRAP | N | IPv4路由数量降低到了最大值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4RouteThresholdExceed |  |  | The number of IPv4 routes exceeded the threshold. | 1.3.6.1.4.1.2011.5.25.145.33.3 |  |  |  | current | TRAP | N | IPv4路由数量超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv4RouteThresholdExceedClear |  |  | The number of IPv4 routes falls below the threshold. | 1.3.6.1.4.1.2011.5.25.145.33.4 |  |  |  | current | TRAP | N | IPv4路由数量降低到了阈值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwIpv6RouteLimitTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.34 | [5 empty] | N |  | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6RouteExceed |  |  | The number of IPv6 routes on the device exceeds the alarm threshold. | 1.3.6.1.4.1.2011.5.25.145.34.1 |  |  |  | current | TRAP | N | IPv6路由数量超过了最大值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6RouteExceedClear |  |  | The number of IPv6 routes on the device falls below the alarm threshold. | 1.3.6.1.4.1.2011.5.25.145.34.2 |  |  |  | current | TRAP | N | IPv6路由数量降低到了最大值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6RouteThresholdExceed |  |  | The number of IPv6 routes exceeded the threshold. | 1.3.6.1.4.1.2011.5.25.145.34.3 |  |  |  | current | TRAP | N | IPv6路由数量超过了阈值。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  |  | hwIpv6RouteThresholdExceedClear |  |  | The number of IPv6 routes falls below the threshold. | 1.3.6.1.4.1.2011.5.25.145.34.4 |  |  |  | current | TRAP | N | IPv6路由数量降低到了阈值以下。 | Consistent | [7 empty] | Y | [6 empty] | Y | PNF-FW
|  | hwFibExtStatisticObject |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.35 | [5 empty] | N | [9 empty] | N | [6 empty] | N
|  |  | hwFibExtStatisticsTable |  |  | Table that contains fib statistics information. | 1.3.6.1.4.1.2011.5.25.145.35.1 | HwFibExtStatisticsEntry |  | not-accessible | current |  | N | [9 empty] | N | [6 empty] | N
|  |  |  | hwFibExtStatisticsEntry |  | Entry for fib flow statistics information. | 1.3.6.1.4.1.2011.5.25.145.35.1.1 | HwFibExtStatisticsEntry |  | not-accessible | current |  | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwExtChassisID | Chassis number. | 1.3.6.1.4.1.2011.5.25.145.35.1.1.1 | Unsigned32 | Unsigned32 | read-only | current | COLUMNAR | Y | [9 empty] | N | [6 empty] | N
[5 empty] | hwExtFibSlot | Slot index. | 1.3.6.1.4.1.2011.5.25.145.35.1.1.2 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | read-only | current | COLUMNAR | Y | [9 empty] | N | [6 empty] | N
[5 empty] | hwExtIPv4FibNum | IPv4 fib number. | 1.3.6.1.4.1.2011.5.25.145.35.1.1.3 | Unsigned32 (SIZE (0..100000000)) | Unsigned32{(0,100000000)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwExtIPv4FibUsage | IPv4 fib utilization percentage. | 1.3.6.1.4.1.2011.5.25.145.35.1.1.4 | Unsigned32 (SIZE (0..100)) | Unsigned32{(0,100)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwExtIPv6FibNum | IPv6 fib number. | 1.3.6.1.4.1.2011.5.25.145.35.1.1.5 | Unsigned32 (SIZE (0..100000000)) | Unsigned32{(0,100000000)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
[5 empty] | hwExtIPv6FibUsage | IPv6 fib utilization percentage. | 1.3.6.1.4.1.2011.5.25.145.35.1.1.6 | Unsigned32 (SIZE (0..100)) | Unsigned32{(0,100)} | read-only | current | COLUMNAR | N | [9 empty] | N | [6 empty] | N
|  | hwNhmCyclicIterateRestrainObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.36 | [5 empty] | N |  | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwNhmCyclicIterateRestrainType |  |  | The value of this object identifies the type of cyclic iteration that is suppressed. | 1.3.6.1.4.1.2011.5.25.145.36.1 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | 下一跳地址类型（IPv4或者IPv6）。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwNhmCyclicIterateRestrainProtocolType |  |  | The value of this object identifies the protocol type of cyclic iteration that is suppressed. | 1.3.6.1.4.1.2011.5.25.145.36.2 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | 下一跳协议类型。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwNhmCyclicIterateRestrainVpnName |  |  | This object indicates the VPN to which the iteration next hop belongs. | 1.3.6.1.4.1.2011.5.25.145.36.3 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | 下一跳VPN实例名称。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwNhmCyclicIterateRestrainNextHop |  |  | This object indicates the iteration next hop. | 1.3.6.1.4.1.2011.5.25.145.36.4 | OCTET STRING | OCTET STRING | accessible-for-notify | current | SCALAR | N | 下一跳地址。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  | hwNhmCyclicIterateRestrainTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.37 | [5 empty] | N |  | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwNhmCyclicIterateRestrain |  |  | This object indicates that cyclic iteration is suppressed. | 1.3.6.1.4.1.2011.5.25.145.37.1 |  |  |  | current | TRAP | N | 循环迭代被抑制。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwNhmCyclicIterateRestrainClear |  |  | This object indicates that cyclic iteration suppression is removed. | 1.3.6.1.4.1.2011.5.25.145.37.2 |  |  |  | current | TRAP | N | 循环迭代抑制解除。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  | hwNhmCyclicIterateRestrainTrapConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.38 | [5 empty] | N |  | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwNhmCyclicIterateRestrainNotificationGroup |  |  | This object indicates the content of the cyclic iteration that is suppressed. | 1.3.6.1.4.1.2011.5.25.145.38.1 |  |  |  | current |  | N | 循环迭代抑制告警内容。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  |  | hwNhmCyclicIterateRestrainObjectGroup |  |  | This object represents iterative information suppressed the content. | 1.3.6.1.4.1.2011.5.25.145.38.2 |  |  |  | current |  | N | 循环迭代信息。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | Y | PNF-FW
|  | hwVstmMacObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.39 | [5 empty] | N |  | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwVstmCurMacNum |  |  | This object indicates the current number MAC routes on the device . | 1.3.6.1.4.1.2011.5.25.145.39.1 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 当前设备MAC数量 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwVstmMaxMacNum |  |  | This object indicates the max number MAC routes on the device . | 1.3.6.1.4.1.2011.5.25.145.39.2 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | 当前设备支持最大MAC数量 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  | hwVstmMacExceedTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.40 | [5 empty] | N |  | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwVstmMacExceed |  |  | This object indicates that the number of MAC routes on the device has exceeded the maximum value. | 1.3.6.1.4.1.2011.5.25.145.40.1 |  |  |  | current | TRAP | N | 设备的MAC数量超过最大值 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwVstmMacExceedClear |  |  | This object indicates that the number of MAC routes on the device has resumed from exceeding the maximum value. | 1.3.6.1.4.1.2011.5.25.145.40.2 |  |  |  | current | TRAP | N | 设备中的MAC数量降到最大值以下 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  | hwVstmMacExceedConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.41 | [5 empty] | N |  | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwVstmMacExceedNotificationGroup |  |  | The object indicates the alarm of MAC routes of the device . | 1.3.6.1.4.1.2011.5.25.145.41.1 |  |  |  | current |  | N | MAC超限告警内容 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  |  | hwVstmMacExceedObjectGroup |  |  | The object indicates the number of MAC routes of the device . | 1.3.6.1.4.1.2011.5.25.145.41.2 |  |  |  | current |  | N | MAC超限信息 | Consistent |  |  | N |  |  |  | N | Y | [6 empty] | N
|  | hwEvpnStickyMacObjects |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.42 | [5 empty] | N |  |  |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  | hwEVPNInstanceName |  |  | This object indicates the name of the EVPN instance with sticky MAC addresses conflicting. | 1.3.6.1.4.1.2011.5.25.145.42.1 | OCTET STRING (SIZE (0..31)) | OCTET STRING{(0,31)} | accessible-for-notify | current | SCALAR | N | EVPN实例的名称。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  | hwBdId |  |  | This object indicates the BDID with sticky MAC addresses conflicting. | 1.3.6.1.4.1.2011.5.25.145.42.2 | Unsigned32 | Unsigned32 | accessible-for-notify | current | SCALAR | N | BD ID。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  | hwEvpnStickyMacConflictTraps |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.43 | [5 empty] | N |  |  |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnStickyMacConflict |  |  | This object indicates the name of the EVPN instance with sticky MAC addresses conflicting. | 1.3.6.1.4.1.2011.5.25.145.43.1 |  |  |  | current | TRAP | N | 设备发生Sticky MAC冲突。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnStickyMacConflictClear |  |  | This object indicates the name of the EVPN instance which sticky MAC addresses conflicting has been resumed. | 1.3.6.1.4.1.2011.5.25.145.43.2 |  |  |  | current | TRAP | N | 设备Sticky MAC冲突清除。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  | hwEvpnStickyMacConflictConformance |  |  |  |  | 1.3.6.1.4.1.2011.5.25.145.44 | [5 empty] | N |  |  |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnStickyMacConflictNotificationGroup |  |  | The object indicates the alarm of sticky MAC conflicting on the device. | 1.3.6.1.4.1.2011.5.25.145.44.1 |  |  |  | current |  | N | Sticky MAC冲突告警内容。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N
|  |  | hwEvpnStickyMacConflictObjectGroup |  |  | This object indicates the name of the EVPN instance with sticky MAC addresses conflicting. | 1.3.6.1.4.1.2011.5.25.145.44.2 |  |  |  | current |  | N | Sticky MAC冲突信息。 | Consistent |  |  | Y |  |  |  | N | Y | [6 empty] | N