## MIB Manual(s)
Node Name | [5 empty] | Description | OID | syntax | syntax(device) | MAX-ACCESS | Status | Node Type | Index | chinese description 中文描述 | Realization is consistent with MIB definition? 实现是否和定义一致? | ACCESS realized 实际支持的访问权限 | syntax range realized 实际支持的取值范围 | lexicographic OID for Get-Next? 是否支持GET-NEXT OID字典序? | Remark(In Chinese) 备注(中文) | Remark(In English) 备注(英文) (资料填写 For TDC) | Default value 缺省值 | Is statistic node? 是否是统计节点? | Is VRP node? 是否是平台节点 | other manufacturer realization (only for public mib) 竞争对手实现(仅对公有MIB) | Vendor adapting node list 做了OSS对接的局点列表 | Ascription归属 | Is security? 是否涉及安全 | Module 归属资源包 | If-Feature 特性规格 | Products 支持的产品列表 | Products
PNF-FW
结点树由mib file自动生成，不能在此表中人工增加、修改或删除结点。 | [5 empty] | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 如果该列为空代表无效节点。 | mib结点固有属性，其值由mib file自动生成，不能在此表中人工修改。 | 必须填写，节点的中文描述，对应【Description】的中文翻译。 1、对于节点：包括单节点，告警节点，表节点，对应【Description】的中文信息。填写样例： 该节点标识环的保护实例ID。 2、对于table：该列是描述该表的含义、作用；及表的各类约束。table填写格式与样例： 该表描述ERPS环配置信息。 创建约束：该表不支持创建。 修改约束：该表不支持修改。 删除约束：该表不支持删除。 读取约束：该表不支持读取。 各类约束支持多产品定制，填写格式： 创建约束 value product1: value1 product2,product3: value2 | 必须填写，只可以选择下拉列表中的值（Consistent/ Inconsistent/Nonsupport）。 1、Consistent：标识设备上支持这个节点，设备上的实现完全和MIB定义完全一致。 2、Inconsistent：标识设备上支持这个节点，设备上的实现和MIB定义不一致。 ?a、如果是【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那就需要在【ACCESS realized 实际支持的访问权限】列填写设备实际支持的情况。 ?b、如果是【syntax】列取值范围，设备上的实现和MIB定义不一致，那就需要在【syntax range realized 实际支持的取值范围】列填写设备实际支持的情况。 ?c、如果是缺省值，设备上的实现和MIB定义不一致，那就需要在【Default value 缺省值】列 填写设备实际支持的情况。 ?d、其他情况，只要设备上的实现和MIB定义不一致，那就需要在【Remark(In Chinese) 备注(中文)】/【Remark(In English) 】列填写设备实际支持的情况。 3、Nonsupport：标识设备上不支持这个节点。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【MAX-ACCESS】列支持的访问权限，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。该列值只可以填写下面列表中的值 not-accessible accessible-for-notify read-only read-write read-create 例如：MIB文件定义是read-write，而实际设备上是read-only，那么此处就要写明是read-only。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，且【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） 对于table，xxxxEntry对应该列填写N时，或【Index】 标识为Y的节点对应该列填写N时，标识该table不支持字典排序。 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，除【MAX-ACCESS】和【syntax】列支持的取值范围，设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 | 【Remark(In Chinese) 备注(中文)】列对应英文翻译。 重要：对于table，该列承载table的含义、作用；及表各类约束。 table填写格式与样例： Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table can be read without restriction. 各类约束支持多产品定制，填写格式： Creation Restriction value product1: value1 product2,product3： value2 | 只有在【Realization is consistent with MIB definition? 实现是否和定义一致?】列填写是Inconsistent，节点的缺省值在设备上的实现和MIB定义不一致，那么就需要在该列写出设备上实际实现情况。 支持多产品定制，填写格式： value p1:value1 p2,p3:value2 | 只可以选择下拉列表中的值（Y/N） | 必须填写，只可以选择下拉列表中的值（Y/N） |  |  | 节点归属必须在文件支持的归属范围内 | 只可以选择下拉列表中的值（Y/N） | MIB节点归属资源包，一个节点只能归于一个资源包 | If-Feature名称，父节点指定的feature对所有子节点生效。如果父节点已经指定了同名feature，子孙节点不用再重复指定。 | 只可以选择下拉列表中的值（Y/N），子节点只要有一个为Y，父节点必须为Y，如果子节点全部为N，父节点必须为N | 节点支持的产品合集，不支持导入修改
PIM-BSR-MIB
| pimBsrMIB |  |  |  |  | The MIB module for management of the Bootstrap Router (BSR) mechanism for PIM routers. Copyright (C) The IETF Trust (2008). This version of this MIB module is part of RFC 5240; see the RFC itself for full legal notices. | 1.3.6.1.2.1.172 | [5 empty] | N |  | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
|  | pimBsrNotifications |  |  |  |  | 1.3.6.1.2.1.172.0 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | pimBsrElectedBSRLostElection |  |  | A pimBsrElectedBSRLostElection notification should be generated when current E-BSR lost election to a new Candidate-BSR. Only an E-BSR should generate this notification. This notification is generated when pimBsrCandidateBSRElectedBSR becomes FALSE. | 1.3.6.1.2.1.172.0.1 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | pimBsrCandidateBSRWinElection |  |  | A pimBsrCandidateBSRWinElection notification should be generated when a C-BSR wins BSR Election. Only an E-BSR should generate this notification. This notification is generated when pimBsrCandidateBSRElectedBSR becomes TRUE. | 1.3.6.1.2.1.172.0.2 |  |  |  | current | TRAP | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | pimBsrObjects |  |  |  |  | 1.3.6.1.2.1.172.1 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | pimBsrCandidateRPTable |  |  | The (conceptual) table listing the IP multicast group prefixes for which the local router is to advertise itself as a Candidate-RP. | 1.3.6.1.2.1.172.1.1 | PimBsrCandidateRPEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | pimBsrCandidateRPEntry |  | An entry (conceptual row) in the pimBsrCandidateRPTable. | 1.3.6.1.2.1.172.1.1.1 | PimBsrCandidateRPEntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPAddressType | The Inet address type of the Candidate-RP. | 1.3.6.1.2.1.172.1.1.1.1 | InetAddressType | INTEGER{unknown(0),ipv4(1),ipv6(2),ipv4z(3),ipv6z(4),dns(16)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPAddress | The (unicast) address that will be advertised as a Candidate-RP. The InetAddressType is given by the pimBsrCandidateRPAddressType object. | 1.3.6.1.2.1.172.1.1.1.2 | InetAddress (SIZE (4..4)) (SIZE (8..8)) (SIZE (16..16)) (SIZE (20..20)) | OCTET STRING{(4,4),(8,8),(16,16),(20,20)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPGroupAddress | The IP multicast group address that, when combined with the corresponding value of pimBsrCandidateRPGroupPrefixLength, identifies a group prefix for which the local router will advertise itself as a Candidate-RP. The InetAddressType is given by the pimBsrCandidateRPAddressType object. This address object is only significant up to pimBsrCandidateRPGroupPrefixLength bits. The remainder of the address bits are zero. This is especially important for this field, which is part of the index of this entry. Any non-zero bits would signify an entirely different entry. | 1.3.6.1.2.1.172.1.1.1.3 | InetAddress (SIZE (4..4)) (SIZE (8..8)) (SIZE (16..16)) (SIZE (20..20)) | OCTET STRING{(4,4),(8,8),(16,16),(20,20)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPGroupPrefixLength | The multicast group address mask that, when combined with the corresponding value of pimBsrCandidateRPGroupAddress, identifies a group prefix for which the local router will advertise itself as a Candidate-RP. The InetAddressType is given by the pimBsrCandidateRPAddressType object. | 1.3.6.1.2.1.172.1.1.1.4 | InetAddressPrefixLength (SIZE (4..128)) | Unsigned32{(4,128)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPBidir | If this object is set to TRUE, this group range is advertised with this RP as a BIDIR-PIM group range. If it is set to FALSE, it is advertised as a PIM-SM group range. | 1.3.6.1.2.1.172.1.1.1.5 | TruthValue | INTEGER{true(1),false(2)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPAdvTimer | The time remaining before the local router next sends a Candidate-RP-Advertisement to the elected BSR for this zone. | 1.3.6.1.2.1.172.1.1.1.6 | TimeTicks | TimeTicks | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPPriority | The priority for this Candidate-RP advertised in Candidate-RP-Advertisements. | 1.3.6.1.2.1.172.1.1.1.7 | Unsigned32 (SIZE (0..255)) | Unsigned32{(0,255)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPAdvInterval | A Candidate-RP generates Candidate-RP-Advertisements periodically. This object represents the time interval in seconds between two consecutive advertisements. | 1.3.6.1.2.1.172.1.1.1.8 | Unsigned32 (SIZE (1..26214)) | Unsigned32{(1,26214)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPHoldtime | Holdtime for this Candidate-RP. The amount of time (in seconds) this Candidate-RP entry is valid. This object's value can be zero only when this C-RP is shutting down. | 1.3.6.1.2.1.172.1.1.1.9 | Unsigned32 (SIZE (0..65535)) | Unsigned32{(0,65535)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPStatus | The status of this row, by which new entries may be created, or old entries deleted from this table. This status object can be set to active(1) without setting any other columnar objects in this entry. All writable objects in this entry can be modified when the status of this entry is active(1). | 1.3.6.1.2.1.172.1.1.1.10 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateRPStorageType | The storage type for this row. Rows having the value 'permanent' need not allow write-access to any columnar objects in the row. | 1.3.6.1.2.1.172.1.1.1.11 | StorageType | INTEGER{other(1),volatile(2),nonVolatile(3),permanent(4),readOnly(5)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | pimBsrElectedBSRRPSetTable |  |  | The (conceptual) table listing BSR-specific information about PIM group mappings learned via C-RP advertisements or created locally using configurations. This table is maintained only on the Elected BSR. An Elected BSR uses this table to create Bootstrap messages after applying a local policy to include some or all of the group mappings in this table. | 1.3.6.1.2.1.172.1.2 | PimBsrElectedBSRRPSetEntry |  | not-accessible | current |  | N | （概念）表列出了通过C-RP通告学习或通过配置本地创建的PIM组映射的BSR特定信息。该表仅在选举的BSR上进行维护。选择的BSR使用此表在应用本地策略以在此表中包含一些或全部组映射之后创建Bootstrap消息。 创建约束:该表不支持创建。 修改约束:该表不支持修改。 删除约束:该表不支持删除。 读取约束:该表在读取时必须采用了BSR-RP机制，以保证存在BSR RP-Set映射表，否则输入任何索引的查询结果都是空。 | Consistent |  |  |  |  | Creation Restriction: No entry can be created in this table. Modification Restriction: The entries in this table cannot be modified. Deletion Restriction: The entries in this table cannot be deleted. Access Restriction: The entries in this table can be read only when the BSR-RP mechanism is used and the BSR RP-Set mapping table exists; otherwise, the query result is null no matter what object index is input. |  |  | Y |  |  | MCAST | N |  |  | Y | PNF-FW
|  |  |  | pimBsrElectedBSRRPSetEntry |  | An entry (conceptual row) in the pimBsrElectedBSRRPSetTable. | 1.3.6.1.2.1.172.1.2.1 | PimBsrElectedBSRRPSetEntry |  | not-accessible | current |  | N |  | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
[5 empty] | pimBsrElectedBSRGrpMappingAddrType | The Inet address type of the IP multicast group prefix. | 1.3.6.1.2.1.172.1.2.1.2 | InetAddressType | INTEGER{unknown(0),ipv4(1),ipv6(2),ipv4z(3),ipv6z(4),dns(16)} | not-accessible | current | COLUMNAR | Y | 组地址类型。 | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
[5 empty] | pimBsrElectedBSRGrpMappingGrpAddr | The IP multicast group address that, when combined with pimBsrElectedBSRGrpMappingGrpPrefixLen, gives the group prefix for this mapping. The InetAddressType is given by the pimBsrElectedBSRGrpMappingAddrType object. This address object is only significant up to pimBsrElectedBSRGrpMappingGrpPrefixLen bits. The remainder of the address bits are zero. This is especially important for this field, which is part of the index of this entry. Any non-zero bits would signify an entirely different entry. | 1.3.6.1.2.1.172.1.2.1.3 | InetAddress (SIZE (4..4)) (SIZE (8..8)) (SIZE (16..16)) (SIZE (20..20)) | OCTET STRING{(4,4),(8,8),(16,16),(20,20)} | not-accessible | current | COLUMNAR | Y | IP组播组地址，与pimBsrElectedBSRGrpMappingGrpPrefixLen共同确定映射的组前缀。InetAddressType由pimBsrElectedBSRGrpMappingAddrType节点确定。 该地址节点仅对pimBsrElectedBSRGrpMappingGrpPrefixLen位重要。地址的其他位为0.这对于此字段尤其重要，是此表项索引的一部分。任何非0位将表示完全不同的表项。 | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
[5 empty] | pimBsrElectedBSRGrpMappingGrpPrefixLen | The multicast group prefix length that, when combined with pimBsrElectedBSRGrpMappingGrpAddr, gives the group prefix for this mapping. The InetAddressType is given by the pimBsrElectedBSRGrpMappingAddrType object. If pimBsrElectedBSRGrpMappingAddrType is 'ipv4' or 'ipv4z', this object must be in the range 4..32. If pimBsrElectedBSRGrpMappingAddrType is 'ipv6' or 'ipv6z', this object must be in the range 8..128. | 1.3.6.1.2.1.172.1.2.1.4 | InetAddressPrefixLength (SIZE (4..128)) | Unsigned32{(4,128)} | not-accessible | current | COLUMNAR | Y | IP组播组地址前缀长度，与pimBsrElectedBSRGrpMappingGrpAddr共同确定映射的组前缀。InetAddressType由pimBsrElectedBSRGrpMappingAddrType节点指定。如果pimBsrElectedBSRGrpMappingAddrType取值为“ipv4”或“ipv4z”，此节点的取值范围为4-32。如果pimBsrElectedBSRGrpMappingAddrType取值为“ipv6”或“ipv6z”，此节点的取值范围为8-128。 | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
[5 empty] | pimBsrElectedBSRGrpMappingRPAddr | The IP address of the RP to be used for groups within this group prefix. The InetAddressType is given by the pimBsrElectedBSRGrpMappingAddrType object. | 1.3.6.1.2.1.172.1.2.1.5 | InetAddress (SIZE (4..4)) (SIZE (8..8)) (SIZE (16..16)) (SIZE (20..20)) | OCTET STRING{(4,4),(8,8),(16,16),(20,20)} | not-accessible | current | COLUMNAR | Y | RP地址，服务于组播组前缀范围内的组播组。InetAddressType由pimBsrElectedBSRGrpMappingAddrType节点指定。 | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
[5 empty] | pimBsrElectedBSRRPSetPriority | The priority for RP. Numerically higher values for this object indicate lower priorities, with the value zero denoting the highest priority. | 1.3.6.1.2.1.172.1.2.1.6 | Unsigned32 (SIZE (0..255)) | Unsigned32{(0,255)} | read-only | current | COLUMNAR | N | RP优先级。取值越高，优先级越低。值为0表示最高优先级。 | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
[5 empty] | pimBsrElectedBSRRPSetHoldtime | The holdtime for RP | 1.3.6.1.2.1.172.1.2.1.7 | Unsigned32 (SIZE (0..65535)) | Unsigned32{(0,65535)} | read-only | current | COLUMNAR | N | RP保持时间。 | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
[5 empty] | pimBsrElectedBSRRPSetExpiryTime | The minimum time remaining before this entry will be aged out. The value zero indicates that this entry will never be aged out. | 1.3.6.1.2.1.172.1.2.1.8 | TimeTicks | TimeTicks | read-only | current | COLUMNAR | N | 当前PIM表项超时时间。值为0表示永不超时。 | Consistent | [7 empty] | Y |  |  | MCAST | N |  |  | Y | PNF-FW
[5 empty] | pimBsrElectedBSRRPSetGrpBidir | If this object is TRUE, this group range with this RP is a BIDIR-PIM group range. If it is set to FALSE, it is a PIM-SM group range. | 1.3.6.1.2.1.172.1.2.1.9 | TruthValue | INTEGER{true(1),false(2)} | read-only | current | COLUMNAR | N | 是否是双向PIM。True：双向PIM。False：PIM-SM。 | Inconsistent |  |  |  | 目前都为False。 | Currently, only the value False is supported. |  |  | Y |  |  | MCAST | N |  |  | N
|  |  | pimBsrCandidateBSRTable |  |  | The (conceptual) table containing Candidate-BSR configuration for the local router. The table contains one row for each zone for which the local router is to advertise itself as a Candidate-BSR. | 1.3.6.1.2.1.172.1.3 | PimBsrCandidateBSREntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | pimBsrCandidateBSREntry |  | An entry (conceptual row) in the pimBsrCandidateBSRTable. | 1.3.6.1.2.1.172.1.3.1 | PimBsrCandidateBSREntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRZoneIndex | The zone index uniquely identifies the zone on a device to which this Candidate-BSR is attached. There is one entry for each zone in ipMcastZoneTable. Scope-level information for this zone can be extracted from ipMcastZoneTable in IP Multicast MIB [RFC5132]. Zero is a special value used to request the default zone for a given scope. Zero is not a valid value for this object. | 1.3.6.1.2.1.172.1.3.1.1 | InetZoneIndex (SIZE (1..4294967295)) | Unsigned32{(1,4294967295)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRAddressType | The address type of the Candidate-BSR. | 1.3.6.1.2.1.172.1.3.1.2 | InetAddressType | INTEGER{unknown(0),ipv4(1),ipv6(2),ipv4z(3),ipv6z(4),dns(16)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRAddress | The (unicast) address that the local router will use to advertise itself as a Candidate-BSR. The InetAddressType is given by the pimBsrCandidateBSRAddressType object. | 1.3.6.1.2.1.172.1.3.1.3 | InetAddress | OCTET STRING{(0,255)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRPriority | The priority value for the local router as a Candidate-BSR for this zone. Numerically higher values for this object indicate higher priorities. | 1.3.6.1.2.1.172.1.3.1.4 | Unsigned32 (SIZE (0..255)) | Unsigned32{(0,255)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRHashMaskLength | The hash mask length (used in the RP hash function) that the local router will advertise in its Bootstrap messages for this zone. This object defaults to 30 if pimBsrCandidateBSRAddressType is 'ipv4' or 'ipv4z' , and defaults to 126 if pimBsrCandidateBSRAddressType is 'ipv6' or 'ipv6z'. | 1.3.6.1.2.1.172.1.3.1.5 | Unsigned32 (SIZE (0..128)) | Unsigned32{(0,128)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRElectedBSR | Whether the local router is the elected BSR for this zone. | 1.3.6.1.2.1.172.1.3.1.6 | TruthValue | INTEGER{true(1),false(2)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRBootstrapTimer | The time remaining before the local router next originates a Bootstrap message for this zone. Value of this object is zero if pimBsrCandidateBSRElectedBSR is 'FALSE'. | 1.3.6.1.2.1.172.1.3.1.7 | TimeTicks | TimeTicks | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRStatus | The status of this row, by which new entries may be created or old entries deleted from this table. This status object can be set to active(1) without setting any other columnar objects in this entry. All writable objects in this entry can be modified when the status of this entry is active(1). | 1.3.6.1.2.1.172.1.3.1.8 | RowStatus | INTEGER{active(1),notInService(2),notReady(3),createAndGo(4),createAndWait(5),destroy(6)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrCandidateBSRStorageType | The storage type for this row. Rows having the value 'permanent' need not allow write-access to any columnar objects in the row. | 1.3.6.1.2.1.172.1.3.1.9 | StorageType | INTEGER{other(1),volatile(2),nonVolatile(3),permanent(4),readOnly(5)} | read-create | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | pimBsrElectedBSRTable |  |  | The (conceptual) table containing information about elected BSRs. The table contains one row for each zone for which there is an elected BSR. | 1.3.6.1.2.1.172.1.4 | PimBsrElectedBSREntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | pimBsrElectedBSREntry |  | An entry (conceptual row) in the pimBsrElectedBSRTable. | 1.3.6.1.2.1.172.1.4.1 | PimBsrElectedBSREntry |  | not-accessible | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrElectedBSRZoneIndex | The zone index uniquely identifies the zone on a device to which this Elected BSR is attached. There is one entry for each zone in ipMcastZoneTable. Scope-level information for this zone can be extracted from ipMcastZoneTable in IP Multicast MIB [RFC5132]. Zero is a special value used to request the default zone for a given scope. Zero is not a valid value for this object. | 1.3.6.1.2.1.172.1.4.1.1 | InetZoneIndex (SIZE (1..4294967295)) | Unsigned32{(1,4294967295)} | not-accessible | current | COLUMNAR | Y |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrElectedBSRAddressType | The address type of the elected BSR. | 1.3.6.1.2.1.172.1.4.1.2 | InetAddressType | INTEGER{unknown(0),ipv4(1),ipv6(2),ipv4z(3),ipv6z(4),dns(16)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrElectedBSRAddress | The (unicast) address of the elected BSR. The InetAddressType is given by the pimBsrElectedBSRAddressType object. | 1.3.6.1.2.1.172.1.4.1.3 | InetAddress (SIZE (4..4)) (SIZE (8..8)) (SIZE (16..16)) (SIZE (20..20)) | OCTET STRING{(4,4),(8,8),(16,16),(20,20)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrElectedBSRPriority | The priority value for the elected BSR for this address type. Numerically higher values for this object indicate higher priorities. | 1.3.6.1.2.1.172.1.4.1.4 | Unsigned32 (SIZE (0..255)) | Unsigned32{(0,255)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrElectedBSRHashMaskLength | The hash mask length (used in the RP hash function) advertised by the elected BSR for this zone. | 1.3.6.1.2.1.172.1.4.1.5 | Unsigned32 (SIZE (0..128)) | Unsigned32{(0,128)} | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
[5 empty] | pimBsrElectedBSRExpiryTime | The minimum time remaining before the elected BSR for this zone will be declared down. | 1.3.6.1.2.1.172.1.4.1.6 | TimeTicks | TimeTicks | read-only | current | COLUMNAR | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  | pimBsrConformance |  |  |  |  | 1.3.6.1.2.1.172.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | pimBsrCompliances |  |  |  | 1.3.6.1.2.1.172.2.1 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | pimBsrCompliance |  | The compliance statement for PIM routers that implement the Bootstrap Router (BSR) mechanism. | 1.3.6.1.2.1.172.2.1.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  | pimBsrGroups |  |  |  | 1.3.6.1.2.1.172.2.2 | [5 empty] | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | pimBsrObjectGroup |  | A collection of objects for managing the Bootstrap Router (BSR) mechanism for PIM routers. | 1.3.6.1.2.1.172.2.2.1 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N
|  |  |  | pimBsrDiagnosticsGroup |  | Objects providing additional diagnostics related to the Bootstrap Router (BSR) mechanism for PIM routers. | 1.3.6.1.2.1.172.2.2.2 |  |  |  | current |  | N |  | Nonsupport | [7 empty] | Y | [6 empty] | N