## Slide 1
General concept of
VoIP

## Slide 2
1. Contents
What is VoIP
Background & Benefit
VoIP Concepts
What is H.323
What is SIP
Considerations

## Slide 3
PSTN
Router
Router
IP Network
PBX
PBX
①
②
Voice is transported over Internet with compression of Audio data.
What is VoIP?

## Slide 4
Offices are located everywhere, cost grows heavier.
Data
Voice
PBX
Voice
Data System
Data System
PBX
Voice
Business IP LAN / WAN grown rapidly, and Ethernet network is everywhere.
Data System
Voice
& Data
Data System
PBX
PBX
Voice
Voice
Background & Benefit

## Slide 5: VoIP Concepts
International Standards Organization’s Open System Interconnection 7-layer Reference Model.
VoIP standards define protocol messages and packet structure/content for each layer.
Message
Sender
Receiver
Application
Presentation
Physical
Data Link
Network
Session
Transport
Application
Presentation
Physical
Data Link
Network
Session
Transport
Physical
Data Link
Network
OSI-7 layer

## Slide 6: VoIP Concepts
6 Presentation Codec
5 Session RTP, RTCP
4 Transport TCP & UDP
3 Network IP, Diffserv
2 Data Link Ethernet
1 Physical UTP Cat 5
7 Application Interactive Voice (VoIP)
Defines functional layers needed for communication between 2 or more network end-points.
Several VoIP standards:
  IEEE developed H.323
  IETF developed SIP
  MGCP used by DOCSIS (Cable TV), disassociated Gateway
  IEEE/IETF Megaco/H.248 IETF/IEEE disassociated Gateway

## Slide 7
Multimedia communication(audio, data & video) over an unreliable network, aimed at IP and UDP.
Application Layer control protocol.
An umbrella standard employs many other protocols by reference and Annex.
Feature
Protocol
Call Signaling
H.225 (Q.931)
Media Control
H.245
Audio Codecs
G.711, G.723, G.729A, G.729
Video Codecs
H.261, H.263
FAX
T.38
Media Transport
RTP/RTCP
Security
H.235
Supplementary SVC
H.450
What is H.323?

## Slide 8
Four “entities”:
  Gatekeeper
  Zone controller,
  RAS channel (register, status, admit)
  Gateway
  Provides access between disparate networks
  Terminal (IP Phone)
  End-point, user interface device
  MCU (Multi-point Control Unit)
  Conference controller & audio processor
Internet
Zone
Gateways
Terminals
Gatekeeper
W/MCU
PSTN
PSTN
What is H.323?

## Slide 9
RTP
G.711
G.729
G.723.1
H.261
H.263
Audio
Apps
Video
Apps
H.225.0
Call
signaling
TCP
UDP
IP
Link Layer 802.3
RTCP
H.225.0
RAS
H.245
Control
signaling
T.120
Data
Terminal control and management
H.323 Stack
What is H.323?
Protocol Architecture

## Slide 10
H.323 endpoint
setup
alerting
connect
end session
end session
Release complete
Audio
proceeding
H.225 = blue
H.245 = green
RTP = red
Terminal Capability Set request
Master Slave Detection request
MSD ACK+TCS ACK
MSD ACK+TCS ACK
Open Logical Channel request
H.323 endpoint
Terminal Capability Set request
Master Slave Detection request
Open Logical Channel request
Open Logical Channel ACK
Open Logical Channel ACK
What is H.323?
Normal Start

## Slide 11
H.323 endpoint
setup
alerting
connect
end session
end session
Release complete
Audio
proceeding
Terminal Capability Set request
Master Slave Detection request
MSD ACK+TCS ACK
MSD ACK+TCS ACK
Open Logical Channel request
H.323 endpoint
Terminal Capability Set request
Master Slave Detection request
Open Logical Channel request
Open Logical Channel ACK
Open Logical Channel ACK
What is H.323?
H.225 = blue
H.245 = green
RTP = red
Early H.245

## Slide 12
Setup request between endpoints, includes media and codec(H.245 message).
After proceeding message, open audio channel.
Close audio channel (either endpoint)
Disconnect
H.323 endpoint
Setup(media and codec)
alerting
connect
end session
end session
Release complete
Audio
proceeding(media and codec)
H.323 endpoint
What is H.323?
H.225 = blue
H.245 = green
RTP = red
Fast Start

## Slide 13
H.323 endpoint
H.323 endpoint
Gatekeeper
setup
ARQ
ACF
ARQ
ACF
alerting
connect
end session
end session
Release complete
Endpoint gets GK permission (ARQ/ACF)
ARQ request for Fast start to GK with destination & media.
Setup request between endpoints, includes media and codec.
Other messages (alerting, connect) then open audio channel.
Close audio channel (either endpoint)
Disconnect, return to idle advise to GK.
Audio
DRQ
DCF
DRQ
DCF
RAS = black
H.225 = blue
H.245 = green
RTP = red
What is H.323?
GK Call

## Slide 14
SIP: Establish multi-media communications sessions IETF’s RFC-2543.
Text based protocol, similar to HTTP, SIP URLs SIP:me@myco.com.
Low layer neutral, Reliable (TCP) or Unreliable (UDP), packet or byte network.
Client/Server Application layer control protocol.
SIP Entities include User Agents and proxy, registrar, location servers, redirect server.
Session has unique Call ID (call leg id) with CSeq (command sequence) for each transaction controlled by a Call Agent.
SIP (Session Initiation Protocol)
What is SIP?

## Slide 15
RTP/RTCP
G.711
G.729
G.723.1
H.261
H.263
Audio
Apps
Video
Apps
UDP
IP
Link Layer, 802.3
SIP
Terminal control and management
SIP Stack
TCP
SAP/Q.931
SDP
What is SIP?
Protocol Architecture

## Slide 16
INVITE+SDP
200+SDP
ACK
RTP/RTCP
BYE
200
User Agent A
Use r Agent B
Proxy
Requests from the User Client include:
  Invite
  Ack
  Cancel
  Bye
  Option
  Register
Response message has 3-digit “Status Code”:
  1xx Information
  2xx Success
  3xx Redirect
  4xx Client error
  5xx Server error
  6xx Global failure
100
180
100
180
What is SIP?
Call Flow

## Slide 17
IP a “best effort” network, packet may be delayed or discarded at router/switch.
Codec, highly compressed voice requires significant processing power and time, DSPs common.
  723.1 delay 37.5 msec (30 msec frame + 7.5 msec look-ahead)
  729A delay 15 msec (10 msec frame + 5 msec look ahead)
Bandwidth Required = (Packet header + payload).
  IP/UDP/RTP packet headers = 40 bytes
  Adding header & payload, 723.1 needs 17Kbps
DiffServ prioritizes packets at layer 3 with TOS byte.
802.1 p/Q, priority & queuing at layer 2, with TOS bit in Ethernet packet.
QoS (Quality of Service)
Considerations

## Slide 18
NAT server controls use of scarce Public IP addresses.
NAT generally not compatible with standard VoIP protocols.
H.323
  NAT assigns public IP address and port for outgoing request changing address & port in original packet
  Far end sends H.245 request to open a logical second port on same IP address. NAT does not recognize the request on a different port and discards packet as illegal.
NAT (Network Address Translation)
Internet
LAN
Router running NAT
IP = xxx.xxx.xxx.xxx
IP = yyy.yyy.yyy.yy1
IP = yyy.yyy.yyy.yy2
IP = yyy.yyy.yyy.yyn
Private IP Address
Considerations

## Slide 19
VoIP of ipLDK-60

## Slide 20
Support maximum 8 channels (including VOIB)
  Each devices supports 4channels
Dual SIP/H.323 co-existing
ITU-T H.323 v4 and H.450 standard compliance
  Support H.323 fast connect, early H.245 and H.245 tunnelling
  Support H.323 Gatekeeper register, direct and route calls
  Inband /out of band DTMF transmission
SIP RFC 2543/3261 standard compliance
  Support Inband /RFC 2833 /Out of band(INFO) DTMF transmission
Support IPKTS Protocol (for RSG & IP-Phone)
Support T.38 FAX Transmission
  Automatic voice/fax switching
  "Fax ByPass" mode to pass Fax/Modem data at high-bit rate
Codec : G.711A/μ-law, G.723.1(5.3k/6.3k), G.729/G.729A
Behind NAT friendly for SIP/H.323 calls
Maintenance : Console(RS-232) / Web Browser
Features and Benefits

## Slide 21
LED Indications
ipLDK60-VOIB
LED Indications
  Eight(8) Yellow LEDs (LD1~LD8)
  – Channel Assign Info.
  Two Red LEDs (LD9~LD10)
  – DSP Operating Status
  – LD10 : Basic DSP
  – LD9 : Extension DSP

## Slide 22
VOIB S/W Upgrade Method (Web-based)
VOIB
1) Connect the serial port of VOIB and enter the maintenance window
2) Enter ‘dir c’ and press enter. And check if there is a left file
3) If there is a left file, type ‘del c: [filename]’
4) Connect the WEB on a PC for VOIB’s IP address
5) Search and Upload the file which wants to upgraded
4)
5)
2)
PGM 340/ Flex. 5

## Slide 23
VOIB S/W Upgrade Method (Web-based)
VOIB
6) Select the Rom file.
6)
7)
7) Press [Upgrade] button after selecting the Rom file

## Slide 24
VOIB S/W Upgrade Method (Web-based)
VOIB
8) If the uploading of a file is finished, check if it is successful by ‘dir c:’ on a serial port
9) The filename is changed into ‘_File_voib60_pack_on_disk’
10) If enter ‘dir c:’, it shows

## Slide 25
VOIB Maintenance
Baud Rate : 38400 bps
Trace Mode (PASSWORD: jannie  )

## Slide 26
VOIB Maintenance
Trace Setting Mode(root:\> t  )